## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-07-19 | ng/L | 1.1014 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 88.89 | HALOSULFURON-METHYL | . | 22 | 97.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1014 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1014 |  | 1.1014 | 0 | 0
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-12-02 | ng/L | 0.97808 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 88.95 | HALOSULFURON-METHYL | . | 22 | 87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97808 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97808 |  | 0.97808 | 0 | 0
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-08-20 | ng/L | 1.0125 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 44.445 | HALOSULFURON-METHYL | . | 22 | 45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0125 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0125 |  | 1.0125 | 0 | 0
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-09-23 | ng/L | 1.071 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 44.445 | HALOSULFURON-METHYL | . | 22 | 47.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.071 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0151 | 0.14076 | 1.071 | 0.26437 | 0.19598
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-11-18 | ng/L | 1.1194 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 88.89 | HALOSULFURON-METHYL | . | 22 | 99.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1194 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0151 | 0.14076 | 1.071 | 0.26437 | 0.19598
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2015-04-08 | ng/L | 0.85499 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 44.445 | HALOSULFURON-METHYL | . | 22 | 38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85499 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0151 | 0.14076 | 1.071 | 0.26437 | 0.19598
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-12-16 | ng/L | 1.104 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 88.95 | HALOSULFURON-METHYL | . | 22 | 98.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.104 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.104 |  | 1.104 | 0 | 0
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2015-04-15 | ng/L | 0.59584 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 44.475 | HALOSULFURON-METHYL | . | 22 | 26.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59584 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59584 |  | 0.59584 | 0 | 0
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-05-17 | ng/L | 0.86565 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 44.475 | HALOSULFURON-METHYL | . | 22 | 38.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86565 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86041 | 0.086685 | 0.86565 | 0.17313 | 0.12834
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-06-11 | ng/L | 0.94435 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 177.9 | HALOSULFURON-METHYL | E | 22 | 168 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94435 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.86041 | 0.086685 | 0.86565 | 0.17313 | 0.12834
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-06-26 | ng/L | 0.77122 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 88.95 | HALOSULFURON-METHYL | . | 22 | 68.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77122 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86041 | 0.086685 | 0.86565 | 0.17313 | 0.12834
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-07-31 | ng/L | 1.1542 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 44.445 | HALOSULFURON-METHYL | . | 22 | 51.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1542 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1441 | 0.014319 | 1.1441 | 0.02025 | 0.015011
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2015-04-09 | ng/L | 1.134 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 44.445 | HALOSULFURON-METHYL | . | 22 | 50.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.134 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1441 | 0.014319 | 1.1441 | 0.02025 | 0.015011
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-08-17 | ng/L | 1.2007 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 44.475 | HALOSULFURON-METHYL | . | 22 | 53.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2007 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1467 | 0.076315 | 1.1467 | 0.10793 | 0.080004
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2014-10-07 | ng/L | 1.0927 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 88.95 | HALOSULFURON-METHYL | . | 22 | 97.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0927 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1467 | 0.076315 | 1.1467 | 0.10793 | 0.080004
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2015-08-11 | ng/L | 0.6697 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 33 | HALOSULFURON-METHYL | . | 22 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6697 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65051 | 0.01669 | 0.64242 | 0.030303 | 0.022463
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2015-08-11 | ng/L | 0.63939 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 33 | HALOSULFURON-METHYL | . | 22 | 21.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63939 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65051 | 0.01669 | 0.64242 | 0.030303 | 0.022463
HALOSULFURON-METHYL | 2437 | 61680LCM60 | 2015-08-11 | ng/L | 0.64242 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 33 | HALOSULFURON-METHYL | . | 22 | 21.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64242 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65051 | 0.01669 | 0.64242 | 0.030303 | 0.022463