## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HYDROXYMETOLACHLOR | 2437 | 68622LCM60 | 2014-04-24 | ng/L | 0.816 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 125 | HYDROXYMETOLACHLOR | . | 2 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.816 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.86383 | 0.064772 | 0.848 | 0.104 | 0.077094
HYDROXYMETOLACHLOR | 2437 | 68622LCM60 | 2014-05-03 | ng/L | 0.795 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 200 | HYDROXYMETOLACHLOR | . | 2 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.795 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.86383 | 0.064772 | 0.848 | 0.104 | 0.077094
HYDROXYMETOLACHLOR | 2437 | 68622LCM60 | 2014-05-29 | ng/L | 0.956 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | HYDROXYMETOLACHLOR | . | 2 | 239 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.956 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.86383 | 0.064772 | 0.848 | 0.104 | 0.077094
HYDROXYMETOLACHLOR | 2437 | 68622LCM60 | 2014-06-05 | ng/L | 0.818 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | HYDROXYMETOLACHLOR | . | 2 | 409 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.818 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.86383 | 0.064772 | 0.848 | 0.104 | 0.077094
HYDROXYMETOLACHLOR | 2437 | 68622LCM60 | 2014-06-18 | ng/L | 0.92 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | HYDROXYMETOLACHLOR | . | 2 | 230 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.86383 | 0.064772 | 0.848 | 0.104 | 0.077094
HYDROXYMETOLACHLOR | 2437 | 68622LCM60 | 2014-07-02 | ng/L | 0.878 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | HYDROXYMETOLACHLOR | . | 2 | 439 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.878 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.86383 | 0.064772 | 0.848 | 0.104 | 0.077094