## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-07-19 | ng/L | 1.3338 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 43.56 | IMIDACLOPRID | . | 11 | 58.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3338 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3338 |  | 1.3338 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-12-02 | ng/L | 1.1066 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 44.19 | IMIDACLOPRID | . | 11 | 48.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1066 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1066 |  | 1.1066 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-08-20 | ng/L | 0.91827 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 21.78 | IMIDACLOPRID | . | 11 | 20 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91827 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91827 |  | 0.91827 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-09-23 | ng/L | 0.99174 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 21.78 | IMIDACLOPRID | . | 11 | 21.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99174 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.017 | 0.11572 | 0.99174 | 0.22727 | 0.16847
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-11-18 | ng/L | 0.91598 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 43.56 | IMIDACLOPRID | . | 11 | 39.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91598 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.017 | 0.11572 | 0.99174 | 0.22727 | 0.16847
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-04-08 | ng/L | 1.1433 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 21.78 | IMIDACLOPRID | . | 11 | 24.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1433 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.017 | 0.11572 | 0.99174 | 0.22727 | 0.16847
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-12-16 | ng/L | 1.0681 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 44.19 | IMIDACLOPRID | . | 11 | 47.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0681 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0681 |  | 1.0681 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-04-15 | ng/L | 0.88255 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 22.095 | IMIDACLOPRID | . | 11 | 19.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88255 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88255 |  | 0.88255 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-05-17 | ng/L | 1.0002 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 22.095 | IMIDACLOPRID | . | 11 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0002 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0017 | 0.072426 | 1.0002 | 0.14483 | 0.10736
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-06-11 | ng/L | 1.0749 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 88.38 | IMIDACLOPRID | E | 11 | 95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0749 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0017 | 0.072426 | 1.0002 | 0.14483 | 0.10736
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-06-26 | ng/L | 0.93007 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 44.19 | IMIDACLOPRID | . | 11 | 41.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93007 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0017 | 0.072426 | 1.0002 | 0.14483 | 0.10736
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-08-12 | ng/L | 1.0667 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 33 | IMIDACLOPRID | . | 11 | 35.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90808 | 0.15909 | 0.90909 | 0.31818 | 0.23586
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-08-12 | ng/L | 0.90909 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 33 | IMIDACLOPRID | . | 11 | 30 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90909 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90808 | 0.15909 | 0.90909 | 0.31818 | 0.23586
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-08-12 | ng/L | 0.74848 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 33 | IMIDACLOPRID | . | 11 | 24.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74848 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90808 | 0.15909 | 0.90909 | 0.31818 | 0.23586
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-07-31 | ng/L | 1.3177 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 21.78 | IMIDACLOPRID | E | 11 | 28.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3177 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1433 | 0.24674 | 1.1433 | 0.34894 | 0.25867
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-04-09 | ng/L | 0.96878 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 21.78 | IMIDACLOPRID | . | 11 | 21.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96878 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1433 | 0.24674 | 1.1433 | 0.34894 | 0.25867
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-08-17 | ng/L | 1.0093 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 22.095 | IMIDACLOPRID | E | 11 | 22.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0093 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0613 | 0.073607 | 1.0613 | 0.1041 | 0.077165
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-10-07 | ng/L | 1.1134 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 44.19 | IMIDACLOPRID | . | 11 | 49.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1134 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0613 | 0.073607 | 1.0613 | 0.1041 | 0.077165
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-08-04 | ng/L | 1.4311 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 16.7 | IMIDACLOPRID | . | 11 | 23.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4311 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4311 |  | 1.4311 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-08-11 | ng/L | 0.98182 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 16.5 | IMIDACLOPRID | . | 11 | 16.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98182 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8697 | 0.15856 | 0.8697 | 0.22424 | 0.16623
IMIDACLOPRID | 2437 | 68426LCM60 | 2015-08-11 | ng/L | 0.75758 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 16.5 | IMIDACLOPRID | . | 11 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8697 | 0.15856 | 0.8697 | 0.22424 | 0.16623
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-02-06 | ng/L | 1.01 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 500 | IMIDACLOPRID | E | 11 | 505 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.01 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.01 |  | 1.01 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2013-10-31 | ng/L | 1.012 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 502 | IMIDACLOPRID | E | 11 | 508 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.012 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.012 |  | 1.012 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2014-03-04 | ng/L | 0.90438 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 502 | IMIDACLOPRID | . | 11 | 454 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90438 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90438 |  | 0.90438 | 0 | 0
IMIDACLOPRID | 2437 | 68426LCM60 | 2013-11-21 | ng/L | 1.1016 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 502 | IMIDACLOPRID | . | 11 | 553 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1016 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1016 |  | 1.1016 | 0 | 0