## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
INDOXACARB | 2437 | 68627LCM60 | 2014-07-08 | ng/L | 1.0108 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 31.56 | INDOXACARB | . | 8 | 31.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0108 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0108 |  | 1.0108 | 0 | 0
INDOXACARB | 2437 | 68627LCM60 | 2014-08-16 | ng/L | 1.5146 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 15.45 | INDOXACARB | . | 8 | 23.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5146 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.5146 |  | 1.5146 | 0 | 0
INDOXACARB | 2437 | 68627LCM60 | 2014-07-19 | ng/L | 0.76362 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 31.56 | INDOXACARB | . | 8 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76362 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76362 |  | 0.76362 | 0 | 0
INDOXACARB | 2437 | 68627LCM60 | 2014-12-02 | ng/L | 0.86185 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 31.56 | INDOXACARB | . | 8 | 27.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86185 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86185 |  | 0.86185 | 0 | 0
INDOXACARB | 2437 | 68627LCM60 | 2014-07-24 | ng/L | 1.109 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 15.78 | INDOXACARB | . | 8 | 17.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.109 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0118 | 0.12695 | 1.0583 | 0.24081 | 0.17851
INDOXACARB | 2437 | 68627LCM60 | 2014-10-07 | ng/L | 1.0583 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 15.78 | INDOXACARB | . | 8 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0583 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0118 | 0.12695 | 1.0583 | 0.24081 | 0.17851
INDOXACARB | 2437 | 68627LCM60 | 2014-12-02 | ng/L | 0.86819 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 31.56 | INDOXACARB | . | 8 | 27.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86819 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0118 | 0.12695 | 1.0583 | 0.24081 | 0.17851
INDOXACARB | 2437 | 68627LCM60 | 2014-09-04 | ng/L | 0.65696 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 30.9 | INDOXACARB | . | 8 | 20.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65696 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90777 | 0.3547 | 0.90777 | 0.50162 | 0.37184
INDOXACARB | 2437 | 68627LCM60 | 2014-09-10 | ng/L | 1.1586 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 15.45 | INDOXACARB | . | 8 | 17.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1586 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.90777 | 0.3547 | 0.90777 | 0.50162 | 0.37184
INDOXACARB | 2437 | 68627LCM60 | 2014-07-31 | ng/L | 0.94498 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 15.45 | INDOXACARB | . | 8 | 14.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94498 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88673 | 0.082381 | 0.88673 | 0.1165 | 0.086364
INDOXACARB | 2437 | 68627LCM60 | 2015-04-09 | ng/L | 0.82848 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 15.45 | INDOXACARB | . | 8 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82848 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.88673 | 0.082381 | 0.88673 | 0.1165 | 0.086364
INDOXACARB | 2437 | 68627LCM60 | 2014-08-17 | ng/L | 1.0291 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 15.45 | INDOXACARB | . | 8 | 15.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0291 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.335 | 0.4325 | 1.335 | 0.61165 | 0.45341
INDOXACARB | 2437 | 68627LCM60 | 2014-10-07 | ng/L | 1.6408 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 30.9 | INDOXACARB | . | 8 | 50.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6408 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.335 | 0.4325 | 1.335 | 0.61165 | 0.45341
INDOXACARB | 2437 | 68627LCM60 | 2015-08-11 | ng/L | 1.437 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 11.9 | INDOXACARB | . | 8 | 17.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.437 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3697 | 0.12379 | 1.437 | 0.21849 | 0.16196
INDOXACARB | 2437 | 68627LCM60 | 2015-08-11 | ng/L | 1.2269 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 11.9 | INDOXACARB | . | 8 | 14.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2269 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3697 | 0.12379 | 1.437 | 0.21849 | 0.16196
INDOXACARB | 2437 | 68627LCM60 | 2015-08-11 | ng/L | 1.4454 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 11.9 | INDOXACARB | . | 8 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4454 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3697 | 0.12379 | 1.437 | 0.21849 | 0.16196