## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
LACTOFEN | 2437 | 68638LCM60 | 2014-07-08 | ng/L | 0.86667 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 12 | LACTOFEN | E | 3 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.86667 |  | 0.86667 | 0 | 0
LACTOFEN | 2437 | 68638LCM60 | 2014-08-16 | ng/L | 1.142 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 6.375 | LACTOFEN | E | 3 | 7.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.142 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.142 |  | 1.142 | 0 | 0
LACTOFEN | 2437 | 68638LCM60 | 2014-07-19 | ng/L | 1.1833 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 12 | LACTOFEN | E | 3 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1833 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.1833 |  | 1.1833 | 0 | 0
LACTOFEN | 2437 | 68638LCM60 | 2014-12-02 | ng/L | 0.86667 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 12 | LACTOFEN | E | 3 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.86667 |  | 0.86667 | 0 | 0
LACTOFEN | 2437 | 68638LCM60 | 2014-10-07 | ng/L | 1.7 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | LACTOFEN | E | 3 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.3708 | 0.46551 | 1.3708 | 0.65833 | 0.48802
LACTOFEN | 2437 | 68638LCM60 | 2014-12-02 | ng/L | 1.0417 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 12 | LACTOFEN | E | 3 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0417 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.3708 | 0.46551 | 1.3708 | 0.65833 | 0.48802
LACTOFEN | 2437 | 68638LCM60 | 2014-09-04 | ng/L | 0.81569 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 12.75 | LACTOFEN | E | 3 | 10.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81569 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.75843 | 0.080971 | 0.75843 | 0.11451 | 0.084885
LACTOFEN | 2437 | 68638LCM60 | 2014-09-10 | ng/L | 0.70118 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6.375 | LACTOFEN | E | 3 | 4.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70118 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.75843 | 0.080971 | 0.75843 | 0.11451 | 0.084885
LACTOFEN | 2437 | 68638LCM60 | 2015-07-15 | ng/L | 1.7065 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 9.2 | LACTOFEN | E | 3 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7065 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.7065 |  | 1.7065 | 0 | 0
LACTOFEN | 2437 | 68638LCM60 | 2015-08-12 | ng/L | 0.67826 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 9.2 | LACTOFEN | E | 3 | 6.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67826 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.67826 |  | 0.67826 | 0 | 0
LACTOFEN | 2437 | 68638LCM60 | 2014-07-31 | ng/L | 1.7412 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.375 | LACTOFEN | E | 3 | 11.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7412 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.4973 | 0.34496 | 1.4973 | 0.48784 | 0.36163
LACTOFEN | 2437 | 68638LCM60 | 2015-04-09 | ng/L | 1.2533 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.375 | LACTOFEN | E | 3 | 7.99 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2533 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.4973 | 0.34496 | 1.4973 | 0.48784 | 0.36163
LACTOFEN | 2437 | 68638LCM60 | 2014-08-17 | ng/L | 1.2282 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 6.375 | LACTOFEN | E | 3 | 7.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2282 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.2808 | 0.074316 | 1.2808 | 0.1051 | 0.077908
LACTOFEN | 2437 | 68638LCM60 | 2014-10-07 | ng/L | 1.3333 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 12.75 | LACTOFEN | E | 3 | 17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3333 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 1.2808 | 0.074316 | 1.2808 | 0.1051 | 0.077908
LACTOFEN | 2437 | 68638LCM60 | 2015-08-04 | ng/L | 2.1091 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 4.49 | LACTOFEN | E | 3 | 9.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 2 |  | 2 | 0 | 0 | 2