## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MCPA | 2437 | 68641LCM60 | 2014-07-08 | ng/L | 1.1881 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 376.23 | MCPA | . | 95 | 447 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1881 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1881 |  | 1.1881 | 0 | 0
MCPA | 2437 | 68641LCM60 | 2014-07-19 | ng/L | 1.2918 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 376.23 | MCPA | . | 95 | 486 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2918 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2918 |  | 1.2918 | 0 | 0
MCPA | 2437 | 68641LCM60 | 2014-12-03 | ng/L | 0.98078 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 376.23 | MCPA | . | 95 | 369 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98078 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98078 |  | 0.98078 | 0 | 0
MCPA | 2437 | 68641LCM60 | 2015-04-15 | ng/L | 1.7915 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 188.115 | MCPA | E | 95 | 337 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7915 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.7915 |  | 1.7915 | 0 | 0
MCPA | 2437 | 68641LCM60 | 2014-07-24 | ng/L | 1.5682 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 188.115 | MCPA | . | 95 | 295 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5682 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4362 | 0.25677 | 1.5682 | 0.45983 | 0.34086
MCPA | 2437 | 68641LCM60 | 2014-10-07 | ng/L | 1.6001 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 188.115 | MCPA | E | 95 | 301 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6001 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.4362 | 0.25677 | 1.5682 | 0.45983 | 0.34086
MCPA | 2437 | 68641LCM60 | 2014-12-03 | ng/L | 1.1403 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 376.23 | MCPA | . | 95 | 429 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1403 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4362 | 0.25677 | 1.5682 | 0.45983 | 0.34086
MCPA | 2437 | 68641LCM60 | 2014-09-03 | ng/L | 0.70341 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 381 | MCPA | . | 95 | 268 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70341 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98688 | 0.40088 | 0.98688 | 0.56693 | 0.42026
MCPA | 2437 | 68641LCM60 | 2014-09-10 | ng/L | 1.2703 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 190.5 | MCPA | . | 95 | 242 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2703 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.98688 | 0.40088 | 0.98688 | 0.56693 | 0.42026
MCPA | 2437 | 68641LCM60 | 2014-07-30 | ng/L | 1.0026 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 190.5 | MCPA | . | 95 | 191 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0026 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0682 | 0.092796 | 1.0682 | 0.13123 | 0.097282
MCPA | 2437 | 68641LCM60 | 2015-04-02 | ng/L | 1.1339 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 190.5 | MCPA | . | 95 | 216 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1339 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0682 | 0.092796 | 1.0682 | 0.13123 | 0.097282
MCPA | 2437 | 68641LCM60 | 2014-08-13 | ng/L | 1.622 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 190.5 | MCPA | E | 95 | 309 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.622 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.5262 | 0.13548 | 1.5262 | 0.1916 | 0.14203
MCPA | 2437 | 68641LCM60 | 2014-10-07 | ng/L | 1.4304 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 381 | MCPA | E | 95 | 545 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4304 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.5262 | 0.13548 | 1.5262 | 0.1916 | 0.14203
MCPA | 2437 | 68641LCM60 | 2015-08-03 | ng/L | 1.0833 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 144 | MCPA | . | 95 | 156 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0833 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0833 |  | 1.0833 | 0 | 0
MCPA | 2437 | 68641LCM60 | 2014-02-05 | ng/L | 0.8607 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 402 | MCPA | . | 95 | 346 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8607 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8607 |  | 0.8607 | 0 | 0
MCPA | 2437 | 68641LCM60 | 2013-09-20 | ng/L | 1.3225 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 400 | MCPA | . | 95 | 529 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3225 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3225 |  | 1.3225 | 0 | 0
MCPA | 2437 | 68641LCM60 | 2014-03-04 | ng/L | 1.0572 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 402 | MCPA | . | 95 | 425 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0572 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0572 |  | 1.0572 | 0 | 0
MCPA | 2437 | 68641LCM60 | 2013-11-23 | ng/L | 1.3483 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 402 | MCPA | . | 95 | 542 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3483 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3483 |  | 1.3483 | 0 | 0