## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METALAXYL | 2437 | 68437LCM60 | 2014-01-23 | ng/L | 0.87209 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 275.2 | METALAXYL | . | 6 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87209 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87209 |  | 0.87209 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-07-19 | ng/L | 1.186 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 24.03 | METALAXYL | . | 6 | 28.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.186 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.186 |  | 1.186 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-12-02 | ng/L | 1.0038 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 23.91 | METALAXYL | . | 6 | 24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0038 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0038 |  | 1.0038 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-08-20 | ng/L | 0.93217 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 12.015 | METALAXYL | . | 6 | 11.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93217 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93217 |  | 0.93217 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-09-23 | ng/L | 0.91552 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 12.015 | METALAXYL | . | 6 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91552 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90997 | 0.033637 | 0.91552 | 0.066583 | 0.049358
METALAXYL | 2437 | 68437LCM60 | 2014-11-18 | ng/L | 0.94049 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 24.03 | METALAXYL | . | 6 | 22.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94049 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90997 | 0.033637 | 0.91552 | 0.066583 | 0.049358
METALAXYL | 2437 | 68437LCM60 | 2015-04-08 | ng/L | 0.87391 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 12.015 | METALAXYL | . | 6 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87391 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90997 | 0.033637 | 0.91552 | 0.066583 | 0.049358
METALAXYL | 2437 | 68437LCM60 | 2013-12-19 | ng/L | 1.1831 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 688 | METALAXYL | . | 6 | 814 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1831 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1831 |  | 1.1831 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-12-16 | ng/L | 0.99958 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 23.91 | METALAXYL | . | 6 | 23.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99958 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99958 |  | 0.99958 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2015-04-15 | ng/L | 0.80803 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 11.955 | METALAXYL | . | 6 | 9.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80803 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80803 |  | 0.80803 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-05-17 | ng/L | 1.0958 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 11.955 | METALAXYL | . | 6 | 13.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0958 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0289 | 0.076664 | 1.0456 | 0.15056 | 0.11161
METALAXYL | 2437 | 68437LCM60 | 2014-06-11 | ng/L | 1.0456 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 47.82 | METALAXYL | E | 6 | 50 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0456 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0289 | 0.076664 | 1.0456 | 0.15056 | 0.11161
METALAXYL | 2437 | 68437LCM60 | 2014-06-26 | ng/L | 0.94521 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 23.91 | METALAXYL | . | 6 | 22.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94521 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0289 | 0.076664 | 1.0456 | 0.15056 | 0.11161
METALAXYL | 2437 | 68437LCM60 | 2015-08-12 | ng/L | 0.87472 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 17.72 | METALAXYL | . | 6 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87472 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92269 | 0.067838 | 0.92269 | 0.095937 | 0.071117
METALAXYL | 2437 | 68437LCM60 | 2015-08-12 | ng/L | 0.97065 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 17.72 | METALAXYL | . | 6 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97065 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.92269 | 0.067838 | 0.92269 | 0.095937 | 0.071117
METALAXYL | 2437 | 68437LCM60 | 2014-01-10 | ng/L | 0.8587 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 276 | METALAXYL | . | 6 | 237 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8587 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8587 |  | 0.8587 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-07-31 | ng/L | 1.0404 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 12.015 | METALAXYL | E | 6 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0404 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0404 |  | 1.0404 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-08-17 | ng/L | 0.9954 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 11.955 | METALAXYL | . | 6 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9954 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99958 | 0.0059147 | 0.99958 | 0.0083647 | 0.0062007
METALAXYL | 2437 | 68437LCM60 | 2014-10-07 | ng/L | 1.0038 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 23.91 | METALAXYL | . | 6 | 24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0038 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99958 | 0.0059147 | 0.99958 | 0.0083647 | 0.0062007
METALAXYL | 2437 | 68437LCM60 | 2015-08-04 | ng/L | 1.05 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 9 | METALAXYL | . | 6 | 9.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.05 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.05 |  | 1.05 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2015-08-11 | ng/L | 0.94244 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 8.86 | METALAXYL | . | 6 | 8.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94244 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94846 | 0.046568 | 0.94244 | 0.092551 | 0.068607
METALAXYL | 2437 | 68437LCM60 | 2015-08-11 | ng/L | 0.90519 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 8.86 | METALAXYL | . | 6 | 8.02 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90519 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94846 | 0.046568 | 0.94244 | 0.092551 | 0.068607
METALAXYL | 2437 | 68437LCM60 | 2015-08-11 | ng/L | 0.99774 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 8.86 | METALAXYL | . | 6 | 8.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99774 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94846 | 0.046568 | 0.94244 | 0.092551 | 0.068607
METALAXYL | 2437 | 68437LCM60 | 2014-02-06 | ng/L | 1.1618 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 340 | METALAXYL | E | 6 | 395 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1618 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1618 |  | 1.1618 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2013-10-31 | ng/L | 1.1647 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 340 | METALAXYL | . | 6 | 396 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1647 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1647 |  | 1.1647 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-03-04 | ng/L | 1.0824 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 340 | METALAXYL | . | 6 | 368 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0824 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0824 |  | 1.0824 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2014-02-19 | ng/L | 0.93188 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 690 | METALAXYL | . | 6 | 643 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93188 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93188 |  | 0.93188 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2013-11-07 | ng/L | 1.0247 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 275.2 | METALAXYL | . | 6 | 282 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0247 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0247 |  | 1.0247 | 0 | 0
METALAXYL | 2437 | 68437LCM60 | 2013-11-21 | ng/L | 1.3294 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 340 | METALAXYL | . | 6 | 452 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3294 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3294 |  | 1.3294 | 0 | 0