## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-07-19 | ng/L | 1.0167 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 12 | METHAMIDOPHOS | . | 3 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0167 |  | 1.0167 | 0 | 0
METHAMIDOPHOS | 2437 | 68644LCM60 | 2015-04-15 | ng/L | 1.5283 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 6 | METHAMIDOPHOS | E | 3 | 9.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5283 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.5283 |  | 1.5283 | 0 | 0
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-07-24 | ng/L | 0.69167 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | METHAMIDOPHOS | . | 3 | 4.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69167 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69167 |  | 0.69167 | 0 | 0
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-09-10 | ng/L | 1.6626 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6.135 | METHAMIDOPHOS | . | 3 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6626 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.6626 |  | 1.6626 | 0 | 0
METHAMIDOPHOS | 2437 | 68644LCM60 | 2015-07-15 | ng/L | 1.3478 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 9.2 | METHAMIDOPHOS | E | 3 | 12.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3478 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3478 |  | 1.3478 | 0 | 0
METHAMIDOPHOS | 2437 | 68644LCM60 | 2015-04-09 | ng/L | 0.62103 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.135 | METHAMIDOPHOS | . | 3 | 3.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62103 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62103 |  | 0.62103 | 0 | 0
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-10-07 | ng/L | 0.98615 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 12.27 | METHAMIDOPHOS | . | 3 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98615 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98615 |  | 0.98615 | 0 | 0
METHAMIDOPHOS | 2437 | 68644LCM60 | 2015-08-11 | ng/L | 1.0311 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.5 | METHAMIDOPHOS | . | 3 | 4.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0311 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0833 | 0.073853 | 1.0833 | 0.10444 | 0.077424
METHAMIDOPHOS | 2437 | 68644LCM60 | 2015-08-11 | ng/L | 1.1356 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.5 | METHAMIDOPHOS | . | 3 | 5.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1356 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0833 | 0.073853 | 1.0833 | 0.10444 | 0.077424
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-04-24 | ng/L | 0.87843 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 127.5 | METHAMIDOPHOS | . | 3 | 112 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87843 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.83578 | 0.065848 | 0.86373 | 0.10588 | 0.07849
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-05-03 | ng/L | 0.73039 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 204 | METHAMIDOPHOS | . | 3 | 149 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73039 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.83578 | 0.065848 | 0.86373 | 0.10588 | 0.07849
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-05-29 | ng/L | 0.8902 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | METHAMIDOPHOS | . | 3 | 227 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8902 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.83578 | 0.065848 | 0.86373 | 0.10588 | 0.07849
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-06-05 | ng/L | 0.84902 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | METHAMIDOPHOS | E | 3 | 433 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84902 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.83578 | 0.065848 | 0.86373 | 0.10588 | 0.07849
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-06-18 | ng/L | 0.88627 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | METHAMIDOPHOS | . | 3 | 226 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88627 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.83578 | 0.065848 | 0.86373 | 0.10588 | 0.07849
METHAMIDOPHOS | 2437 | 68644LCM60 | 2014-07-02 | ng/L | 0.78039 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | METHAMIDOPHOS | . | 3 | 398 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78039 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.83578 | 0.065848 | 0.86373 | 0.10588 | 0.07849