## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHOMYL OXIME | 2437 | 68646LCM60 | 2014-08-16 | ng/L | 0.8513 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 1002 | METHOMYL_OXIME | . | 500 | 853 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8513 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8513 |  | 0.8513 | 0 | 0
METHOMYL OXIME | 2437 | 68646LCM60 | 2014-12-02 | ng/L | 0.72361 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 2003.85 | METHOMYL_OXIME | . | 500 | 1450 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72361 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72361 |  | 0.72361 | 0 | 0
METHOMYL OXIME | 2437 | 68646LCM60 | 2015-04-15 | ng/L | 1.1777 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 1001.925 | METHOMYL_OXIME | . | 500 | 1180 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1777 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1777 |  | 1.1777 | 0 | 0
METHOMYL OXIME | 2437 | 68646LCM60 | 2014-07-24 | ng/L | 0.85236 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 1001.925 | METHOMYL_OXIME | . | 500 | 854 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85236 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79297 | 0.083984 | 0.79297 | 0.11877 | 0.088044
METHOMYL OXIME | 2437 | 68646LCM60 | 2014-12-02 | ng/L | 0.73359 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 2003.85 | METHOMYL_OXIME | . | 500 | 1470 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73359 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79297 | 0.083984 | 0.79297 | 0.11877 | 0.088044
METHOMYL OXIME | 2437 | 68646LCM60 | 2014-09-04 | ng/L | 0.41317 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 2004 | METHOMYL_OXIME | E | 500 | 828 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41317 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61776 | 0.28934 | 0.61776 | 0.40918 | 0.30332
METHOMYL OXIME | 2437 | 68646LCM60 | 2014-09-10 | ng/L | 0.82236 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 1002 | METHOMYL_OXIME | E | 500 | 824 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82236 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61776 | 0.28934 | 0.61776 | 0.40918 | 0.30332
METHOMYL OXIME | 2437 | 68646LCM60 | 2015-08-12 | ng/L | 0.99069 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 1504 | METHOMYL_OXIME | E | 500 | 1490 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99069 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0018 | 0.13664 | 0.99069 | 0.27261 | 0.20208
METHOMYL OXIME | 2437 | 68646LCM60 | 2015-08-12 | ng/L | 1.1436 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 1504 | METHOMYL_OXIME | E | 500 | 1720 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1436 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0018 | 0.13664 | 0.99069 | 0.27261 | 0.20208
METHOMYL OXIME | 2437 | 68646LCM60 | 2015-08-12 | ng/L | 0.87101 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 1504 | METHOMYL_OXIME | E | 500 | 1310 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87101 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0018 | 0.13664 | 0.99069 | 0.27261 | 0.20208
METHOMYL OXIME | 2437 | 68646LCM60 | 2014-07-31 | ng/L | 0.6507 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 1002 | METHOMYL_OXIME | E | 500 | 652 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6507 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.6507 |  | 0.6507 | 0 | 0
METHOMYL OXIME | 2437 | 68646LCM60 | 2014-08-17 | ng/L | 0.78543 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 1002 | METHOMYL_OXIME | E | 500 | 787 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78543 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.78543 |  | 0.78543 | 0 | 0
METHOMYL OXIME | 2437 | 68646LCM60 | 2015-08-11 | ng/L | 1.0971 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 752 | METHOMYL_OXIME | E | 500 | 825 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0971 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0465 | 0.059217 | 1.0612 | 0.11569 | 0.085761
METHOMYL OXIME | 2437 | 68646LCM60 | 2015-08-11 | ng/L | 1.0612 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 752 | METHOMYL_OXIME | E | 500 | 798 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0612 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0465 | 0.059217 | 1.0612 | 0.11569 | 0.085761
METHOMYL OXIME | 2437 | 68646LCM60 | 2015-08-11 | ng/L | 0.98138 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 752 | METHOMYL_OXIME | E | 500 | 738 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98138 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0465 | 0.059217 | 1.0612 | 0.11569 | 0.085761