## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-07-08 | ng/L | 1.0455 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 8.13 | METHOXYFENOZIDE | . | 2 | 8.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0455 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0455 |  | 1.0455 | 0 | 0
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-08-16 | ng/L | 0.9596 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 3.96 | METHOXYFENOZIDE | . | 2 | 3.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9596 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9596 |  | 0.9596 | 0 | 0
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-07-19 | ng/L | 1.1439 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 8.13 | METHOXYFENOZIDE | . | 2 | 9.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1439 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1439 |  | 1.1439 | 0 | 0
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-12-02 | ng/L | 0.97417 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 8.13 | METHOXYFENOZIDE | . | 2 | 7.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97417 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97417 |  | 0.97417 | 0 | 0
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2015-04-15 | ng/L | 1.0529 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 4.065 | METHOXYFENOZIDE | . | 2 | 4.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0529 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0529 |  | 1.0529 | 0 | 0
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-07-24 | ng/L | 0.93727 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 4.065 | METHOXYFENOZIDE | . | 2 | 3.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93727 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0107 | 0.063917 | 1.0406 | 0.11685 | 0.086621
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-10-07 | ng/L | 1.0406 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 4.065 | METHOXYFENOZIDE | . | 2 | 4.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0406 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0107 | 0.063917 | 1.0406 | 0.11685 | 0.086621
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-12-02 | ng/L | 1.0541 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 8.13 | METHOXYFENOZIDE | . | 2 | 8.57 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0541 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0107 | 0.063917 | 1.0406 | 0.11685 | 0.086621
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-09-04 | ng/L | 0.57323 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 7.92 | METHOXYFENOZIDE | E | 2 | 4.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57323 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.79545 | 0.31427 | 0.79545 | 0.44444 | 0.32946
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-09-10 | ng/L | 1.0177 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 3.96 | METHOXYFENOZIDE | E | 2 | 4.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0177 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.79545 | 0.31427 | 0.79545 | 0.44444 | 0.32946
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2015-07-15 | ng/L | 1.02 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 6 | METHOXYFENOZIDE | . | 2 | 6.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.02 |  | 1.02 | 0 | 0
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2015-08-12 | ng/L | 1.1 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 6 | METHOXYFENOZIDE | . | 2 | 6.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1078 | 0.16181 | 1.1 | 0.32333 | 0.23968
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2015-08-12 | ng/L | 1.2733 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 6 | METHOXYFENOZIDE | . | 2 | 7.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2733 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1078 | 0.16181 | 1.1 | 0.32333 | 0.23968
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2015-08-12 | ng/L | 0.95 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 6 | METHOXYFENOZIDE | . | 2 | 5.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1078 | 0.16181 | 1.1 | 0.32333 | 0.23968
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-07-31 | ng/L | 1.2626 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 3.96 | METHOXYFENOZIDE | . | 2 | 5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2626 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0202 | 0.34284 | 1.0202 | 0.48485 | 0.35941
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2015-04-09 | ng/L | 0.77778 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 3.96 | METHOXYFENOZIDE | . | 2 | 3.08 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77778 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0202 | 0.34284 | 1.0202 | 0.48485 | 0.35941
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-08-17 | ng/L | 0.79798 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 3.96 | METHOXYFENOZIDE | . | 2 | 3.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79798 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82828 | 0.042855 | 0.82828 | 0.060606 | 0.044927
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-10-07 | ng/L | 0.85859 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 7.92 | METHOXYFENOZIDE | . | 2 | 6.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85859 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82828 | 0.042855 | 0.82828 | 0.060606 | 0.044927
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2015-08-04 | ng/L | 1.3177 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 2.99 | METHOXYFENOZIDE | . | 2 | 3.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3177 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3177 |  | 1.3177 | 0 | 0
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-04-24 | ng/L | 0.80792 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 126.25 | METHOXYFENOZIDE | . | 2 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80792 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.88564 | 0.10498 | 0.87822 | 0.15842 | 0.11743
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-05-03 | ng/L | 0.75743 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 202 | METHOXYFENOZIDE | . | 2 | 153 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75743 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.88564 | 0.10498 | 0.87822 | 0.15842 | 0.11743
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-05-29 | ng/L | 0.93465 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 252.5 | METHOXYFENOZIDE | . | 2 | 236 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93465 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.88564 | 0.10498 | 0.87822 | 0.15842 | 0.11743
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-06-05 | ng/L | 0.82178 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 505 | METHOXYFENOZIDE | . | 2 | 415 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82178 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.88564 | 0.10498 | 0.87822 | 0.15842 | 0.11743
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-06-18 | ng/L | 0.96634 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 252.5 | METHOXYFENOZIDE | . | 2 | 244 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96634 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.88564 | 0.10498 | 0.87822 | 0.15842 | 0.11743
METHOXYFENOZIDE | 2437 | 68647LCM60 | 2014-07-02 | ng/L | 1.0257 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 505 | METHOXYFENOZIDE | . | 2 | 518 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0257 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.88564 | 0.10498 | 0.87822 | 0.15842 | 0.11743