## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-07-08 | ng/L | 0.60727 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 75.09 | METHYL_PARAOXON | . | 19 | 45.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60727 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.60727 |  | 0.60727 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-01-23 | ng/L | 0.84091 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 176 | METHYL_PARAOXON | E | 19 | 148 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84091 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84091 |  | 0.84091 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-07-19 | ng/L | 1.0174 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 75.09 | METHYL_PARAOXON | E | 19 | 76.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0174 |  | 1.0174 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-12-02 | ng/L | 1.3317 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 75.09 | METHYL_PARAOXON | . | 19 | 100 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3317 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3317 |  | 1.3317 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2013-12-19 | ng/L | 1.1409 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 440 | METHYL_PARAOXON | E | 19 | 502 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1409 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1409 |  | 1.1409 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2015-04-15 | ng/L | 1.9923 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 37.545 | METHYL_PARAOXON | . | 19 | 74.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9923 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.9923 |  | 1.9923 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-07-24 | ng/L | 1.2225 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 37.545 | METHYL_PARAOXON | . | 19 | 45.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2225 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0099 | 0.18421 | 0.90824 | 0.32361 | 0.23989
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-10-07 | ng/L | 0.90824 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 37.545 | METHYL_PARAOXON | . | 19 | 34.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90824 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0099 | 0.18421 | 0.90824 | 0.32361 | 0.23989
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-12-02 | ng/L | 0.89892 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 75.09 | METHYL_PARAOXON | . | 19 | 67.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89892 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0099 | 0.18421 | 0.90824 | 0.32361 | 0.23989
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-09-04 | ng/L | 0.49074 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 75.6 | METHYL_PARAOXON | . | 19 | 37.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49074 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0231 | 0.75294 | 1.0231 | 1.0648 | 0.78934
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-09-10 | ng/L | 1.5556 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 37.8 | METHYL_PARAOXON | . | 19 | 58.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5556 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0231 | 0.75294 | 1.0231 | 1.0648 | 0.78934
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-01-10 | ng/L | 1.2857 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 175 | METHYL_PARAOXON | E | 19 | 225 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2857 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2857 |  | 1.2857 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-07-31 | ng/L | 1.0212 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 37.8 | METHYL_PARAOXON | E | 19 | 38.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0212 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85185 | 0.23944 | 0.85185 | 0.33862 | 0.25102
METHYL PARAOXON | 2437 | 68648LCM60 | 2015-04-09 | ng/L | 0.68254 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 37.8 | METHYL_PARAOXON | . | 19 | 25.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68254 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.85185 | 0.23944 | 0.85185 | 0.33862 | 0.25102
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-08-17 | ng/L | 1.1561 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 37.8 | METHYL_PARAOXON | . | 19 | 43.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1561 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0126 | 0.20297 | 1.0126 | 0.28704 | 0.21278
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-10-07 | ng/L | 0.86905 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 75.6 | METHYL_PARAOXON | . | 19 | 65.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86905 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0126 | 0.20297 | 1.0126 | 0.28704 | 0.21278
METHYL PARAOXON | 2437 | 68648LCM60 | 2015-08-11 | ng/L | 1.2014 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 28.3 | METHYL_PARAOXON | . | 19 | 34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2014 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2014 |  | 1.2014 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2014-02-19 | ng/L | 1.3669 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 437.5 | METHYL_PARAOXON | . | 19 | 598 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3669 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3669 |  | 1.3669 | 0 | 0
METHYL PARAOXON | 2437 | 68648LCM60 | 2013-11-07 | ng/L | 1.3011 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 176 | METHYL_PARAOXON | E | 19 | 229 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3011 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.3011 |  | 1.3011 | 0 | 0