## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-07-08 | ng/L | 0.58578 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 587.25 | METOLACHLOR_OXANILIC_ACID | . | 149 | 344 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58578 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.58578 |  | 0.58578 | 0 | 0
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-08-11 | ng/L | 0.66667 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 297 | METOLACHLOR_OXANILIC_ACID | . | 149 | 198 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66667 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.66667 |  | 0.66667 | 0 | 0
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-07-19 | ng/L | 0.82588 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 587.25 | METOLACHLOR_OXANILIC_ACID | . | 149 | 485 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82588 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82588 |  | 0.82588 | 0 | 0
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-12-03 | ng/L | 0.67092 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 587.25 | METOLACHLOR_OXANILIC_ACID | . | 149 | 394 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67092 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.67092 |  | 0.67092 | 0 | 0
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2015-04-15 | ng/L | 1.2158 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 293.625 | METOLACHLOR_OXANILIC_ACID | . | 149 | 357 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2158 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2158 |  | 1.2158 | 0 | 0
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-07-24 | ng/L | 0.93316 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 293.625 | METOLACHLOR_OXANILIC_ACID | . | 149 | 274 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93316 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82021 | 0.10226 | 0.79353 | 0.19923 | 0.14769
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-10-07 | ng/L | 0.79353 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 293.625 | METOLACHLOR_OXANILIC_ACID | . | 149 | 233 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79353 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82021 | 0.10226 | 0.79353 | 0.19923 | 0.14769
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-12-03 | ng/L | 0.73393 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 587.25 | METOLACHLOR_OXANILIC_ACID | . | 149 | 431 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73393 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82021 | 0.10226 | 0.79353 | 0.19923 | 0.14769
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-09-03 | ng/L | 0.27441 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 594 | METOLACHLOR_OXANILIC_ACID | . | 149 | 163 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27441 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.27441 |  | 0.27441 | 0 | 0
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-07-30 | ng/L | 0.52189 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 297 | METOLACHLOR_OXANILIC_ACID | . | 149 | 155 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52189 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5202 | 0.0023808 | 0.5202 | 0.003367 | 0.0024959
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2015-04-02 | ng/L | 0.51852 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 297 | METOLACHLOR_OXANILIC_ACID | . | 149 | 154 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51852 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.5202 | 0.0023808 | 0.5202 | 0.003367 | 0.0024959
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-10-07 | ng/L | 0.61111 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 594 | METOLACHLOR_OXANILIC_ACID | . | 149 | 363 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61111 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61111 |  | 0.61111 | 0 | 0
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2015-08-03 | ng/L | 0.52018 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 223 | METOLACHLOR_OXANILIC_ACID | . | 149 | 116 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52018 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.52018 |  | 0.52018 | 0 | 0
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-04-21 | ng/L | 0.808 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 125 | METOLACHLOR_OXANILIC_ACID | . | 149 | 101 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.808 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 1 | [5 empty] | 6 | 0.74333 | 0.14486 | 0.737 | 0.096 | 0.071164
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-05-01 | ng/L | 0.51 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 200 | METOLACHLOR_OXANILIC_ACID | . | 149 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.74333 | 0.14486 | 0.737 | 0.096 | 0.071164
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-05-28 | ng/L | 0.712 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | METOLACHLOR_OXANILIC_ACID | . | 149 | 178 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.712 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.74333 | 0.14486 | 0.737 | 0.096 | 0.071164
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-06-04 | ng/L | 0.956 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | METOLACHLOR_OXANILIC_ACID | . | 149 | 478 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.956 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.74333 | 0.14486 | 0.737 | 0.096 | 0.071164
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-06-17 | ng/L | 0.736 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | METOLACHLOR_OXANILIC_ACID | . | 149 | 184 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.736 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.74333 | 0.14486 | 0.737 | 0.096 | 0.071164
METOLACHLOR OXANILIC ACID | 2437 | 68650LCM60 | 2014-07-02 | ng/L | 0.738 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | METOLACHLOR_OXANILIC_ACID | . | 149 | 369 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.738 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.74333 | 0.14486 | 0.737 | 0.096 | 0.071164