## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-07-08 | ng/L | 0.84802 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 272.4 | METOLACHLOR_SULFONIC_ACID | . | 68 | 231 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84802 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84802 |  | 0.84802 | 0 | 0
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-08-11 | ng/L | 1.0077 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 136.95 | METOLACHLOR_SULFONIC_ACID | . | 68 | 138 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0077 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0077 |  | 1.0077 | 0 | 0
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-07-19 | ng/L | 0.93979 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 272.4 | METOLACHLOR_SULFONIC_ACID | . | 68 | 256 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93979 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93979 |  | 0.93979 | 0 | 0
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-12-03 | ng/L | 0.81498 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 272.4 | METOLACHLOR_SULFONIC_ACID | . | 68 | 222 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81498 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81498 |  | 0.81498 | 0 | 0
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-04-15 | ng/L | 1.2041 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 136.2 | METOLACHLOR_SULFONIC_ACID | . | 68 | 164 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2041 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2041 |  | 1.2041 | 0 | 0
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-07-24 | ng/L | 1.1674 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 136.2 | METOLACHLOR_SULFONIC_ACID | E | 68 | 159 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1674 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0279 | 0.17109 | 1.0793 | 0.3304 | 0.24492
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-10-07 | ng/L | 0.837 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 136.2 | METOLACHLOR_SULFONIC_ACID | . | 68 | 114 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.837 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0279 | 0.17109 | 1.0793 | 0.3304 | 0.24492
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-12-03 | ng/L | 1.0793 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 272.4 | METOLACHLOR_SULFONIC_ACID | . | 68 | 294 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0793 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0279 | 0.17109 | 1.0793 | 0.3304 | 0.24492
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-09-03 | ng/L | 0.44907 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 273.9 | METOLACHLOR_SULFONIC_ACID | . | 68 | 123 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44907 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78313 | 0.47244 | 0.78313 | 0.66813 | 0.49528
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-09-10 | ng/L | 1.1172 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 136.95 | METOLACHLOR_SULFONIC_ACID | . | 68 | 153 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1172 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.78313 | 0.47244 | 0.78313 | 0.66813 | 0.49528
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-08-12 | ng/L | 1.0693 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 202 | METOLACHLOR_SULFONIC_ACID | . | 68 | 216 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0693 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91914 | 0.13669 | 0.88614 | 0.26733 | 0.19817
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-08-12 | ng/L | 0.88614 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 202 | METOLACHLOR_SULFONIC_ACID | . | 68 | 179 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88614 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91914 | 0.13669 | 0.88614 | 0.26733 | 0.19817
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-08-12 | ng/L | 0.80198 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 202 | METOLACHLOR_SULFONIC_ACID | . | 68 | 162 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80198 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.91914 | 0.13669 | 0.88614 | 0.26733 | 0.19817
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-07-30 | ng/L | 0.72654 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 136.95 | METOLACHLOR_SULFONIC_ACID | . | 68 | 99.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72654 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75758 | 0.043888 | 0.75758 | 0.062066 | 0.046009
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-04-02 | ng/L | 0.78861 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 136.95 | METOLACHLOR_SULFONIC_ACID | . | 68 | 108 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78861 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75758 | 0.043888 | 0.75758 | 0.062066 | 0.046009
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-08-13 | ng/L | 1.2997 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 136.95 | METOLACHLOR_SULFONIC_ACID | . | 68 | 178 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2997 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0953 | 0.28914 | 1.0953 | 0.40891 | 0.30312
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-10-07 | ng/L | 0.89084 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 273.9 | METOLACHLOR_SULFONIC_ACID | . | 68 | 244 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89084 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0953 | 0.28914 | 1.0953 | 0.40891 | 0.30312
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-08-03 | ng/L | 0.82575 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 103.3 | METOLACHLOR_SULFONIC_ACID | . | 68 | 85.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82575 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82575 |  | 0.82575 | 0 | 0
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-08-11 | ng/L | 1.3663 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 101 | METOLACHLOR_SULFONIC_ACID | . | 68 | 138 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3663 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2112 | 0.14495 | 1.1881 | 0.28713 | 0.21285
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-08-11 | ng/L | 1.1881 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 101 | METOLACHLOR_SULFONIC_ACID | . | 68 | 120 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1881 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2112 | 0.14495 | 1.1881 | 0.28713 | 0.21285
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2015-08-11 | ng/L | 1.0792 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 101 | METOLACHLOR_SULFONIC_ACID | . | 68 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0792 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2112 | 0.14495 | 1.1881 | 0.28713 | 0.21285
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-04-21 | ng/L | 0.91765 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 127.5 | METOLACHLOR_SULFONIC_ACID | . | 68 | 117 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91765 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.87042 | 0.087996 | 0.87353 | 0.12157 | 0.090118
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-05-01 | ng/L | 0.7598 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 204 | METOLACHLOR_SULFONIC_ACID | E | 68 | 155 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7598 | ERA 0912-13-03 | [9 empty] | Y | Estimated Values | Y | 2 | [5 empty] | 6 | 0.87042 | 0.087996 | 0.87353 | 0.12157 | 0.090118
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-05-28 | ng/L | 0.84706 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | METOLACHLOR_SULFONIC_ACID | . | 68 | 216 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84706 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.87042 | 0.087996 | 0.87353 | 0.12157 | 0.090118
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-06-04 | ng/L | 1.002 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | METOLACHLOR_SULFONIC_ACID | . | 68 | 511 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.87042 | 0.087996 | 0.87353 | 0.12157 | 0.090118
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-06-17 | ng/L | 0.79608 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | METOLACHLOR_SULFONIC_ACID | . | 68 | 203 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79608 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.87042 | 0.087996 | 0.87353 | 0.12157 | 0.090118
METOLACHLOR SULFONIC ACID | 2437 | 68651LCM60 | 2014-07-02 | ng/L | 0.9 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | METOLACHLOR_SULFONIC_ACID | . | 68 | 459 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.87042 | 0.087996 | 0.87353 | 0.12157 | 0.090118