## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METRIBUZIN | 2437 | 68652LCM60 | 2013-12-10 | ng/L | 0.88 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 200 | METRIBUZIN | . | 20 | 176 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88 |  | 0.88 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2014-07-08 | ng/L | 0.56476 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 79.68 | METRIBUZIN | . | 20 | 45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56476 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.56476 |  | 0.56476 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2014-08-16 | ng/L | 0.91867 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 39.84 | METRIBUZIN | . | 20 | 36.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91867 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91867 |  | 0.91867 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2014-01-23 | ng/L | 0.895 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 200 | METRIBUZIN | . | 20 | 179 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.895 |  | 0.895 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2014-08-20 | ng/L | 0.7756 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 39.84 | METRIBUZIN | . | 20 | 30.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7756 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7756 |  | 0.7756 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2014-09-23 | ng/L | 0.73491 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 40.005 | METRIBUZIN | . | 20 | 29.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73491 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90114 | 0.26446 | 0.7624 | 0.47119 | 0.34929
METRIBUZIN | 2437 | 68652LCM60 | 2014-11-18 | ng/L | 1.2061 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 80.01 | METRIBUZIN | . | 20 | 96.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2061 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90114 | 0.26446 | 0.7624 | 0.47119 | 0.34929
METRIBUZIN | 2437 | 68652LCM60 | 2015-04-08 | ng/L | 0.7624 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 40.005 | METRIBUZIN | . | 20 | 30.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7624 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90114 | 0.26446 | 0.7624 | 0.47119 | 0.34929
METRIBUZIN | 2437 | 68652LCM60 | 2013-09-29 | ng/L | 0.83 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 200 | METRIBUZIN | . | 20 | 166 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83 |  | 0.83 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2013-12-19 | ng/L | 1.048 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 500 | METRIBUZIN | . | 20 | 524 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.048 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.048 |  | 1.048 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2014-12-16 | ng/L | 0.9626 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 79.68 | METRIBUZIN | . | 20 | 76.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9626 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9626 |  | 0.9626 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2014-05-17 | ng/L | 0.75491 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 40.005 | METRIBUZIN | . | 20 | 30.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75491 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85281 | 0.088944 | 0.87489 | 0.17373 | 0.12878
METRIBUZIN | 2437 | 68652LCM60 | 2014-06-11 | ng/L | 0.87489 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 160.02 | METRIBUZIN | . | 20 | 140 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87489 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85281 | 0.088944 | 0.87489 | 0.17373 | 0.12878
METRIBUZIN | 2437 | 68652LCM60 | 2014-06-26 | ng/L | 0.92863 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 80.01 | METRIBUZIN | . | 20 | 74.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92863 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85281 | 0.088944 | 0.87489 | 0.17373 | 0.12878
METRIBUZIN | 2437 | 68652LCM60 | 2014-07-24 | ng/L | 0.8224 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 40.005 | METRIBUZIN | . | 20 | 32.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8224 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87989 | 0.051653 | 0.89489 | 0.099988 | 0.07412
METRIBUZIN | 2437 | 68652LCM60 | 2014-10-07 | ng/L | 0.92238 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 40.005 | METRIBUZIN | . | 20 | 36.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92238 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87989 | 0.051653 | 0.89489 | 0.099988 | 0.07412
METRIBUZIN | 2437 | 68652LCM60 | 2014-12-02 | ng/L | 0.89489 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 80.01 | METRIBUZIN | . | 20 | 71.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89489 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87989 | 0.051653 | 0.89489 | 0.099988 | 0.07412
METRIBUZIN | 2437 | 68652LCM60 | 2014-09-04 | ng/L | 0.71366 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 80.01 | METRIBUZIN | . | 20 | 57.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71366 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83802 | 0.17587 | 0.83802 | 0.24872 | 0.18437
METRIBUZIN | 2437 | 68652LCM60 | 2014-09-10 | ng/L | 0.96238 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 40.005 | METRIBUZIN | . | 20 | 38.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96238 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.83802 | 0.17587 | 0.83802 | 0.24872 | 0.18437
METRIBUZIN | 2437 | 68652LCM60 | 2014-01-10 | ng/L | 0.715 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 200 | METRIBUZIN | . | 20 | 143 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.715 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.715 |  | 0.715 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2015-08-11 | ng/L | 1.186 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 30.1 | METRIBUZIN | . | 20 | 35.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.186 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0653 | 0.13249 | 1.0864 | 0.26246 | 0.19456
METRIBUZIN | 2437 | 68652LCM60 | 2015-08-11 | ng/L | 1.0864 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 30.1 | METRIBUZIN | . | 20 | 32.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0864 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0653 | 0.13249 | 1.0864 | 0.26246 | 0.19456
METRIBUZIN | 2437 | 68652LCM60 | 2015-08-11 | ng/L | 0.92359 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 30.1 | METRIBUZIN | . | 20 | 27.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92359 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0653 | 0.13249 | 1.0864 | 0.26246 | 0.19456
METRIBUZIN | 2437 | 68652LCM60 | 2014-02-19 | ng/L | 0.776 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 500 | METRIBUZIN | . | 20 | 388 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.776 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.776 |  | 0.776 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2013-11-07 | ng/L | 0.86 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 200 | METRIBUZIN | . | 20 | 172 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86 |  | 0.86 | 0 | 0
METRIBUZIN | 2437 | 68652LCM60 | 2013-12-18 | ng/L | 1.24 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 200 | METRIBUZIN | . | 20 | 248 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.24 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.24 |  | 1.24 | 0 | 0