## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
METRIBUZIN DK | 2437 | 68653LCM60 | 2014-09-03 | ng/L | 0.19298 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 798 | METRIBUZIN_DK | E | 200 | 154 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.19298 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.39724 | 0.28887 | 0.39724 | 0.40852 | 0.30283
METRIBUZIN DK | 2437 | 68653LCM60 | 2014-09-10 | ng/L | 0.6015 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 399 | METRIBUZIN_DK | E | 200 | 240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6015 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.39724 | 0.28887 | 0.39724 | 0.40852 | 0.30283
METRIBUZIN DK | 2437 | 68653LCM60 | 2014-07-30 | ng/L | 0.3584 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 399 | METRIBUZIN_DK | . | 200 | 143 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3584 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.35589 | 0.0035444 | 0.35589 | 0.0050125 | 0.0037157
METRIBUZIN DK | 2437 | 68653LCM60 | 2015-04-02 | ng/L | 0.35338 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 399 | METRIBUZIN_DK | . | 200 | 141 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35338 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.35589 | 0.0035444 | 0.35589 | 0.0050125 | 0.0037157
METRIBUZIN DK | 2437 | 68653LCM60 | 2014-10-07 | ng/L | 0.36967 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 798 | METRIBUZIN_DK | . | 200 | 295 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36967 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.36967 |  | 0.36967 | 0 | 0