## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-01-23 | ng/L | 0.85076 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 210.4 | MYCLOBUTANIL | . | 7 | 179 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85076 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85076 |  | 0.85076 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-07-19 | ng/L | 1.2755 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 27.99 | MYCLOBUTANIL | . | 7 | 35.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2755 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2755 |  | 1.2755 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-12-02 | ng/L | 0.85735 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 28.11 | MYCLOBUTANIL | . | 7 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85735 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85735 |  | 0.85735 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-08-20 | ng/L | 0.86459 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 13.995 | MYCLOBUTANIL | . | 7 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86459 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86459 |  | 0.86459 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-09-23 | ng/L | 0.8503 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 13.995 | MYCLOBUTANIL | . | 7 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8503 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95748 | 0.11935 | 0.93605 | 0.2358 | 0.1748
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-11-18 | ng/L | 0.93605 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 27.99 | MYCLOBUTANIL | . | 7 | 26.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93605 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95748 | 0.11935 | 0.93605 | 0.2358 | 0.1748
MYCLOBUTANIL | 2437 | 66632LCM60 | 2015-04-08 | ng/L | 1.0861 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 13.995 | MYCLOBUTANIL | . | 7 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0861 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95748 | 0.11935 | 0.93605 | 0.2358 | 0.1748
MYCLOBUTANIL | 2437 | 66632LCM60 | 2013-12-19 | ng/L | 1.0038 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 526 | MYCLOBUTANIL | . | 7 | 528 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0038 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0038 |  | 1.0038 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-12-16 | ng/L | 0.88581 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 28.11 | MYCLOBUTANIL | . | 7 | 24.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88581 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88581 |  | 0.88581 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2015-04-15 | ng/L | 0.98186 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 14.055 | MYCLOBUTANIL | . | 7 | 13.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98186 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98186 |  | 0.98186 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-05-17 | ng/L | 0.91071 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 14.055 | MYCLOBUTANIL | . | 7 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91071 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92079 | 0.079633 | 0.91071 | 0.15831 | 0.11735
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-06-11 | ng/L | 1.005 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 56.22 | MYCLOBUTANIL | E | 7 | 56.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.005 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.92079 | 0.079633 | 0.91071 | 0.15831 | 0.11735
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-06-26 | ng/L | 0.84667 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 28.11 | MYCLOBUTANIL | . | 7 | 23.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84667 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.92079 | 0.079633 | 0.91071 | 0.15831 | 0.11735
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-01-10 | ng/L | 0.88785 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 214 | MYCLOBUTANIL | . | 7 | 190 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88785 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88785 |  | 0.88785 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-07-31 | ng/L | 0.64595 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 13.995 | MYCLOBUTANIL | . | 7 | 9.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64594 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75527 | 0.15461 | 0.75527 | 0.21865 | 0.16208
MYCLOBUTANIL | 2437 | 66632LCM60 | 2015-04-09 | ng/L | 0.86459 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 13.995 | MYCLOBUTANIL | . | 7 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86459 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75527 | 0.15461 | 0.75527 | 0.21865 | 0.16208
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-08-17 | ng/L | 1.0174 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 14.055 | MYCLOBUTANIL | . | 7 | 14.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0174 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99431 | 0.032701 | 0.99431 | 0.046247 | 0.034282
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-10-07 | ng/L | 0.97118 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 28.11 | MYCLOBUTANIL | . | 7 | 27.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97118 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99431 | 0.032701 | 0.99431 | 0.046247 | 0.034282
MYCLOBUTANIL | 2437 | 66632LCM60 | 2015-08-04 | ng/L | 1.0654 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 10.7 | MYCLOBUTANIL | . | 7 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0654 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0654 |  | 1.0654 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2014-02-19 | ng/L | 0.91963 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 535 | MYCLOBUTANIL | . | 7 | 492 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91963 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91963 |  | 0.91963 | 0 | 0
MYCLOBUTANIL | 2437 | 66632LCM60 | 2013-11-07 | ng/L | 1.0741 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 210.4 | MYCLOBUTANIL | . | 7 | 226 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0741 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0741 |  | 1.0741 | 0 | 0