## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NICOSULFURON | 2437 | 61685LCM60 | 2014-07-19 | ng/L | 0.53124 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 55.53 | NICOSULFURON | . | 14 | 29.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53124 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.53124 |  | 0.53124 | 0 | 0
NICOSULFURON | 2437 | 61685LCM60 | 2014-12-02 | ng/L | 0.45724 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 57.3 | NICOSULFURON | . | 14 | 26.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45724 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.45724 |  | 0.45724 | 0 | 0
NICOSULFURON | 2437 | 61685LCM60 | 2014-08-20 | ng/L | 0.50783 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 27.765 | NICOSULFURON | E | 14 | 14.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50783 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.50783 |  | 0.50783 | 0 | 0
NICOSULFURON | 2437 | 61685LCM60 | 2014-09-23 | ng/L | 0.48622 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 27.765 | NICOSULFURON | E | 14 | 13.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48622 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.58407 | 0.096379 | 0.58707 | 0.19269 | 0.14284
NICOSULFURON | 2437 | 61685LCM60 | 2014-11-18 | ng/L | 0.67891 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 55.53 | NICOSULFURON | . | 14 | 37.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67891 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.58407 | 0.096379 | 0.58707 | 0.19269 | 0.14284
NICOSULFURON | 2437 | 61685LCM60 | 2015-04-08 | ng/L | 0.58707 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 27.765 | NICOSULFURON | E | 14 | 16.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58707 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.58407 | 0.096379 | 0.58707 | 0.19269 | 0.14284
NICOSULFURON | 2437 | 61685LCM60 | 2014-12-16 | ng/L | 0.47993 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 57.3 | NICOSULFURON | . | 14 | 27.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47993 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.47993 |  | 0.47993 | 0 | 0
NICOSULFURON | 2437 | 61685LCM60 | 2015-04-15 | ng/L | 0.25305 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 28.65 | NICOSULFURON | E | 14 | 7.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.25305 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.25305 |  | 0.25305 | 0 | 0
NICOSULFURON | 2437 | 61685LCM60 | 2014-05-17 | ng/L | 1.082 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 28.65 | NICOSULFURON | . | 14 | 31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.082 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94241 | 0.13962 | 0.94241 | 0.27923 | 0.20699
NICOSULFURON | 2437 | 61685LCM60 | 2014-06-11 | ng/L | 0.94241 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 114.6 | NICOSULFURON | E | 14 | 108 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94241 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.94241 | 0.13962 | 0.94241 | 0.27923 | 0.20699
NICOSULFURON | 2437 | 61685LCM60 | 2014-06-26 | ng/L | 0.80279 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 57.3 | NICOSULFURON | . | 14 | 46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80279 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94241 | 0.13962 | 0.94241 | 0.27923 | 0.20699
NICOSULFURON | 2437 | 61685LCM60 | 2014-07-31 | ng/L | 0.6483 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 27.765 | NICOSULFURON | E | 14 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6483 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.59067 | 0.081496 | 0.59067 | 0.11525 | 0.085436
NICOSULFURON | 2437 | 61685LCM60 | 2015-04-09 | ng/L | 0.53305 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 27.765 | NICOSULFURON | . | 14 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53305 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.59067 | 0.081496 | 0.59067 | 0.11525 | 0.085436
NICOSULFURON | 2437 | 61685LCM60 | 2014-08-17 | ng/L | 0.48517 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 28.65 | NICOSULFURON | E | 14 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48517 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.51134 | 0.037021 | 0.51134 | 0.052356 | 0.038811
NICOSULFURON | 2437 | 61685LCM60 | 2014-10-07 | ng/L | 0.53752 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 57.3 | NICOSULFURON | . | 14 | 30.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53752 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.51134 | 0.037021 | 0.51134 | 0.052356 | 0.038811
NICOSULFURON | 2437 | 61685LCM60 | 2015-08-11 | ng/L | 0.21185 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 21.1 | NICOSULFURON | . | 14 | 4.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.21185 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.19621 | 0.022118 | 0.19621 | 0.03128 | 0.023187
NICOSULFURON | 2437 | 61685LCM60 | 2015-08-11 | ng/L | 0.18057 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 21.1 | NICOSULFURON | . | 14 | 3.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.18057 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.19621 | 0.022118 | 0.19621 | 0.03128 | 0.023187
NICOSULFURON | 2437 | 61685LCM60 | 2014-02-06 | ng/L | 0.41879 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 2746 | NICOSULFURON | . | 14 | 1150 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41879 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.41879 |  | 0.41879 | 0 | 0
NICOSULFURON | 2437 | 61685LCM60 | 2013-10-31 | ng/L | 1.1071 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 2746 | NICOSULFURON | . | 14 | 3040 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1071 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1071 |  | 1.1071 | 0 | 0
NICOSULFURON | 2437 | 61685LCM60 | 2014-03-04 | ng/L | 0.46249 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 2746 | NICOSULFURON | . | 14 | 1270 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46249 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.46249 |  | 0.46249 | 0 | 0
NICOSULFURON | 2437 | 61685LCM60 | 2013-11-21 | ng/L | 0.65914 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 2746 | NICOSULFURON | . | 14 | 1810 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65914 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65914 |  | 0.65914 | 0 | 0