## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NOVALURON | 2437 | 68655LCM60 | 2014-07-08 | ng/L | 0.61513 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 36.09 | NOVALURON | E | 9 | 22.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61513 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.61513 |  | 0.61513 | 0 | 0
NOVALURON | 2437 | 68655LCM60 | 2014-08-16 | ng/L | 0.68391 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 17.4 | NOVALURON | E | 9 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68391 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.68391 |  | 0.68391 | 0 | 0
NOVALURON | 2437 | 68655LCM60 | 2014-07-19 | ng/L | 0.22499 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 36.09 | NOVALURON | E | 9 | 8.12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.22499 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.22499 |  | 0.22499 | 0 | 0
NOVALURON | 2437 | 68655LCM60 | 2014-12-02 | ng/L | 0.67332 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 36.09 | NOVALURON | E | 9 | 24.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67332 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.67332 |  | 0.67332 | 0 | 0
NOVALURON | 2437 | 68655LCM60 | 2014-07-24 | ng/L | 0.60959 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 18.045 | NOVALURON | E | 9 | 11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60959 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.74998 | 0.13362 | 0.76475 | 0.266 | 0.19718
NOVALURON | 2437 | 68655LCM60 | 2014-10-07 | ng/L | 0.76475 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 18.045 | NOVALURON | E | 9 | 13.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76475 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.74998 | 0.13362 | 0.76475 | 0.266 | 0.19718
NOVALURON | 2437 | 68655LCM60 | 2014-12-02 | ng/L | 0.87559 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 36.09 | NOVALURON | E | 9 | 31.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87559 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.74998 | 0.13362 | 0.76475 | 0.266 | 0.19718
NOVALURON | 2437 | 68655LCM60 | 2014-09-04 | ng/L | 0.50287 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 34.8 | NOVALURON | E | 9 | 17.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50287 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.65086 | 0.20929 | 0.65086 | 0.29598 | 0.2194
NOVALURON | 2437 | 68655LCM60 | 2014-09-10 | ng/L | 0.79885 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 17.4 | NOVALURON | E | 9 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79885 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.65086 | 0.20929 | 0.65086 | 0.29598 | 0.2194
NOVALURON | 2437 | 68655LCM60 | 2014-07-31 | ng/L | 0.64368 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 17.4 | NOVALURON | E | 9 | 11.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64368 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.64368 |  | 0.64368 | 0 | 0
NOVALURON | 2437 | 68655LCM60 | 2014-08-17 | ng/L | 0.87356 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 17.4 | NOVALURON | E | 9 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87356 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.84195 | 0.044702 | 0.84195 | 0.063218 | 0.046863
NOVALURON | 2437 | 68655LCM60 | 2014-10-07 | ng/L | 0.81034 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 34.8 | NOVALURON | E | 9 | 28.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81034 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.84195 | 0.044702 | 0.84195 | 0.063218 | 0.046863
NOVALURON | 2437 | 68655LCM60 | 2015-08-11 | ng/L | 0.93333 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 13.5 | NOVALURON | E | 9 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.88519 | 0.068092 | 0.88519 | 0.096296 | 0.071383
NOVALURON | 2437 | 68655LCM60 | 2015-08-11 | ng/L | 0.83704 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 13.5 | NOVALURON | E | 9 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83704 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.88519 | 0.068092 | 0.88519 | 0.096296 | 0.071383