## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2014-07-08 | ng/L | 0.52588 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 24.15 | ORTHOSULFAMURON | . | 6 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52588 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.52588 |  | 0.52588 | 0 | 0
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2014-07-19 | ng/L | 0.33043 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 24.15 | ORTHOSULFAMURON | . | 6 | 7.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33043 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.33043 |  | 0.33043 | 0 | 0
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2014-12-02 | ng/L | 0.40373 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 24.15 | ORTHOSULFAMURON | . | 6 | 9.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40373 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.40373 |  | 0.40373 | 0 | 0
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2015-04-15 | ng/L | 0.31222 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 12.075 | ORTHOSULFAMURON | . | 6 | 3.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31222 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.31222 |  | 0.31222 | 0 | 0
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2014-07-24 | ng/L | 0.34451 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 12.075 | ORTHOSULFAMURON | . | 6 | 4.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34451 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.36453 | 0.028455 | 0.35197 | 0.052588 | 0.038983
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2014-10-07 | ng/L | 0.35197 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 12.075 | ORTHOSULFAMURON | . | 6 | 4.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35197 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.36453 | 0.028455 | 0.35197 | 0.052588 | 0.038983
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2014-12-02 | ng/L | 0.3971 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 24.15 | ORTHOSULFAMURON | . | 6 | 9.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.3971 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.36453 | 0.028455 | 0.35197 | 0.052588 | 0.038983
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2014-09-10 | ng/L | 0.089806 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 12.36 | ORTHOSULFAMURON | . | 6 | 1.11 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.089806 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.089806 |  | 0.089806 | 0 | 0
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2014-10-07 | ng/L | 0.037217 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 24.72 | ORTHOSULFAMURON | . | 6 | 0.92 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.037217 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.037217 |  | 0.037217 | 0 | 0
ORTHOSULFAMURON | 2437 | 68662LCM60 | 2015-08-11 | ng/L | 0.45072 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 9.03 | ORTHOSULFAMURON | . | 6 | 4.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45072 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.45072 |  | 0.45072 | 0 | 0