## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-07-19 | ng/L | 0.91267 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 2016.06 | OXYFLUORFEN | E | 500 | 1840 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91267 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.91267 |  | 0.91267 | 0 | 0
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-12-02 | ng/L | 0.87834 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 2003.79 | OXYFLUORFEN | E | 500 | 1760 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87834 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.87834 |  | 0.87834 | 0 | 0
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-08-20 | ng/L | 0.94243 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 1008.03 | OXYFLUORFEN | E | 500 | 950 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94243 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.94243 |  | 0.94243 | 0 | 0
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-09-23 | ng/L | 0.91267 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 1008.03 | OXYFLUORFEN | E | 500 | 920 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91267 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.0268 | 0.17656 | 0.93747 | 0.31745 | 0.23532
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-11-18 | ng/L | 0.93747 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 2016.06 | OXYFLUORFEN | E | 500 | 1890 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93747 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.0268 | 0.17656 | 0.93747 | 0.31745 | 0.23532
OXYFLUORFEN | 2437 | 65093LCM60 | 2015-04-08 | ng/L | 1.2301 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 1008.03 | OXYFLUORFEN | E | 500 | 1240 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2301 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 1.0268 | 0.17656 | 0.93747 | 0.31745 | 0.23532
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-12-16 | ng/L | 1.3974 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 2003.79 | OXYFLUORFEN | E | 500 | 2800 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3974 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.3974 |  | 1.3974 | 0 | 0
OXYFLUORFEN | 2437 | 65093LCM60 | 2015-04-15 | ng/L | 0.40823 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 1001.895 | OXYFLUORFEN | E | 500 | 409 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40823 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 0.40823 |  | 0.40823 | 0 | 0
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-05-17 | ng/L | 0.76255 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 1001.895 | OXYFLUORFEN | E | 500 | 764 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76255 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.91959 | 0.13745 | 0.97815 | 0.25552 | 0.18941
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-06-11 | ng/L | 1.0181 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 4007.58 | OXYFLUORFEN | E | 500 | 4080 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0181 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.91959 | 0.13745 | 0.97815 | 0.25552 | 0.18941
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-06-26 | ng/L | 0.97815 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 2003.79 | OXYFLUORFEN | E | 500 | 1960 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97815 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 3 | 0.91959 | 0.13745 | 0.97815 | 0.25552 | 0.18941
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-01-10 | ng/L | 0.31833 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 120 | OXYFLUORFEN | E | 500 | 38.2 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.31833 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 1 |  |  |  |  | Y | 1 | 0.31833 |  | 0.31833 | 0 | 0
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-07-31 | ng/L | 0.8591 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 1008.03 | OXYFLUORFEN | E | 500 | 866 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8591 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.78569 | 0.10382 | 0.78569 | 0.14682 | 0.10884
OXYFLUORFEN | 2437 | 65093LCM60 | 2015-04-09 | ng/L | 0.71228 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 1008.03 | OXYFLUORFEN | E | 500 | 718 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71228 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.78569 | 0.10382 | 0.78569 | 0.14682 | 0.10884
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-08-17 | ng/L | 0.91227 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 1001.895 | OXYFLUORFEN | E | 500 | 914 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91227 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.89031 | 0.031054 | 0.89031 | 0.043917 | 0.032555
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-10-07 | ng/L | 0.86835 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 2003.79 | OXYFLUORFEN | E | 500 | 1740 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86835 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 2 | 0.89031 | 0.031054 | 0.89031 | 0.043917 | 0.032555
OXYFLUORFEN | 2437 | 65093LCM60 | 2015-08-04 | ng/L | 1.0452 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 753 | OXYFLUORFEN | E | 500 | 787 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0452 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 |  |  |  |  | Y | 1 | 1.0452 |  | 1.0452 | 0 | 0
OXYFLUORFEN | 2437 | 65093LCM60 | 2014-02-19 | ng/L | 0.68333 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 300 | OXYFLUORFEN | E | 500 | 205 | NANOGRAMS PER LITER |  |  | < Reporting Level | 0.68333 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Estimated Values | Y | 1 |  |  |  |  | Y | 1 | 0.68333 |  | 0.68333 | 0 | 0