## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PARAOXON | 2437 | 68666LCM60 | 2014-07-08 | ng/L | 0.79574 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 15.96 | PARAOXON | . | 4 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79574 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79574 |  | 0.79574 | 0 | 0
PARAOXON | 2437 | 68666LCM60 | 2014-08-16 | ng/L | 0.92058 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 7.995 | PARAOXON | . | 4 | 7.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92058 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.92058 |  | 0.92058 | 0 | 0
PARAOXON | 2437 | 68666LCM60 | 2014-07-19 | ng/L | 1.3972 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 15.96 | PARAOXON | . | 4 | 22.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3972 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3972 |  | 1.3972 | 0 | 0
PARAOXON | 2437 | 68666LCM60 | 2014-12-02 | ng/L | 1.1341 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 15.96 | PARAOXON | . | 4 | 18.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1341 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1341 |  | 1.1341 | 0 | 0
PARAOXON | 2437 | 68666LCM60 | 2015-04-15 | ng/L | 1.9298 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 7.98 | PARAOXON | . | 4 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9298 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.9298 |  | 1.9298 | 0 | 0
PARAOXON | 2437 | 68666LCM60 | 2014-07-24 | ng/L | 1.114 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.98 | PARAOXON | . | 4 | 8.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.114 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1437 | 0.062535 | 1.114 | 0.11404 | 0.084533
PARAOXON | 2437 | 68666LCM60 | 2014-10-07 | ng/L | 1.1015 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.98 | PARAOXON | E | 4 | 8.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1015 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.1437 | 0.062535 | 1.114 | 0.11404 | 0.084533
PARAOXON | 2437 | 68666LCM60 | 2014-12-02 | ng/L | 1.2155 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 15.96 | PARAOXON | . | 4 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2155 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1437 | 0.062535 | 1.114 | 0.11404 | 0.084533
PARAOXON | 2437 | 68666LCM60 | 2014-09-04 | ng/L | 0.52783 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 15.99 | PARAOXON | E | 4 | 8.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52783 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.94559 | 0.5908 | 0.94559 | 0.83552 | 0.61936
PARAOXON | 2437 | 68666LCM60 | 2014-09-10 | ng/L | 1.3634 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 7.995 | PARAOXON | . | 4 | 10.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3634 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94559 | 0.5908 | 0.94559 | 0.83552 | 0.61936
PARAOXON | 2437 | 68666LCM60 | 2015-08-12 | ng/L | 1.0199 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 12.06 | PARAOXON | E | 4 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0199 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9942 | 0.2221 | 1.0199 | 0.44196 | 0.32762
PARAOXON | 2437 | 68666LCM60 | 2015-08-12 | ng/L | 1.2023 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 12.06 | PARAOXON | E | 4 | 14.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2023 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9942 | 0.2221 | 1.0199 | 0.44196 | 0.32762
PARAOXON | 2437 | 68666LCM60 | 2015-08-12 | ng/L | 0.76036 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 12.06 | PARAOXON | E | 4 | 9.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76036 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.9942 | 0.2221 | 1.0199 | 0.44196 | 0.32762
PARAOXON | 2437 | 68666LCM60 | 2014-07-31 | ng/L | 1.2383 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.995 | PARAOXON | . | 4 | 9.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2383 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96685 | 0.38385 | 0.96685 | 0.54284 | 0.4024
PARAOXON | 2437 | 68666LCM60 | 2015-04-09 | ng/L | 0.69543 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.995 | PARAOXON | . | 4 | 5.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69543 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96685 | 0.38385 | 0.96685 | 0.54284 | 0.4024
PARAOXON | 2437 | 68666LCM60 | 2014-08-17 | ng/L | 0.97311 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 7.995 | PARAOXON | . | 4 | 7.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97311 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94934 | 0.033609 | 0.94934 | 0.04753 | 0.035233
PARAOXON | 2437 | 68666LCM60 | 2014-10-07 | ng/L | 0.92558 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 15.99 | PARAOXON | . | 4 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92558 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94934 | 0.033609 | 0.94934 | 0.04753 | 0.035233
PARAOXON | 2437 | 68666LCM60 | 2015-08-04 | ng/L | 1.375 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 6 | PARAOXON | . | 4 | 8.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.375 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.375 |  | 1.375 | 0 | 0
PARAOXON | 2437 | 68666LCM60 | 2015-08-11 | ng/L | 0.87562 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.03 | PARAOXON | E | 4 | 5.28 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87562 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0039 | 0.11167 | 1.0564 | 0.20398 | 0.15121
PARAOXON | 2437 | 68666LCM60 | 2015-08-11 | ng/L | 1.0564 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.03 | PARAOXON | E | 4 | 6.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0564 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0039 | 0.11167 | 1.0564 | 0.20398 | 0.15121
PARAOXON | 2437 | 68666LCM60 | 2015-08-11 | ng/L | 1.0796 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.03 | PARAOXON | E | 4 | 6.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0796 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.0039 | 0.11167 | 1.0564 | 0.20398 | 0.15121