## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENDIMETHALIN | 2437 | 65098LCM60 | 2013-12-10 | ng/L | 0.7907 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 301 | PENDIMETHALIN | . | 3 | 238 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7907 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7907 |  | 0.7907 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2014-01-23 | ng/L | 0.87859 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 125.2 | PENDIMETHALIN | . | 3 | 110 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87859 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87859 |  | 0.87859 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2014-09-23 | ng/L | 0.95 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 6 | PENDIMETHALIN | . | 3 | 5.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0292 | 0.11196 | 1.0292 | 0.15833 | 0.11737
PENDIMETHALIN | 2437 | 65098LCM60 | 2014-11-18 | ng/L | 1.1083 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 12 | PENDIMETHALIN | E | 3 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1083 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.0292 | 0.11196 | 1.0292 | 0.15833 | 0.11737
PENDIMETHALIN | 2437 | 65098LCM60 | 2013-09-29 | ng/L | 0.96346 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 301 | PENDIMETHALIN | . | 3 | 290 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96346 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96346 |  | 0.96346 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2013-12-19 | ng/L | 0.90096 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 313 | PENDIMETHALIN | . | 3 | 282 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90096 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.90096 |  | 0.90096 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2014-12-16 | ng/L | 0.74687 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 11.97 | PENDIMETHALIN | E | 3 | 8.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74687 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.74687 |  | 0.74687 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2015-04-15 | ng/L | 0.9858 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 5.985 | PENDIMETHALIN | E | 3 | 5.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9858 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.9858 |  | 0.9858 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2014-05-17 | ng/L | 1.0677 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 5.985 | PENDIMETHALIN | . | 3 | 6.39 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0677 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.033 | 0.049031 | 1.033 | 0.06934 | 0.051401
PENDIMETHALIN | 2437 | 65098LCM60 | 2014-06-11 | ng/L | 0.99833 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 23.94 | PENDIMETHALIN | E | 3 | 23.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99833 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.033 | 0.049031 | 1.033 | 0.06934 | 0.051401
PENDIMETHALIN | 2437 | 65098LCM60 | 2014-01-10 | ng/L | 0.7336 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 125 | PENDIMETHALIN | . | 3 | 91.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7336 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7336 |  | 0.7336 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2014-02-19 | ng/L | 0.8544 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 312.5 | PENDIMETHALIN | . | 3 | 267 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8544 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8544 |  | 0.8544 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2013-11-07 | ng/L | 0.84665 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 125.2 | PENDIMETHALIN | . | 3 | 106 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84665 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.84665 |  | 0.84665 | 0 | 0
PENDIMETHALIN | 2437 | 65098LCM60 | 2013-12-18 | ng/L | 1.0365 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 301 | PENDIMETHALIN | . | 3 | 312 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0365 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0365 |  | 1.0365 | 0 | 0