## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHORATE | 2437 | 68668LCM60 | 2013-12-10 | ng/L | 0.87 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 200 | PHORATE | . | 6 | 174 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87 |  | 0.87 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2014-07-08 | ng/L | 0.4075 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 24 | PHORATE | . | 6 | 9.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.4075 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.4075 |  | 0.4075 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2014-01-23 | ng/L | 0.89815 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 216 | PHORATE | . | 6 | 194 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89815 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.89815 |  | 0.89815 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2014-09-23 | ng/L | 0.8262 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 11.91 | PHORATE | . | 6 | 9.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8262 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67562 | 0.15741 | 0.6885 | 0.31402 | 0.23278
PHORATE | 2437 | 68668LCM60 | 2014-11-18 | ng/L | 0.51217 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 23.82 | PHORATE | . | 6 | 12.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51217 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67562 | 0.15741 | 0.6885 | 0.31402 | 0.23278
PHORATE | 2437 | 68668LCM60 | 2015-04-08 | ng/L | 0.6885 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 11.91 | PHORATE | . | 6 | 8.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6885 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.67562 | 0.15741 | 0.6885 | 0.31402 | 0.23278
PHORATE | 2437 | 68668LCM60 | 2013-09-29 | ng/L | 0.775 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 200 | PHORATE | . | 6 | 155 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.775 |  | 0.775 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2013-12-19 | ng/L | 1.4667 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 540 | PHORATE | E | 6 | 792 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4667 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.4667 |  | 1.4667 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2014-05-17 | ng/L | 0.55751 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 11.91 | PHORATE | . | 6 | 6.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55751 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58942 | 0.045122 | 0.58942 | 0.063812 | 0.047303
PHORATE | 2437 | 68668LCM60 | 2014-06-26 | ng/L | 0.62133 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 23.82 | PHORATE | . | 6 | 14.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62133 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.58942 | 0.045122 | 0.58942 | 0.063812 | 0.047303
PHORATE | 2437 | 68668LCM60 | 2014-10-07 | ng/L | 1.1755 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 11.91 | PHORATE | . | 6 | 14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1755 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95928 | 0.30576 | 0.95928 | 0.43241 | 0.32054
PHORATE | 2437 | 68668LCM60 | 2014-12-02 | ng/L | 0.74307 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 23.82 | PHORATE | . | 6 | 17.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74307 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95928 | 0.30576 | 0.95928 | 0.43241 | 0.32054
PHORATE | 2437 | 68668LCM60 | 2014-09-04 | ng/L | 0.51637 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 23.82 | PHORATE | . | 6 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51637 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67003 | 0.2173 | 0.67003 | 0.3073 | 0.2278
PHORATE | 2437 | 68668LCM60 | 2014-09-10 | ng/L | 0.82368 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 11.91 | PHORATE | . | 6 | 9.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82368 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67003 | 0.2173 | 0.67003 | 0.3073 | 0.2278
PHORATE | 2437 | 68668LCM60 | 2015-07-15 | ng/L | 1.0769 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 18.2 | PHORATE | E | 6 | 19.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0769 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0769 |  | 1.0769 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2014-01-10 | ng/L | 0.83796 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 216 | PHORATE | . | 6 | 181 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83796 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83796 |  | 0.83796 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2015-08-11 | ng/L | 1.2184 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 9.11 | PHORATE | . | 6 | 11.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2184 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2184 |  | 1.2184 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2014-02-19 | ng/L | 1.1505 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 525 | PHORATE | . | 6 | 604 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1505 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1505 |  | 1.1505 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2013-11-07 | ng/L | 0.94762 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 210 | PHORATE | . | 6 | 199 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94762 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.94762 |  | 0.94762 | 0 | 0
PHORATE | 2437 | 68668LCM60 | 2013-12-18 | ng/L | 1.16 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 200 | PHORATE | . | 6 | 232 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.16 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.16 |  | 1.16 | 0 | 0