## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2014-01-23 | ng/L | 0.71277 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 376 | PHORATE_OXYGEN_ANALOG | E | 4 | 268 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71277 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.71277 |  | 0.71277 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2013-12-19 | ng/L | 0.83298 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 940 | PHORATE_OXYGEN_ANALOG | . | 4 | 783 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83298 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83298 |  | 0.83298 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2014-10-07 | ng/L | 0.62804 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 8.025 | PHORATE_OXYGEN_ANALOG | . | 4 | 5.04 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62804 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62804 |  | 0.62804 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2014-09-10 | ng/L | 1.5796 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 8.04 | PHORATE_OXYGEN_ANALOG | . | 4 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5796 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.5796 |  | 1.5796 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2015-07-15 | ng/L | 0.66167 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 12 | PHORATE_OXYGEN_ANALOG | E | 4 | 7.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66167 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.66167 |  | 0.66167 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2014-01-10 | ng/L | 0.81383 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 376 | PHORATE_OXYGEN_ANALOG | E | 4 | 306 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81383 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.81383 |  | 0.81383 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2015-04-09 | ng/L | 0.55348 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 8.04 | PHORATE_OXYGEN_ANALOG | . | 4 | 4.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55348 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.55348 |  | 0.55348 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2014-10-07 | ng/L | 0.76493 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 16.08 | PHORATE_OXYGEN_ANALOG | . | 4 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76493 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76493 |  | 0.76493 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2014-02-19 | ng/L | 0.88148 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 945 | PHORATE_OXYGEN_ANALOG | . | 4 | 833 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88148 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88148 |  | 0.88148 | 0 | 0
PHORATE OXYGEN ANALOG | 2437 | 68669LCM60 | 2013-11-07 | ng/L | 0.83598 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 378 | PHORATE_OXYGEN_ANALOG | . | 4 | 316 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83598 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83598 |  | 0.83598 | 0 | 0