## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-07-08 | ng/L | 1.2469 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 20.13 | PHORATE_SULFOXIDE | . | 5 | 25.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2469 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2469 |  | 1.2469 | 0 | 0
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-08-16 | ng/L | 2.4677 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 10.05 | PHORATE_SULFOXIDE | . | 5 | 24.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-07-19 | ng/L | 1.2469 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 20.13 | PHORATE_SULFOXIDE | . | 5 | 25.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2469 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2469 |  | 1.2469 | 0 | 0
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-12-02 | ng/L | 1.0084 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 20.13 | PHORATE_SULFOXIDE | . | 5 | 20.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0084 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0084 |  | 1.0084 | 0 | 0
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2015-04-15 | ng/L | 1.9076 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 10.065 | PHORATE_SULFOXIDE | E | 5 | 19.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9076 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.9076 |  | 1.9076 | 0 | 0
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-07-24 | ng/L | 1.1923 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 10.065 | PHORATE_SULFOXIDE | . | 5 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1923 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3396 | 0.13052 | 1.386 | 0.24839 | 0.18413
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-10-07 | ng/L | 1.4406 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 10.065 | PHORATE_SULFOXIDE | . | 5 | 14.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4406 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3396 | 0.13052 | 1.386 | 0.24839 | 0.18413
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-12-02 | ng/L | 1.386 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 20.13 | PHORATE_SULFOXIDE | . | 5 | 27.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.386 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3396 | 0.13052 | 1.386 | 0.24839 | 0.18413
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-09-04 | ng/L | 0.71642 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 20.1 | PHORATE_SULFOXIDE | . | 5 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71642 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3184 | 0.85134 | 1.3184 | 1.204 | 0.8925
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-09-10 | ng/L | 1.9204 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 10.05 | PHORATE_SULFOXIDE | . | 5 | 19.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.9204 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3184 | 0.85134 | 1.3184 | 1.204 | 0.8925
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2015-08-12 | ng/L | 0.95364 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15.1 | PHORATE_SULFOXIDE | . | 5 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95364 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89845 | 0.084378 | 0.9404 | 0.15232 | 0.11291
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2015-08-12 | ng/L | 0.9404 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15.1 | PHORATE_SULFOXIDE | . | 5 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9404 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89845 | 0.084378 | 0.9404 | 0.15232 | 0.11291
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2015-08-12 | ng/L | 0.80132 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 15.1 | PHORATE_SULFOXIDE | . | 5 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80132 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.89845 | 0.084378 | 0.9404 | 0.15232 | 0.11291
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-07-31 | ng/L | 0.77114 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 10.05 | PHORATE_SULFOXIDE | . | 5 | 7.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77114 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74975 | 0.030254 | 0.74975 | 0.042786 | 0.031717
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2015-04-09 | ng/L | 0.72836 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 10.05 | PHORATE_SULFOXIDE | . | 5 | 7.32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72836 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.74975 | 0.030254 | 0.74975 | 0.042786 | 0.031717
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-08-17 | ng/L | 0.90249 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 10.05 | PHORATE_SULFOXIDE | . | 5 | 9.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90249 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94378 | 0.058398 | 0.94378 | 0.082587 | 0.061221
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2014-10-07 | ng/L | 0.98507 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 20.1 | PHORATE_SULFOXIDE | . | 5 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98507 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.94378 | 0.058398 | 0.94378 | 0.082587 | 0.061221
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2015-08-11 | ng/L | 1.0556 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.55 | PHORATE_SULFOXIDE | . | 5 | 7.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0556 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93068 | 0.20843 | 1.0464 | 0.36556 | 0.27099
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2015-08-11 | ng/L | 0.69007 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.55 | PHORATE_SULFOXIDE | . | 5 | 5.21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69007 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93068 | 0.20843 | 1.0464 | 0.36556 | 0.27099
PHORATE SULFOXIDE | 2437 | 68673LCM60 | 2015-08-11 | ng/L | 1.0464 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 7.55 | PHORATE_SULFOXIDE | . | 5 | 7.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0464 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.93068 | 0.20843 | 1.0464 | 0.36556 | 0.27099