## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PHTHALAZINONE | 2437 | 68675LCM60 | 2014-07-08 | ng/L | 1.2344 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 24.06 | PHTHALAZINONE | . | 6 | 29.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2344 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2344 |  | 1.2344 | 0 | 0
PHTHALAZINONE | 2437 | 68675LCM60 | 2014-07-24 | ng/L | 2.5187 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 12.03 | PHTHALAZINONE | . | 6 | 30.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
PHTHALAZINONE | 2437 | 68675LCM60 | 2014-10-07 | ng/L | 2.2361 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 12.03 | PHTHALAZINONE | . | 6 | 26.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
PHTHALAZINONE | 2437 | 68675LCM60 | 2014-12-02 | ng/L | 3.2876 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 24.06 | PHTHALAZINONE | . | 6 | 79.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
PHTHALAZINONE | 2437 | 68675LCM60 | 2015-08-04 | ng/L | 3.4889 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 9 | PHTHALAZINONE | . | 6 | 31.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2