## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2014-07-19 | ng/L | 0.61404 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 15.96 | PIPERONYL_BUTOXIDE | . | 4 | 9.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61404 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61404 |  | 0.61404 | 0 | 0
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2014-12-02 | ng/L | 0.7352 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 16.05 | PIPERONYL_BUTOXIDE | . | 4 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7352 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7352 |  | 0.7352 | 0 | 0
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2014-08-20 | ng/L | 0.5614 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 7.98 | PIPERONYL_BUTOXIDE | . | 4 | 4.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5614 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.5614 |  | 0.5614 | 0 | 0
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2014-11-18 | ng/L | 0.5802 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 15.96 | PIPERONYL_BUTOXIDE | . | 4 | 9.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5802 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.38221 | 0.28001 | 0.38221 | 0.39599 | 0.29354
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2015-04-08 | ng/L | 0.18421 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.98 | PIPERONYL_BUTOXIDE | E | 4 | 1.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.18421 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.38221 | 0.28001 | 0.38221 | 0.39599 | 0.29354
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2014-12-16 | ng/L | 0.72274 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 16.05 | PIPERONYL_BUTOXIDE | . | 4 | 11.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72274 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72274 |  | 0.72274 | 0 | 0
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2015-04-15 | ng/L | 0.41745 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 8.025 | PIPERONYL_BUTOXIDE | E | 4 | 3.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.41745 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.41745 |  | 0.41745 | 0 | 0
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2014-05-17 | ng/L | 0.77259 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 8.025 | PIPERONYL_BUTOXIDE | . | 4 | 6.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77259 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82555 | 0.074896 | 0.82555 | 0.10592 | 0.078517
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2014-06-26 | ng/L | 0.8785 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 16.05 | PIPERONYL_BUTOXIDE | . | 4 | 14.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8785 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82555 | 0.074896 | 0.82555 | 0.10592 | 0.078517
PIPERONYL BUTOXIDE | 2437 | 65102LCM60 | 2014-10-07 | ng/L | 0.57508 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 16.05 | PIPERONYL_BUTOXIDE | . | 4 | 9.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57508 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57508 |  | 0.57508 | 0 | 0