## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROFENOFOS | 2437 | 68676LCM60 | 2014-07-08 | ng/L | 0.7927 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 12.06 | PROFENOFOS | . | 3 | 9.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7927 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7927 |  | 0.7927 | 0 | 0
PROFENOFOS | 2437 | 68676LCM60 | 2014-08-16 | ng/L | 1.0173 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 6.075 | PROFENOFOS | . | 3 | 6.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0173 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0173 |  | 1.0173 | 0 | 0
PROFENOFOS | 2437 | 68676LCM60 | 2014-07-19 | ng/L | 0.72968 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 12.06 | PROFENOFOS | . | 3 | 8.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72968 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72968 |  | 0.72968 | 0 | 0
PROFENOFOS | 2437 | 68676LCM60 | 2014-12-02 | ng/L | 0.78441 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 12.06 | PROFENOFOS | . | 3 | 9.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78441 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78441 |  | 0.78441 | 0 | 0
PROFENOFOS | 2437 | 68676LCM60 | 2015-04-15 | ng/L | 0.61692 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 6.03 | PROFENOFOS | . | 3 | 3.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61692 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.61692 |  | 0.61692 | 0 | 0
PROFENOFOS | 2437 | 68676LCM60 | 2014-07-24 | ng/L | 0.74129 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6.03 | PROFENOFOS | . | 3 | 4.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74129 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88972 | 0.19292 | 0.82007 | 0.3665 | 0.27168
PROFENOFOS | 2437 | 68676LCM60 | 2014-10-07 | ng/L | 1.1078 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6.03 | PROFENOFOS | . | 3 | 6.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1078 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88972 | 0.19292 | 0.82007 | 0.3665 | 0.27168
PROFENOFOS | 2437 | 68676LCM60 | 2014-12-02 | ng/L | 0.82007 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 12.06 | PROFENOFOS | . | 3 | 9.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82007 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88972 | 0.19292 | 0.82007 | 0.3665 | 0.27168
PROFENOFOS | 2437 | 68676LCM60 | 2014-09-04 | ng/L | 0.7251 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 12.15 | PROFENOFOS | E | 3 | 8.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7251 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.9 | 0.24734 | 0.9 | 0.34979 | 0.2593
PROFENOFOS | 2437 | 68676LCM60 | 2014-09-10 | ng/L | 1.0749 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6.075 | PROFENOFOS | . | 3 | 6.53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0749 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.9 | 0.24734 | 0.9 | 0.34979 | 0.2593
PROFENOFOS | 2437 | 68676LCM60 | 2015-07-15 | ng/L | 1.4 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 9 | PROFENOFOS | E | 3 | 12.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.4 |  | 1.4 | 0 | 0
PROFENOFOS | 2437 | 68676LCM60 | 2014-07-31 | ng/L | 1.1424 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.075 | PROFENOFOS | E | 3 | 6.94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1424 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.8716 | 0.38294 | 0.8716 | 0.54156 | 0.40146
PROFENOFOS | 2437 | 68676LCM60 | 2015-04-09 | ng/L | 0.60082 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.075 | PROFENOFOS | . | 3 | 3.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60082 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.8716 | 0.38294 | 0.8716 | 0.54156 | 0.40146
PROFENOFOS | 2437 | 68676LCM60 | 2014-08-17 | ng/L | 1.0897 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 6.075 | PROFENOFOS | . | 3 | 6.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0897 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0922 | 0.0034919 | 1.0922 | 0.0049383 | 0.0036607
PROFENOFOS | 2437 | 68676LCM60 | 2014-10-07 | ng/L | 1.0946 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 12.15 | PROFENOFOS | . | 3 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0947 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0922 | 0.0034919 | 1.0922 | 0.0049383 | 0.0036607
PROFENOFOS | 2437 | 68676LCM60 | 2015-08-11 | ng/L | 1.1652 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.54 | PROFENOFOS | . | 3 | 5.29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1652 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2438 | 0.097175 | 1.2137 | 0.18722 | 0.13879
PROFENOFOS | 2437 | 68676LCM60 | 2015-08-11 | ng/L | 1.3524 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.54 | PROFENOFOS | . | 3 | 6.14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3524 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2438 | 0.097175 | 1.2137 | 0.18722 | 0.13879
PROFENOFOS | 2437 | 68676LCM60 | 2015-08-11 | ng/L | 1.2137 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.54 | PROFENOFOS | . | 3 | 5.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2137 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2438 | 0.097175 | 1.2137 | 0.18722 | 0.13879