## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPAZINE | 2437 | 68678LCM60 | 2014-07-08 | ng/L | 0.96226 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 15.9 | PROPAZINE | . | 4 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96226 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96226 |  | 0.96226 | 0 | 0
PROPAZINE | 2437 | 68678LCM60 | 2014-08-16 | ng/L | 0.808 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 7.995 | PROPAZINE | . | 4 | 6.46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80801 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.80801 |  | 0.80801 | 0 | 0
PROPAZINE | 2437 | 68678LCM60 | 2014-07-19 | ng/L | 1.1635 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 15.9 | PROPAZINE | . | 4 | 18.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1635 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1635 |  | 1.1635 | 0 | 0
PROPAZINE | 2437 | 68678LCM60 | 2014-12-02 | ng/L | 0.83019 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 15.9 | PROPAZINE | . | 4 | 13.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83019 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83019 |  | 0.83019 | 0 | 0
PROPAZINE | 2437 | 68678LCM60 | 2015-04-15 | ng/L | 1.1384 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 7.95 | PROPAZINE | . | 4 | 9.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1384 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1384 |  | 1.1384 | 0 | 0
PROPAZINE | 2437 | 68678LCM60 | 2014-07-24 | ng/L | 1.0667 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.95 | PROPAZINE | . | 4 | 8.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0667 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99036 | 0.074303 | 0.98616 | 0.14843 | 0.11003
PROPAZINE | 2437 | 68678LCM60 | 2014-10-07 | ng/L | 0.98616 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.95 | PROPAZINE | . | 4 | 7.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98616 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99036 | 0.074303 | 0.98616 | 0.14843 | 0.11003
PROPAZINE | 2437 | 68678LCM60 | 2014-12-02 | ng/L | 0.91824 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 15.9 | PROPAZINE | . | 4 | 14.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91824 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.99036 | 0.074303 | 0.98616 | 0.14843 | 0.11003
PROPAZINE | 2437 | 68678LCM60 | 2014-09-04 | ng/L | 0.60851 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 15.99 | PROPAZINE | E | 4 | 9.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60851 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.72764 | 0.16849 | 0.72764 | 0.23827 | 0.17663
PROPAZINE | 2437 | 68678LCM60 | 2014-09-10 | ng/L | 0.84678 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 7.995 | PROPAZINE | . | 4 | 6.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84678 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72764 | 0.16849 | 0.72764 | 0.23827 | 0.17663
PROPAZINE | 2437 | 68678LCM60 | 2014-07-31 | ng/L | 0.8793 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.995 | PROPAZINE | E | 4 | 7.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8793 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.76235 | 0.16539 | 0.76235 | 0.2339 | 0.17338
PROPAZINE | 2437 | 68678LCM60 | 2015-04-09 | ng/L | 0.6454 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.995 | PROPAZINE | . | 4 | 5.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6454 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.76235 | 0.16539 | 0.76235 | 0.2339 | 0.17338
PROPAZINE | 2437 | 68678LCM60 | 2014-08-17 | ng/L | 1.0219 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 7.995 | PROPAZINE | . | 4 | 8.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0219 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96435 | 0.081368 | 0.96435 | 0.11507 | 0.085302
PROPAZINE | 2437 | 68678LCM60 | 2014-10-07 | ng/L | 0.90682 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 15.99 | PROPAZINE | . | 4 | 14.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90682 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96435 | 0.081368 | 0.96435 | 0.11507 | 0.085302
PROPAZINE | 2437 | 68678LCM60 | 2015-08-11 | ng/L | 1.1128 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.03 | PROPAZINE | . | 4 | 6.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1128 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2454 | 0.18762 | 1.2454 | 0.26534 | 0.19669
PROPAZINE | 2437 | 68678LCM60 | 2015-08-11 | ng/L | 1.3781 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.03 | PROPAZINE | . | 4 | 8.31 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3781 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2454 | 0.18762 | 1.2454 | 0.26534 | 0.19669
PROPAZINE | 2437 | 68678LCM60 | 2014-04-24 | ng/L | 0.872 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 125 | PROPAZINE | . | 4 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.872 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81867 | 0.092966 | 0.854 | 0.146 | 0.10823
PROPAZINE | 2437 | 68678LCM60 | 2014-05-03 | ng/L | 0.67 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 200 | PROPAZINE | . | 4 | 134 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81867 | 0.092966 | 0.854 | 0.146 | 0.10823
PROPAZINE | 2437 | 68678LCM60 | 2014-05-29 | ng/L | 0.904 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | PROPAZINE | . | 4 | 226 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.904 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81867 | 0.092966 | 0.854 | 0.146 | 0.10823
PROPAZINE | 2437 | 68678LCM60 | 2014-06-05 | ng/L | 0.742 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | PROPAZINE | . | 4 | 371 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.742 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81867 | 0.092966 | 0.854 | 0.146 | 0.10823
PROPAZINE | 2437 | 68678LCM60 | 2014-06-18 | ng/L | 0.888 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 250 | PROPAZINE | . | 4 | 222 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81867 | 0.092966 | 0.854 | 0.146 | 0.10823
PROPAZINE | 2437 | 68678LCM60 | 2014-07-02 | ng/L | 0.836 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 500 | PROPAZINE | . | 4 | 418 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.836 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.81867 | 0.092966 | 0.854 | 0.146 | 0.10823