## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2013-12-10 | ng/L | 1.1074 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 50.93 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 56.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1074 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1074 |  | 1.1074 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-01-23 | ng/L | 0.9125 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 80 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.9125 |  | 0.9125 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-07-19 | ng/L | 1.0882 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 15.99 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 17.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0882 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0882 |  | 1.0882 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-12-02 | ng/L | 1.0424 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 16.02 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 16.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0424 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0424 |  | 1.0424 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-08-20 | ng/L | 1.0944 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 7.995 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 8.75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0944 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0944 |  | 1.0944 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-09-23 | ng/L | 1.0744 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.995 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 8.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0744 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.039 | 0.088659 | 1.0744 | 0.16635 | 0.12332
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-11-18 | ng/L | 0.93809 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 15.99 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93809 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.039 | 0.088659 | 1.0744 | 0.16635 | 0.12332
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-04-08 | ng/L | 1.1044 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 7.995 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 8.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1044 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.039 | 0.088659 | 1.0744 | 0.16635 | 0.12332
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2013-09-29 | ng/L | 0.95032 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 50.93 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 48.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95032 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95032 |  | 0.95032 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2013-12-19 | ng/L | 1.235 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 200 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 247 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.235 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.235 |  | 1.235 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-12-16 | ng/L | 1.0487 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 16.02 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 16.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0487 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0487 |  | 1.0487 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-04-15 | ng/L | 1.7353 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 8.01 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.7353 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.7353 |  | 1.7353 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-05-17 | ng/L | 0.87765 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 8.01 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 7.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87765 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94798 | 0.27828 | 0.87765 | 0.54307 | 0.40257
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-06-11 | ng/L | 1.2547 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 32.04 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 40.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2547 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94798 | 0.27828 | 0.87765 | 0.54307 | 0.40257
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-06-26 | ng/L | 0.71161 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 16.02 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 11.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71161 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.94798 | 0.27828 | 0.87765 | 0.54307 | 0.40257
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-08-12 | ng/L | 1.0399 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 12.02 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0399 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98641 | 0.21025 | 1.0399 | 0.41015 | 0.30404
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-08-12 | ng/L | 1.1647 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 12.02 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 14 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1647 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98641 | 0.21025 | 1.0399 | 0.41015 | 0.30404
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-08-12 | ng/L | 0.75458 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 12.02 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 9.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75458 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.98641 | 0.21025 | 1.0399 | 0.41015 | 0.30404
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-01-10 | ng/L | 1.175 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 80 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 94 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.175 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.175 |  | 1.175 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-07-31 | ng/L | 1.5385 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.995 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5385 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3365 | 0.28567 | 1.3365 | 0.404 | 0.29948
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-04-09 | ng/L | 1.1345 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 7.995 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 9.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1345 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.3365 | 0.28567 | 1.3365 | 0.404 | 0.29948
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-08-17 | ng/L | 1.3358 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 8.01 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 10.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3358 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2578 | 0.11035 | 1.2578 | 0.15605 | 0.11568
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-10-07 | ng/L | 1.1798 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 16.02 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 18.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1798 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2578 | 0.11035 | 1.2578 | 0.15605 | 0.11568
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-08-04 | ng/L | 1.3783 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 6 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 8.27 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3783 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3783 |  | 1.3783 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-08-11 | ng/L | 0.86855 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.01 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 5.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86855 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0857 | 0.30708 | 1.0857 | 0.43428 | 0.32192
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2015-08-11 | ng/L | 1.3028 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.01 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 7.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3028 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0857 | 0.30708 | 1.0857 | 0.43428 | 0.32192
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2014-02-19 | ng/L | 0.995 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 200 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 199 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.995 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.995 |  | 0.995 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2013-11-07 | ng/L | 0.75 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 80 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 60 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75 |  | 0.75 | 0 | 0
PROPYZAMIDE (PRONAMIDE) | 2437 | 67706LCM60 | 2013-12-18 | ng/L | 0.98994 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 49.7 | PROPYZAMIDE_(PRONAMIDE) | . | 4 | 49.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98994 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98994 |  | 0.98994 | 0 | 0