## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PROSULFURON | 2437 | 61687LCM60 | 2014-07-19 | ng/L | 0.72285 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 31.68 | PROSULFURON | . | 8 | 22.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72285 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72285 |  | 0.72285 | 0 | 0
PROSULFURON | 2437 | 61687LCM60 | 2014-12-02 | ng/L | 0.73308 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 31.92 | PROSULFURON | . | 8 | 23.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73308 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73308 |  | 0.73308 | 0 | 0
PROSULFURON | 2437 | 61687LCM60 | 2014-08-20 | ng/L | 0.75758 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 15.84 | PROSULFURON | . | 8 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75758 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75758 |  | 0.75758 | 0 | 0
PROSULFURON | 2437 | 61687LCM60 | 2014-09-23 | ng/L | 0.80177 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 15.84 | PROSULFURON | . | 8 | 12.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80177 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8165 | 0.17408 | 0.80177 | 0.34722 | 0.25739
PROSULFURON | 2437 | 61687LCM60 | 2014-11-18 | ng/L | 0.65025 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 31.68 | PROSULFURON | . | 8 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65025 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8165 | 0.17408 | 0.80177 | 0.34722 | 0.25739
PROSULFURON | 2437 | 61687LCM60 | 2015-04-08 | ng/L | 0.99747 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 15.84 | PROSULFURON | . | 8 | 15.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99747 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8165 | 0.17408 | 0.80177 | 0.34722 | 0.25739
PROSULFURON | 2437 | 61687LCM60 | 2014-12-16 | ng/L | 0.78947 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 31.92 | PROSULFURON | . | 8 | 25.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78947 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78947 |  | 0.78947 | 0 | 0
PROSULFURON | 2437 | 61687LCM60 | 2014-05-17 | ng/L | 0.70802 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 15.96 | PROSULFURON | . | 8 | 11.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70802 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77903 | 0.1712 | 0.70802 | 0.31955 | 0.23688
PROSULFURON | 2437 | 61687LCM60 | 2014-06-11 | ng/L | 0.65476 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 63.84 | PROSULFURON | . | 8 | 41.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65476 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77903 | 0.1712 | 0.70802 | 0.31955 | 0.23688
PROSULFURON | 2437 | 61687LCM60 | 2014-06-26 | ng/L | 0.97431 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 31.92 | PROSULFURON | . | 8 | 31.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97431 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77903 | 0.1712 | 0.70802 | 0.31955 | 0.23688
PROSULFURON | 2437 | 61687LCM60 | 2015-07-15 | ng/L | 0.73889 | 2015-07-01 07:00 | 20151820108 | ChemService, ChemService, Ch | 3880000, 3995200, 3880100 | ChemService 3880000: 20 µl & ChemService 3995200: 20 µl & ChemService 3880100: 2 | 54 | PROSULFURON | . | 8 | 39.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73889 | Ch3880000, Ch3995200, Ch388010 | Ch | Ch | Ch | 3880000 | 3995200 | 3880100 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.73889 |  | 0.73889 | 0 | 0
PROSULFURON | 2437 | 61687LCM60 | 2015-08-12 | ng/L | 0.59383 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 77.8 | PROSULFURON | . | 8 | 46.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59383 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65296 | 0.059779 | 0.65167 | 0.11954 | 0.088612
PROSULFURON | 2437 | 61687LCM60 | 2015-08-12 | ng/L | 0.65167 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 77.8 | PROSULFURON | . | 8 | 50.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65167 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65296 | 0.059779 | 0.65167 | 0.11954 | 0.088612
PROSULFURON | 2437 | 61687LCM60 | 2015-08-12 | ng/L | 0.71337 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 77.8 | PROSULFURON | . | 8 | 55.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71337 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.65296 | 0.059779 | 0.65167 | 0.11954 | 0.088612
PROSULFURON | 2437 | 61687LCM60 | 2014-07-31 | ng/L | 0.64394 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 15.84 | PROSULFURON | . | 8 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64394 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.64394 |  | 0.64394 | 0 | 0
PROSULFURON | 2437 | 61687LCM60 | 2014-08-17 | ng/L | 0.52506 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 15.96 | PROSULFURON | . | 8 | 8.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52506 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.57268 | 0.067344 | 0.57268 | 0.095238 | 0.070599
PROSULFURON | 2437 | 61687LCM60 | 2014-10-07 | ng/L | 0.6203 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 31.92 | PROSULFURON | . | 8 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6203 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.57268 | 0.067344 | 0.57268 | 0.095238 | 0.070599
PROSULFURON | 2437 | 61687LCM60 | 2015-08-04 | ng/L | 0.64444 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 27 | PROSULFURON | E | 8 | 17.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64444 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.64444 |  | 0.64444 | 0 | 0
PROSULFURON | 2437 | 61687LCM60 | 2015-08-11 | ng/L | 0.53866 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 11.9 | PROSULFURON | . | 8 | 6.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53866 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4937 | 0.06358 | 0.4937 | 0.089916 | 0.066654
PROSULFURON | 2437 | 61687LCM60 | 2015-08-11 | ng/L | 0.44874 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 11.9 | PROSULFURON | . | 8 | 5.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44874 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.4937 | 0.06358 | 0.4937 | 0.089916 | 0.066654