## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PYRIDABEN | 2437 | 68682LCM60 | 2014-07-08 | ng/L | 0.65667 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 12 | PYRIDABEN | . | 3 | 7.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65667 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.65667 |  | 0.65667 | 0 | 0
PYRIDABEN | 2437 | 68682LCM60 | 2014-08-16 | ng/L | 0.62735 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 6.105 | PYRIDABEN | . | 3 | 3.83 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62735 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.62735 |  | 0.62735 | 0 | 0
PYRIDABEN | 2437 | 68682LCM60 | 2014-07-19 | ng/L | 0.48917 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 12 | PYRIDABEN | . | 3 | 5.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48917 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.48917 |  | 0.48917 | 0 | 0
PYRIDABEN | 2437 | 68682LCM60 | 2014-12-02 | ng/L | 0.63667 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 12 | PYRIDABEN | . | 3 | 7.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63667 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63667 |  | 0.63667 | 0 | 0
PYRIDABEN | 2437 | 68682LCM60 | 2015-04-15 | ng/L | 0.11 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 6 | PYRIDABEN | . | 3 | 0.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.11 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.11 |  | 0.11 | 0 | 0
PYRIDABEN | 2437 | 68682LCM60 | 2014-07-24 | ng/L | 0.64167 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | PYRIDABEN | . | 3 | 3.85 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64167 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61806 | 0.037345 | 0.6375 | 0.066667 | 0.049419
PYRIDABEN | 2437 | 68682LCM60 | 2014-10-07 | ng/L | 0.575 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 6 | PYRIDABEN | . | 3 | 3.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.575 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61806 | 0.037345 | 0.6375 | 0.066667 | 0.049419
PYRIDABEN | 2437 | 68682LCM60 | 2014-12-02 | ng/L | 0.6375 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 12 | PYRIDABEN | . | 3 | 7.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6375 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61806 | 0.037345 | 0.6375 | 0.066667 | 0.049419
PYRIDABEN | 2437 | 68682LCM60 | 2014-09-04 | ng/L | 0.50942 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 12.21 | PYRIDABEN | E | 3 | 6.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50942 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61916 | 0.1552 | 0.61916 | 0.21949 | 0.16271
PYRIDABEN | 2437 | 68682LCM60 | 2014-09-10 | ng/L | 0.72891 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 6.105 | PYRIDABEN | E | 3 | 4.45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72891 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.61916 | 0.1552 | 0.61916 | 0.21949 | 0.16271
PYRIDABEN | 2437 | 68682LCM60 | 2014-07-31 | ng/L | 0.45209 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.105 | PYRIDABEN | . | 3 | 2.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45209 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.50205 | 0.070653 | 0.50205 | 0.099918 | 0.074068
PYRIDABEN | 2437 | 68682LCM60 | 2015-04-09 | ng/L | 0.55201 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 6.105 | PYRIDABEN | . | 3 | 3.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55201 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.50205 | 0.070653 | 0.50205 | 0.099918 | 0.074068
PYRIDABEN | 2437 | 68682LCM60 | 2014-08-17 | ng/L | 0.66994 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 6.105 | PYRIDABEN | . | 3 | 4.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66994 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69206 | 0.031273 | 0.69206 | 0.044226 | 0.032784
PYRIDABEN | 2437 | 68682LCM60 | 2014-10-07 | ng/L | 0.71417 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 12.21 | PYRIDABEN | . | 3 | 8.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71417 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69206 | 0.031273 | 0.69206 | 0.044226 | 0.032784
PYRIDABEN | 2437 | 68682LCM60 | 2015-08-11 | ng/L | 0.94565 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.6 | PYRIDABEN | . | 3 | 4.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94565 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95326 | 0.01076 | 0.95326 | 0.015217 | 0.01128
PYRIDABEN | 2437 | 68682LCM60 | 2015-08-11 | ng/L | 0.96087 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 4.6 | PYRIDABEN | . | 3 | 4.42 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96087 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95326 | 0.01076 | 0.95326 | 0.015217 | 0.01128