## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SIMAZINE | 2437 | 65105LCM60 | 2013-12-10 | ng/L | 0.95124 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 250.2 | SIMAZINE | . | 10 | 238 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95124 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95124 |  | 0.95124 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2014-01-23 | ng/L | 1.04 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 100 | SIMAZINE | . | 10 | 104 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.04 |  | 1.04 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2014-07-19 | ng/L | 0.88576 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 40.53 | SIMAZINE | E | 10 | 35.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88576 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88576 |  | 0.88576 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2014-12-02 | ng/L | 1.1253 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 39.99 | SIMAZINE | . | 10 | 45 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1253 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1253 |  | 1.1253 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2014-08-20 | ng/L | 0.95238 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 20.265 | SIMAZINE | . | 10 | 19.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95238 |  | 0.95238 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2014-09-23 | ng/L | 0.76487 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 20.265 | SIMAZINE | . | 10 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76487 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8356 | 0.10189 | 0.78954 | 0.18752 | 0.139
SIMAZINE | 2437 | 65105LCM60 | 2014-11-18 | ng/L | 0.95238 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 40.53 | SIMAZINE | . | 10 | 38.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95238 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8356 | 0.10189 | 0.78954 | 0.18752 | 0.139
SIMAZINE | 2437 | 65105LCM60 | 2015-04-08 | ng/L | 0.78954 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 20.265 | SIMAZINE | . | 10 | 16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78954 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8356 | 0.10189 | 0.78954 | 0.18752 | 0.139
SIMAZINE | 2437 | 65105LCM60 | 2013-09-29 | ng/L | 1.0472 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 250.2 | SIMAZINE | . | 10 | 262 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0472 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0472 |  | 1.0472 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2013-12-19 | ng/L | 1.196 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 250 | SIMAZINE | . | 10 | 299 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.196 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.196 |  | 1.196 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2014-12-16 | ng/L | 1.0728 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 39.99 | SIMAZINE | . | 10 | 42.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0728 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0728 |  | 1.0728 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2015-04-15 | ng/L | 1.2853 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 19.995 | SIMAZINE | . | 10 | 25.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2853 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2853 |  | 1.2853 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2014-05-17 | ng/L | 0.77019 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 19.995 | SIMAZINE | E | 10 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77019 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.8623 | 0.081801 | 0.89022 | 0.15629 | 0.11586
SIMAZINE | 2437 | 65105LCM60 | 2014-06-11 | ng/L | 0.92648 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 79.98 | SIMAZINE | E | 10 | 74.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92648 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.8623 | 0.081801 | 0.89022 | 0.15629 | 0.11586
SIMAZINE | 2437 | 65105LCM60 | 2014-06-26 | ng/L | 0.89022 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 39.99 | SIMAZINE | . | 10 | 35.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89022 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8623 | 0.081801 | 0.89022 | 0.15629 | 0.11586
SIMAZINE | 2437 | 65105LCM60 | 2014-01-10 | ng/L | 0.784 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 100 | SIMAZINE | . | 10 | 78.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.784 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.784 |  | 0.784 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2014-07-31 | ng/L | 1.1646 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 20.265 | SIMAZINE | . | 10 | 23.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1646 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0461 | 0.16749 | 1.0461 | 0.23686 | 0.17558
SIMAZINE | 2437 | 65105LCM60 | 2015-04-09 | ng/L | 0.92771 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 20.265 | SIMAZINE | . | 10 | 18.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92771 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0461 | 0.16749 | 1.0461 | 0.23686 | 0.17558
SIMAZINE | 2437 | 65105LCM60 | 2014-08-17 | ng/L | 0.95024 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 19.995 | SIMAZINE | . | 10 | 19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95024 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96149 | 0.015914 | 0.96149 | 0.022506 | 0.016683
SIMAZINE | 2437 | 65105LCM60 | 2014-10-07 | ng/L | 0.97274 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 39.99 | SIMAZINE | . | 10 | 38.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97274 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.96149 | 0.015914 | 0.96149 | 0.022506 | 0.016683
SIMAZINE | 2437 | 65105LCM60 | 2015-08-11 | ng/L | 1.4932 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 14.8 | SIMAZINE | . | 10 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4932 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4077 | 0.29985 | 1.4932 | 0.58108 | 0.43075
SIMAZINE | 2437 | 65105LCM60 | 2015-08-11 | ng/L | 1.6554 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 14.8 | SIMAZINE | . | 10 | 24.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6554 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4077 | 0.29985 | 1.4932 | 0.58108 | 0.43075
SIMAZINE | 2437 | 65105LCM60 | 2015-08-11 | ng/L | 1.0743 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 14.8 | SIMAZINE | . | 10 | 15.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0743 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.4077 | 0.29985 | 1.4932 | 0.58108 | 0.43075
SIMAZINE | 2437 | 65105LCM60 | 2014-02-19 | ng/L | 0.82 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 250 | SIMAZINE | . | 10 | 205 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82 |  | 0.82 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2013-11-07 | ng/L | 0.706 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 100 | SIMAZINE | E | 10 | 70.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.706 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.706 |  | 0.706 | 0 | 0
SIMAZINE | 2437 | 65105LCM60 | 2013-12-18 | ng/L | 1.2976 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 252 | SIMAZINE | . | 10 | 327 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2976 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2976 |  | 1.2976 | 0 | 0