## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-07-08 | ng/L | 1.0376 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 43.56 | SULFENTRAZONE | E | 11 | 45.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0376 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0376 |  | 1.0376 | 0 | 0
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-08-11 | ng/L | 1.1279 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 21.9 | SULFENTRAZONE | . | 11 | 24.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1279 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1279 |  | 1.1279 | 0 | 0
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-07-19 | ng/L | 1.2603 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 43.56 | SULFENTRAZONE | . | 11 | 54.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2603 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2603 |  | 1.2603 | 0 | 0
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-12-03 | ng/L | 0.87925 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 43.56 | SULFENTRAZONE | . | 11 | 38.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87925 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87925 |  | 0.87925 | 0 | 0
SULFENTRAZONE | 2437 | 68687LCM60 | 2015-04-15 | ng/L | 1.3085 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 21.78 | SULFENTRAZONE | . | 11 | 28.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3085 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3085 |  | 1.3085 | 0 | 0
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-07-24 | ng/L | 1.1111 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 21.78 | SULFENTRAZONE | . | 11 | 24.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1111 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.079 | 0.047935 | 1.1019 | 0.087236 | 0.064667
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-10-07 | ng/L | 1.1019 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 21.78 | SULFENTRAZONE | . | 11 | 24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1019 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.079 | 0.047935 | 1.1019 | 0.087236 | 0.064667
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-12-03 | ng/L | 1.0239 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 43.56 | SULFENTRAZONE | . | 11 | 44.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0239 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.079 | 0.047935 | 1.1019 | 0.087236 | 0.064667
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-09-03 | ng/L | 0.85845 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 43.8 | SULFENTRAZONE | . | 11 | 37.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85845 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.1438 | 0.4036 | 1.1438 | 0.57078 | 0.42311
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-09-10 | ng/L | 1.4292 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 21.9 | SULFENTRAZONE | E | 11 | 31.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4292 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 1.1438 | 0.4036 | 1.1438 | 0.57078 | 0.42311
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-07-30 | ng/L | 1.0868 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 21.9 | SULFENTRAZONE | . | 11 | 23.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0868 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2215 | 0.1905 | 1.2215 | 0.26941 | 0.19971
SULFENTRAZONE | 2437 | 68687LCM60 | 2015-04-02 | ng/L | 1.3562 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 21.9 | SULFENTRAZONE | . | 11 | 29.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3562 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.2215 | 0.1905 | 1.2215 | 0.26941 | 0.19971
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-08-13 | ng/L | 0.78995 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 21.9 | SULFENTRAZONE | . | 11 | 17.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78995 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99543 | 0.29059 | 0.99543 | 0.41096 | 0.30464
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-10-07 | ng/L | 1.2009 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 43.8 | SULFENTRAZONE | . | 11 | 52.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2009 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.99543 | 0.29059 | 0.99543 | 0.41096 | 0.30464
SULFENTRAZONE | 2437 | 68687LCM60 | 2015-08-11 | ng/L | 1.3494 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 16.6 | SULFENTRAZONE | . | 11 | 22.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3494 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3494 |  | 1.3494 | 0 | 0
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-04-21 | ng/L | 0.66588 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 127.5 | SULFENTRAZONE | . | 11 | 84.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66588 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.72993 | 0.22952 | 0.65647 | 0.17451 | 0.12936
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-05-01 | ng/L | 0.54902 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 204 | SULFENTRAZONE | . | 11 | 112 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54902 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.72993 | 0.22952 | 0.65647 | 0.17451 | 0.12936
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-05-28 | ng/L | 0.64706 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | SULFENTRAZONE | . | 11 | 165 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64706 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.72993 | 0.22952 | 0.65647 | 0.17451 | 0.12936
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-06-04 | ng/L | 0.75882 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | SULFENTRAZONE | . | 11 | 387 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75882 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.72993 | 0.22952 | 0.65647 | 0.17451 | 0.12936
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-06-17 | ng/L | 0.58431 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 255 | SULFENTRAZONE | . | 11 | 149 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58431 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.72993 | 0.22952 | 0.65647 | 0.17451 | 0.12936
SULFENTRAZONE | 2437 | 68687LCM60 | 2014-07-02 | ng/L | 1.1745 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 510 | SULFENTRAZONE | . | 11 | 599 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1745 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.72993 | 0.22952 | 0.65647 | 0.17451 | 0.12936