## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-07-08 | ng/L | 1.1382 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 15.99 | SULFOMETURON-METHYL | E | 4 | 18.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1382 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1382 |  | 1.1382 | 0 | 0
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-08-16 | ng/L | 0.93408 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 8.04 | SULFOMETURON-METHYL | . | 4 | 7.51 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93408 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93408 |  | 0.93408 | 0 | 0
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-07-19 | ng/L | 1.2758 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 15.99 | SULFOMETURON-METHYL | E | 4 | 20.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2758 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.2758 |  | 1.2758 | 0 | 0
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-12-02 | ng/L | 1.2695 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 15.99 | SULFOMETURON-METHYL | . | 4 | 20.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2695 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.2695 |  | 1.2695 | 0 | 0
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2015-04-15 | ng/L | 1.0094 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 7.995 | SULFOMETURON-METHYL | . | 4 | 8.07 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0094 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0094 |  | 1.0094 | 0 | 0
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-07-24 | ng/L | 1.1545 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.995 | SULFOMETURON-METHYL | . | 4 | 9.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1545 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1862 | 0.030697 | 1.1882 | 0.061288 | 0.045432
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-10-07 | ng/L | 1.2158 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 7.995 | SULFOMETURON-METHYL | . | 4 | 9.72 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2158 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1862 | 0.030697 | 1.1882 | 0.061288 | 0.045432
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-12-02 | ng/L | 1.1882 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 15.99 | SULFOMETURON-METHYL | . | 4 | 19 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1882 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1862 | 0.030697 | 1.1882 | 0.061288 | 0.045432
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-09-04 | ng/L | 0.56343 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 16.08 | SULFOMETURON-METHYL | E | 4 | 9.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56343 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82898 | 0.37554 | 0.82898 | 0.53109 | 0.39369
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-09-10 | ng/L | 1.0945 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 8.04 | SULFOMETURON-METHYL | E | 4 | 8.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0945 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.82898 | 0.37554 | 0.82898 | 0.53109 | 0.39369
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-07-31 | ng/L | 1.0547 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 8.04 | SULFOMETURON-METHYL | . | 4 | 8.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0547 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69963 | 0.50219 | 0.69963 | 0.7102 | 0.52646
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2015-04-09 | ng/L | 0.34453 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 8.04 | SULFOMETURON-METHYL | . | 4 | 2.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34453 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.69963 | 0.50219 | 0.69963 | 0.7102 | 0.52646
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-08-17 | ng/L | 0.91418 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 8.04 | SULFOMETURON-METHYL | . | 4 | 7.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91418 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87065 | 0.061564 | 0.87065 | 0.087065 | 0.06454
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-10-07 | ng/L | 0.82711 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 16.08 | SULFOMETURON-METHYL | . | 4 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82711 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.87065 | 0.061564 | 0.87065 | 0.087065 | 0.06454
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2015-08-11 | ng/L | 0.9405 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.05 | SULFOMETURON-METHYL | E | 4 | 5.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9405 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85455 | 0.12155 | 0.85455 | 0.1719 | 0.12743
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2015-08-11 | ng/L | 0.7686 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 6.05 | SULFOMETURON-METHYL | E | 4 | 4.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7686 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.85455 | 0.12155 | 0.85455 | 0.1719 | 0.12743
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-02-06 | ng/L | 0.19 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 1000 | SULFOMETURON-METHYL | . | 4 | 190 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.19 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.19 |  | 0.19 | 0 | 0
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2013-10-31 | ng/L | 0.99602 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 1004 | SULFOMETURON-METHYL | E | 4 | 1000 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99602 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.99602 |  | 0.99602 | 0 | 0
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2014-03-04 | ng/L | 0.91235 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 1004 | SULFOMETURON-METHYL | . | 4 | 916 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91235 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91235 |  | 0.91235 | 0 | 0
SULFOMETURON-METHYL | 2437 | 68688LCM60 | 2013-11-21 | ng/L | 1.0159 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 1004 | SULFOMETURON-METHYL | . | 4 | 1020 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0159 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0159 |  | 1.0159 | 0 | 0