## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
SULFOSULFURON | 2437 | 68689LCM60 | 2014-07-08 | ng/L | 1.6072 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 36.15 | SULFOSULFURON | . | 9 | 58.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.6072 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.6072 |  | 1.6072 | 0 | 0
SULFOSULFURON | 2437 | 68689LCM60 | 2014-08-16 | ng/L | 1.953 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 18.075 | SULFOSULFURON | . | 9 | 35.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.953 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.953 |  | 1.953 | 0 | 0
SULFOSULFURON | 2437 | 68689LCM60 | 2014-08-20 | ng/L | 1.4385 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 18.075 | SULFOSULFURON | . | 9 | 26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4385 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.4385 |  | 1.4385 | 0 | 0
SULFOSULFURON | 2437 | 68689LCM60 | 2014-09-23 | ng/L | 1.1592 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 18.03 | SULFOSULFURON | . | 9 | 20.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1592 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1638 | 0.05699 | 1.1592 | 0.1137 | 0.084284
SULFOSULFURON | 2437 | 68689LCM60 | 2014-11-18 | ng/L | 1.223 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 36.06 | SULFOSULFURON | . | 9 | 44.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.223 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1638 | 0.05699 | 1.1592 | 0.1137 | 0.084284
SULFOSULFURON | 2437 | 68689LCM60 | 2015-04-08 | ng/L | 1.1093 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 18.03 | SULFOSULFURON | . | 9 | 20 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1093 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.1638 | 0.05699 | 1.1592 | 0.1137 | 0.084284
SULFOSULFURON | 2437 | 68689LCM60 | 2014-12-16 | ng/L | 2.0387 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 36.15 | SULFOSULFURON | . | 9 | 73.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
SULFOSULFURON | 2437 | 68689LCM60 | 2014-05-17 | ng/L | 1.2424 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 18.03 | SULFOSULFURON | . | 9 | 22.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2424 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2068 | 0.049029 | 1.2271 | 0.091514 | 0.067839
SULFOSULFURON | 2437 | 68689LCM60 | 2014-06-11 | ng/L | 1.2271 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 72.12 | SULFOSULFURON | E | 9 | 88.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2271 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.2068 | 0.049029 | 1.2271 | 0.091514 | 0.067839
SULFOSULFURON | 2437 | 68689LCM60 | 2014-06-26 | ng/L | 1.1509 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 36.06 | SULFOSULFURON | . | 9 | 41.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1509 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2068 | 0.049029 | 1.2271 | 0.091514 | 0.067839
SULFOSULFURON | 2437 | 68689LCM60 | 2014-07-24 | ng/L | 1.4088 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 18.03 | SULFOSULFURON | . | 9 | 25.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4088 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2599 | 0.13277 | 1.2174 | 0.25513 | 0.18913
SULFOSULFURON | 2437 | 68689LCM60 | 2014-10-07 | ng/L | 1.1536 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 18.03 | SULFOSULFURON | . | 9 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1536 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2599 | 0.13277 | 1.2174 | 0.25513 | 0.18913
SULFOSULFURON | 2437 | 68689LCM60 | 2014-12-02 | ng/L | 1.2174 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 36.06 | SULFOSULFURON | . | 9 | 43.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2174 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.2599 | 0.13277 | 1.2174 | 0.25513 | 0.18913
SULFOSULFURON | 2437 | 68689LCM60 | 2014-09-04 | ng/L | 0.96783 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 36.06 | SULFOSULFURON | . | 9 | 34.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96783 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0829 | 0.16276 | 1.0829 | 0.23017 | 0.17062
SULFOSULFURON | 2437 | 68689LCM60 | 2014-09-10 | ng/L | 1.198 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 18.03 | SULFOSULFURON | . | 9 | 21.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.198 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0829 | 0.16276 | 1.0829 | 0.23017 | 0.17062