## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-08-16 | ng/L | 0.98801 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 20.85 | TEBUTHIURON_TP_EL108 | . | 10 | 20.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98801 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.98801 |  | 0.98801 | 0 | 0
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-09-04 | ng/L | 0.6307 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 41.7 | TEBUTHIURON_TP_EL108 | . | 10 | 26.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6307 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95564 | 0.45953 | 0.95564 | 0.64988 | 0.48175
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-09-10 | ng/L | 1.2806 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 20.85 | TEBUTHIURON_TP_EL108 | . | 10 | 26.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.2806 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95564 | 0.45953 | 0.95564 | 0.64988 | 0.48175
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-07-31 | ng/L | 1.0072 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 20.85 | TEBUTHIURON_TP_EL108 | . | 10 | 21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0072 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91607 | 0.12887 | 0.91607 | 0.18225 | 0.1351
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2015-04-09 | ng/L | 0.82494 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 20.85 | TEBUTHIURON_TP_EL108 | . | 10 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82494 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.91607 | 0.12887 | 0.91607 | 0.18225 | 0.1351
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-08-17 | ng/L | 0.86331 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 20.85 | TEBUTHIURON_TP_EL108 | . | 10 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86331 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95324 | 0.12718 | 0.95324 | 0.17986 | 0.13333
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-10-07 | ng/L | 1.0432 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 41.7 | TEBUTHIURON_TP_EL108 | . | 10 | 43.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0432 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95324 | 0.12718 | 0.95324 | 0.17986 | 0.13333
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2015-08-11 | ng/L | 0.78808 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 15.1 | TEBUTHIURON_TP_EL108 | . | 10 | 11.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78808 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81788 | 0.042145 | 0.81788 | 0.059603 | 0.044183
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2015-08-11 | ng/L | 0.84768 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 15.1 | TEBUTHIURON_TP_EL108 | . | 10 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84768 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.81788 | 0.042145 | 0.81788 | 0.059603 | 0.044183
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-04-24 | ng/L | 1.004 | 2014-04-10 06:30 | 20141010010 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 124.5 | TEBUTHIURON_TP_EL108 | . | 10 | 125 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.92202 | 0.11934 | 0.94679 | 0.2008 | 0.14885
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-05-03 | ng/L | 0.80321 | 2014-04-24 07:30 | 20141150010 | ERA | 0912-13-03 | ERA 0912-13-03: 20 µl | 199.2 | TEBUTHIURON_TP_EL108 | . | 10 | 160 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80321 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.92202 | 0.11934 | 0.94679 | 0.2008 | 0.14885
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-05-29 | ng/L | 1.0723 | 2014-05-16 08:00 | 20141360090 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 249 | TEBUTHIURON_TP_EL108 | . | 10 | 267 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0723 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.92202 | 0.11934 | 0.94679 | 0.2008 | 0.14885
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-06-05 | ng/L | 0.75904 | 2014-05-22 08:00 | 20141420138 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 498 | TEBUTHIURON_TP_EL108 | . | 10 | 378 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75904 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.92202 | 0.11934 | 0.94679 | 0.2008 | 0.14885
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-06-18 | ng/L | 0.94779 | 2014-06-05 08:30 | 20141570091 | ERA | 0912-13-03 | ERA 0912-13-03: 25 µl | 249 | TEBUTHIURON_TP_EL108 | . | 10 | 236 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94779 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.92202 | 0.11934 | 0.94679 | 0.2008 | 0.14885
TEBUTHIURON TP EL108 | 2437 | 68696LCM60 | 2014-07-02 | ng/L | 0.94578 | 2014-06-19 08:00 | 20141710106 | ERA | 0912-13-03 | ERA 0912-13-03: 50 µl | 498 | TEBUTHIURON_TP_EL108 | . | 10 | 471 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94578 | ERA 0912-13-03 | [9 empty] | Y | Recoverable Result | Y | 2 | [5 empty] | 6 | 0.92202 | 0.11934 | 0.94679 | 0.2008 | 0.14885