## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TERBACIL | 2437 | 68698LCM60 | 2013-12-10 | ng/L | 0.85143 | 2013-11-21 08:00 | 20133260006 | Abs, ChemService, Accu | 041613, 1466000, 213041078 | Abs 041613: 2 µl & ChemService 1466000: 2 µl & Accu 213041078: 2 µl | 350 | TERBACIL | . | 21 | 298 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85143 | Ab041613, Ch1466000, Ac2131078 | Ab | Ch | Ac | 041613 | 1466000 | 2131078 |  |  | 2131078 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85143 |  | 0.85143 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2014-07-08 | ng/L | 0.49453 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 84.12 | TERBACIL | . | 21 | 41.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49453 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.49453 |  | 0.49453 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2014-08-16 | ng/L | 0.79663 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 41.55 | TERBACIL | . | 21 | 33.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79663 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79663 |  | 0.79663 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2014-07-19 | ng/L | 1.0723 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 84.12 | TERBACIL | . | 21 | 90.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0723 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0723 |  | 1.0723 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2014-12-02 | ng/L | 0.72515 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 84.12 | TERBACIL | . | 21 | 61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72515 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72515 |  | 0.72515 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2013-09-29 | ng/L | 0.85143 | 2013-09-19 08:00 | 20132630001 | Accu, Abs, Spex Organics | 213041078b, 041613, T1130517007 | Accu 213041078b: 2 µl & Abs 041613: 2 µl & Spex Organics T1130517007: 2 µl | 350 | TERBACIL | . | 21 | 298 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85143 | Ac213078b, Ab041613, SpT117007 | Ac | Ab | Sp | 213078b | 041613 | T117007 | 213078b |  | T117007 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85143 |  | 0.85143 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2015-04-15 | ng/L | 1.1056 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 42.06 | TERBACIL | . | 21 | 46.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1056 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1056 |  | 1.1056 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2014-07-24 | ng/L | 1.0747 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 42.06 | TERBACIL | . | 21 | 45.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0747 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0124 | 0.064286 | 1.0164 | 0.12839 | 0.095173
TERBACIL | 2437 | 68698LCM60 | 2014-10-07 | ng/L | 0.94627 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 42.06 | TERBACIL | . | 21 | 39.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94627 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0124 | 0.064286 | 1.0164 | 0.12839 | 0.095173
TERBACIL | 2437 | 68698LCM60 | 2014-12-02 | ng/L | 1.0164 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 84.12 | TERBACIL | . | 21 | 85.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0164 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0124 | 0.064286 | 1.0164 | 0.12839 | 0.095173
TERBACIL | 2437 | 68698LCM60 | 2014-09-04 | ng/L | 0.46089 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 83.1 | TERBACIL | . | 21 | 38.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46089 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61191 | 0.21358 | 0.61191 | 0.30205 | 0.2239
TERBACIL | 2437 | 68698LCM60 | 2014-09-10 | ng/L | 0.76294 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 41.55 | TERBACIL | . | 21 | 31.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76294 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.61191 | 0.21358 | 0.61191 | 0.30205 | 0.2239
TERBACIL | 2437 | 68698LCM60 | 2014-07-31 | ng/L | 1.0205 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 41.55 | TERBACIL | . | 21 | 42.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0205 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0469 | 0.03744 | 1.0469 | 0.052948 | 0.03925
TERBACIL | 2437 | 68698LCM60 | 2015-04-09 | ng/L | 1.0734 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 41.55 | TERBACIL | . | 21 | 44.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0734 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 1.0469 | 0.03744 | 1.0469 | 0.052948 | 0.03925
TERBACIL | 2437 | 68698LCM60 | 2014-08-17 | ng/L | 0.58484 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 41.55 | TERBACIL | . | 21 | 24.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58484 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64621 | 0.086793 | 0.64621 | 0.12274 | 0.090989
TERBACIL | 2437 | 68698LCM60 | 2014-10-07 | ng/L | 0.70758 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 83.1 | TERBACIL | . | 21 | 58.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70758 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.64621 | 0.086793 | 0.64621 | 0.12274 | 0.090989
TERBACIL | 2437 | 68698LCM60 | 2015-08-04 | ng/L | 1.0794 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 31.5 | TERBACIL | E | 21 | 34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0794 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0794 |  | 1.0794 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2014-02-06 | ng/L | 1.0381 | 2014-01-30 09:00 | 20140300037 | NSI, ChemService, Spex Organ | 042213HPLC, 1448600, T1130601011 | NSI 042213HPLC: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 420 | TERBACIL | . | 21 | 436 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0381 | NS042HPLC, Ch1448600, SpT11101 | NS | Ch | Sp | 042HPLC | 1448600 | T111011 | 042HPLC |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0381 |  | 1.0381 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2013-10-31 | ng/L | 1.0167 | 2013-08-29 08:30 | 20132420005 | Spex Organics, Supelco, Accu | T1130601011, LC01386, 213041030 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & Accu 213041030: 2 µl | 420 | TERBACIL | . | 21 | 427 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0167 | SpT111011, SuLC01386, Ac213103 | Sp | Su | Ac | T111011 | LC01386 | 2131030 | T111011 |  | 2131030 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0167 |  | 1.0167 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2014-03-04 | ng/L | 0.85476 | 2014-02-20 08:00 | 20140510044 | Spex Organics, Supelco, Chem | T1130601011, LC01386, 1448600 | Spex Organics T1130601011: 2 µl & Supelco LC01386: 2 µl & ChemService 1448600: 2 | 420 | TERBACIL | . | 21 | 359 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85476 | SpT111011, SuLC01386, Ch144860 | Sp | Su | Ch | T111011 | LC01386 | 1448600 | T111011 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85476 |  | 0.85476 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2013-12-18 | ng/L | 0.97143 | 2013-12-05 08:30 | 20133400005 | Spex Organics, ERA, Abs | T1130517007, 0318-13-02.1, 041613 | Spex Organics T1130517007: 2 µl & ERA 0318-13-02.1: 2 µl & Abs 041613: 2 µl | 350 | TERBACIL | . | 21 | 340 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97143 | SpT117007, ER03102.1, Ab041613 | Sp | ER | Ab | T117007 | 03102.1 | 041613 | T117007 | 03102.1 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.97143 |  | 0.97143 | 0 | 0
TERBACIL | 2437 | 68698LCM60 | 2013-11-21 | ng/L | 1.1381 | 2013-11-07 08:30 | 20133110106 | Supelco, ChemService, Spex O | LC01386, 1448600, T1130601011 | Supelco LC01386: 2 µl & ChemService 1448600: 2 µl & Spex Organics T1130601011: 2 | 420 | TERBACIL | . | 21 | 478 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1381 | SuLC01386, Ch1448600, SpT11101 | Su | Ch | Sp | LC01386 | 1448600 | T111011 |  |  | T111011 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1381 |  | 1.1381 | 0 | 0