## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-07-19 | ng/L | 1.0292 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 24 | TETRACONAZOLE | . | 6 | 24.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0292 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0292 |  | 1.0292 | 0 | 0
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-12-02 | ng/L | 0.85427 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 23.88 | TETRACONAZOLE | . | 6 | 20.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85427 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.85427 |  | 0.85427 | 0 | 0
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-08-20 | ng/L | 0.51917 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 12 | TETRACONAZOLE | . | 6 | 6.23 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51917 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.51917 |  | 0.51917 | 0 | 0
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-09-23 | ng/L | 0.63417 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 12 | TETRACONAZOLE | . | 6 | 7.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63417 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85167 | 0.19436 | 0.9125 | 0.37417 | 0.27737
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-11-18 | ng/L | 0.9125 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 24 | TETRACONAZOLE | . | 6 | 21.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9125 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85167 | 0.19436 | 0.9125 | 0.37417 | 0.27737
TETRACONAZOLE | 2437 | 66654LCM60 | 2015-04-08 | ng/L | 1.0083 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 12 | TETRACONAZOLE | . | 6 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0083 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85167 | 0.19436 | 0.9125 | 0.37417 | 0.27737
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-12-16 | ng/L | 0.83333 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 23.88 | TETRACONAZOLE | . | 6 | 19.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83333 |  | 0.83333 | 0 | 0
TETRACONAZOLE | 2437 | 66654LCM60 | 2015-04-15 | ng/L | 0.6541 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 11.94 | TETRACONAZOLE | . | 6 | 7.81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6541 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.6541 |  | 0.6541 | 0 | 0
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-05-17 | ng/L | 0.82412 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 11.94 | TETRACONAZOLE | . | 6 | 9.84 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82412 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86655 | 0.083858 | 0.82412 | 0.15075 | 0.11175
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-06-11 | ng/L | 0.96315 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 47.76 | TETRACONAZOLE | E | 6 | 46 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96315 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.86655 | 0.083858 | 0.82412 | 0.15075 | 0.11175
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-06-26 | ng/L | 0.8124 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 23.88 | TETRACONAZOLE | . | 6 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8124 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86655 | 0.083858 | 0.82412 | 0.15075 | 0.11175
TETRACONAZOLE | 2437 | 66654LCM60 | 2015-08-12 | ng/L | 0.74279 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 18.04 | TETRACONAZOLE | . | 6 | 13.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74279 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77328 | 0.043116 | 0.77328 | 0.060976 | 0.045201
TETRACONAZOLE | 2437 | 66654LCM60 | 2015-08-12 | ng/L | 0.80377 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 18.04 | TETRACONAZOLE | . | 6 | 14.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80377 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.77328 | 0.043116 | 0.77328 | 0.060976 | 0.045201
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-07-31 | ng/L | 0.80083 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 12 | TETRACONAZOLE | . | 6 | 9.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80083 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95042 | 0.21154 | 0.95042 | 0.29917 | 0.22177
TETRACONAZOLE | 2437 | 66654LCM60 | 2015-04-09 | ng/L | 1.1 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 12 | TETRACONAZOLE | . | 6 | 13.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.95042 | 0.21154 | 0.95042 | 0.29917 | 0.22177
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-08-17 | ng/L | 0.97152 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 11.94 | TETRACONAZOLE | . | 6 | 11.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97152 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86055 | 0.15694 | 0.86055 | 0.22194 | 0.16452
TETRACONAZOLE | 2437 | 66654LCM60 | 2014-10-07 | ng/L | 0.74958 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 23.88 | TETRACONAZOLE | . | 6 | 17.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74958 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.86055 | 0.15694 | 0.86055 | 0.22194 | 0.16452
TETRACONAZOLE | 2437 | 66654LCM60 | 2015-08-04 | ng/L | 1.191 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 8.9 | TETRACONAZOLE | . | 6 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.191 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.191 |  | 1.191 | 0 | 0
TETRACONAZOLE | 2437 | 66654LCM60 | 2015-08-11 | ng/L | 0.80377 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 9.02 | TETRACONAZOLE | . | 6 | 7.25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80377 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82927 | 0.036061 | 0.82927 | 0.050998 | 0.037804
TETRACONAZOLE | 2437 | 66654LCM60 | 2015-08-11 | ng/L | 0.85477 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 9.02 | TETRACONAZOLE | . | 6 | 7.71 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85477 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.82927 | 0.036061 | 0.82927 | 0.050998 | 0.037804