## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIBUFOS | 2437 | 68711LCM60 | 2014-07-08 | ng/L | 0.59902 | 2014-06-26 09:00 | 20141770144 | Abs, Abs | 042314, 042914 | Abs 042314: 30 µl & Abs 042914: 30 µl | 8.13 | TRIBUFOS | . | 2 | 4.87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59902 | Ab042314, Ab042914 | Ab | Ab | Ab | 042314 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.59902 |  | 0.59902 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2014-08-16 | ng/L | 0.87198 | 2014-07-31 07:00 | 20142130132 | Abs, ERA | 042314, 0321-14-07 | Abs 042314: 15 µl & ERA 0321-14-07: 15 µl | 4.14 | TRIBUFOS | . | 2 | 3.61 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87198 | Ab042314, ER0324-07 | Ab | ER | ER | 042314 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.87198 |  | 0.87198 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2014-01-23 | ng/L | 0.74729 | 2014-01-09 08:00 | 20140100087 | Abs, Spex Organics, Supelco | 042413, T1130514013, LB99392 | Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl | 277 | TRIBUFOS | . | 2 | 207 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74729 | Ab042413, SpT114013, SuLB99392 | Ab | Sp | Su | 042413 | T114013 | LB99392 |  | T114013 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74729 |  | 0.74729 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2014-07-19 | ng/L | 0.57196 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 8.13 | TRIBUFOS | . | 2 | 4.65 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57196 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.57196 |  | 0.57196 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2014-12-02 | ng/L | 0.81181 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 8.13 | TRIBUFOS | . | 2 | 6.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81181 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.81181 |  | 0.81181 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2013-12-19 | ng/L | 0.94729 | 2013-12-12 08:00 | 20133470005 | ChemService, Supelco, Abs | 1473000, LB99392, 042413 | ChemService 1473000: 5 µl & Supelco LB99392: 5 µl & Abs 042413: 5 µl | 692.5 | TRIBUFOS | E | 2 | 656 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94729 | Ch1473000, SuLB99392, Ab042413 | Ch | Su | Ab | 1473000 | LB99392 | 042413 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.94729 |  | 0.94729 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2014-07-24 | ng/L | 0.76015 | 2014-07-17 07:30 | 20141990082 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 4.065 | TRIBUFOS | . | 2 | 3.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76015 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75277 | 0.048394 | 0.76015 | 0.095941 | 0.07112
TRIBUFOS | 2437 | 68711LCM60 | 2014-10-07 | ng/L | 0.79705 | 2014-09-25 07:00 | 20142720026 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 15 µl & Abs 042914: 15 µl | 4.065 | TRIBUFOS | . | 2 | 3.24 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79705 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75277 | 0.048394 | 0.76015 | 0.095941 | 0.07112
TRIBUFOS | 2437 | 68711LCM60 | 2014-12-02 | ng/L | 0.70111 | 2014-11-19 08:00 | 20143240094 | ChemService, Abs | 2609400, 042914 | ChemService 2609400: 30 µl & Abs 042914: 30 µl | 8.13 | TRIBUFOS | . | 2 | 5.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70111 | Ch2609400, Ab042914 | Ch | Ab | Ab | 2609400 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75277 | 0.048394 | 0.76015 | 0.095941 | 0.07112
TRIBUFOS | 2437 | 68711LCM60 | 2014-09-04 | ng/L | 0.67995 | 2014-08-18 07:15 | 20142340168 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 30 µl & ERA 0321-14-07: 30 µl | 8.28 | TRIBUFOS | E | 2 | 5.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67995 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90036 | 0.31171 | 0.90036 | 0.44082 | 0.32678
TRIBUFOS | 2437 | 68711LCM60 | 2014-09-10 | ng/L | 1.1208 | 2014-09-03 07:45 | 20142470035 | ChemService, ERA | 2609400, 0321-14-07 | ChemService 2609400: 15 µl & ERA 0321-14-07: 15 µl | 4.14 | TRIBUFOS | E | 2 | 4.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1208 | Ch2609400, ER0324-07 | Ch | ER | ER | 2609400 | 0324-07 | 0324-07 |  | 0324-07 | 0324-07 | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.90036 | 0.31171 | 0.90036 | 0.44082 | 0.32678
TRIBUFOS | 2437 | 68711LCM60 | 2015-08-12 | ng/L | 0.90747 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 6.16 | TRIBUFOS | . | 2 | 5.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90747 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88366 | 0.10115 | 0.90747 | 0.19805 | 0.14681
TRIBUFOS | 2437 | 68711LCM60 | 2015-08-12 | ng/L | 0.97078 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 6.16 | TRIBUFOS | . | 2 | 5.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97078 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88366 | 0.10115 | 0.90747 | 0.19805 | 0.14681
TRIBUFOS | 2437 | 68711LCM60 | 2015-08-12 | ng/L | 0.77273 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 6.16 | TRIBUFOS | . | 2 | 4.76 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77273 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.88366 | 0.10115 | 0.90747 | 0.19805 | 0.14681
TRIBUFOS | 2437 | 68711LCM60 | 2014-01-10 | ng/L | 0.63899 | 2013-12-23 08:00 | 20133580040 | ERA, Abs, Spex Organics | 0318-13-02.2, 042413, T1130514013 | ERA 0318-13-02.2: 2 µl & Abs 042413: 2 µl & Spex Organics T1130514013: 2 µl | 277 | TRIBUFOS | . | 2 | 177 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63899 | ER03102.2, Ab042413, SpT114013 | ER | Ab | Sp | 03102.2 | 042413 | T114013 | 03102.2 |  | T114013 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63899 |  | 0.63899 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2014-07-31 | ng/L | 0.45411 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 4.14 | TRIBUFOS | . | 2 | 1.88 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45411 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53623 | 0.11614 | 0.53623 | 0.16425 | 0.12176
TRIBUFOS | 2437 | 68711LCM60 | 2015-04-09 | ng/L | 0.61836 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 4.14 | TRIBUFOS | . | 2 | 2.56 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61836 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.53623 | 0.11614 | 0.53623 | 0.16425 | 0.12176
TRIBUFOS | 2437 | 68711LCM60 | 2014-08-17 | ng/L | 0.87923 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 4.14 | TRIBUFOS | . | 2 | 3.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87923 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.843 | 0.05124 | 0.843 | 0.072464 | 0.053717
TRIBUFOS | 2437 | 68711LCM60 | 2014-10-07 | ng/L | 0.80676 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 8.28 | TRIBUFOS | . | 2 | 6.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80676 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.843 | 0.05124 | 0.843 | 0.072464 | 0.053717
TRIBUFOS | 2437 | 68711LCM60 | 2015-08-04 | ng/L | 0.88 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 3 | TRIBUFOS | E | 2 | 2.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.88 |  | 0.88 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2014-02-19 | ng/L | 0.8428 | 2014-02-06 08:30 | 20140370079 | Spex Organics, ERA, Crescent | T1130514013, 0318-13-02.2, 04CC101 | Spex Organics T1130514013: 5 µl & ERA 0318-13-02.2: 5 µl & Crescent 04CC101: 5 µ | 677.5 | TRIBUFOS | . | 2 | 571 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8428 | SpT114013, ER03102.2, Cr04CC10 | Sp | ER | Cr | T114013 | 03102.2 | 04CC101 | T114013 | 03102.2 |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8428 |  | 0.8428 | 0 | 0
TRIBUFOS | 2437 | 68711LCM60 | 2013-11-07 | ng/L | 0.91513 | 2013-10-31 07:30 | 20133050048 | Spex Organics, Supelco, Cres | T1130514013, LB99392, 04CC101 | Spex Organics T1130514013: 2 µl & Supelco LB99392: 2 µl & Crescent 04CC101: 2 µl | 271 | TRIBUFOS | . | 2 | 248 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91513 | SpT114013, SuLB99392, Cr04CC10 | Sp | Su | Cr | T114013 | LB99392 | 04CC101 | T114013 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91513 |  | 0.91513 | 0 | 0