## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-07-19 | ng/L | 0.74103 | 2014-07-10 07:30 | 20141910245 | Abs, Abs | 042914, 042814Pest3 | Abs 042914: 30 µl & Abs 042814Pest3: 30 µl | 7.8 | TRIFLOXYSTROBIN | . | 2 | 5.78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74103 | Ab042914, Ab042est3 | Ab | Ab | Ab | 042914 | 042est3 | 042est3 |  | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74103 |  | 0.74103 | 0 | 0
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-12-02 | ng/L | 0.74444 | 2014-11-26 07:30 | 20143300050 | Abs, ChemService | 042914, 2598800 | Abs 042914: 30 µl & ChemService 2598800: 30 µl | 8.1 | TRIFLOXYSTROBIN | . | 2 | 6.03 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74444 | Ab042914, Ch2598800 | Ab | Ch | Ch | 042914 | 2598800 | 2598800 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74444 |  | 0.74444 | 0 | 0
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-08-20 | ng/L | 0.63333 | 2014-08-14 08:00 | 20142270006 | Abs, Abs | 042814Pest3, 042314 | Abs 042814Pest3: 15 µl & Abs 042314: 15 µl | 3.9 | TRIFLOXYSTROBIN | . | 2 | 2.47 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63333 | Ab042est3, Ab042314 | Ab | Ab | Ab | 042est3 | 042314 | 042314 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.63333 |  | 0.63333 | 0 | 0
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-09-23 | ng/L | 0.80769 | 2014-09-18 07:30 | 20142620041 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 3.9 | TRIFLOXYSTROBIN | . | 2 | 3.15 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80769 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75641 | 0.13084 | 0.80769 | 0.24615 | 0.18247
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-11-18 | ng/L | 0.85385 | 2014-11-13 07:30 | 20143180048 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 30 µl & ChemService 2609400: 30 µl | 7.8 | TRIFLOXYSTROBIN | . | 2 | 6.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85385 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75641 | 0.13084 | 0.80769 | 0.24615 | 0.18247
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-04-08 | ng/L | 0.60769 | 2015-04-02 06:00 | 20150930002 | Abs, ChemService | 042814Pest3, 2609400 | Abs 042814Pest3: 15 µl & ChemService 2609400: 15 µl | 3.9 | TRIFLOXYSTROBIN | . | 2 | 2.37 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60769 | Ab042est3, Ch2609400 | Ab | Ch | Ch | 042est3 | 2609400 | 2609400 | 042est3 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75641 | 0.13084 | 0.80769 | 0.24615 | 0.18247
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-12-16 | ng/L | 0.76049 | 2014-12-03 06:30 | 20143370093 | ChemService, Abs | 2598800, 042314 | ChemService 2598800: 30 µl & Abs 042314: 30 µl | 8.1 | TRIFLOXYSTROBIN | . | 2 | 6.16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76049 | Ch2598800, Ab042314 | Ch | Ab | Ab | 2598800 | 042314 | 042314 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76049 |  | 0.76049 | 0 | 0
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-04-15 | ng/L | 0.36543 | 2015-04-09 06:30 | 20150990083 | ChemService, Abs | 2598800, 042914 | ChemService 2598800: 15 µl & Abs 042914: 15 µl | 4.05 | TRIFLOXYSTROBIN | . | 2 | 1.48 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36543 | Ch2598800, Ab042914 | Ch | Ab | Ab | 2598800 | 042914 | 042914 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.36543 |  | 0.36543 | 0 | 0
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-05-17 | ng/L | 0.64198 | 2014-05-08 06:00 | 20141290002 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 15 µl & ChemService 2609400: 15 µl | 4.05 | TRIFLOXYSTROBIN | . | 2 | 2.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64198 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69712 | 0.058954 | 0.69012 | 0.11728 | 0.086941
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-06-11 | ng/L | 0.75926 | 2014-05-29 08:30 | 20141490204 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 60 µl & ChemService 2609400: 60 µl | 16.2 | TRIFLOXYSTROBIN | E | 2 | 12.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75926 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.69712 | 0.058954 | 0.69012 | 0.11728 | 0.086941
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-06-26 | ng/L | 0.69012 | 2014-06-12 08:30 | 20141640081 | ChemService, ChemService | 2598800, 2609400 | ChemService 2598800: 30 µl & ChemService 2609400: 30 µl | 8.1 | TRIFLOXYSTROBIN | . | 2 | 5.59 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69012 | Ch2598800, Ch2609400 | Ch | Ch | Ch | 2598800 | 2609400 | 2609400 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.69712 | 0.058954 | 0.69012 | 0.11728 | 0.086941
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-08-12 | ng/L | 0.74237 | 2015-08-06 07:30 | 20152190004 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 5.9 | TRIFLOXYSTROBIN | . | 2 | 4.38 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74237 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71017 | 0.028513 | 0.7 | 0.054237 | 0.040206
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-08-12 | ng/L | 0.7 | 2015-08-06 07:00 | 20152190005 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 5.9 | TRIFLOXYSTROBIN | . | 2 | 4.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71017 | 0.028513 | 0.7 | 0.054237 | 0.040206
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-08-12 | ng/L | 0.68814 | 2015-08-06 06:30 | 20152190006 | ChemService, ChemService, ER | 3995200, 3880100, 0406-15-06 | ChemService 3995200: 20 µl & ChemService 3880100: 20 µl & ERA 0406-15-06: 20 µl | 5.9 | TRIFLOXYSTROBIN | . | 2 | 4.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68814 | Ch3995200, Ch3880100, ER0405-0 | Ch | Ch | ER | 3995200 | 3880100 | 0405-06 |  |  | 0405-06 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71017 | 0.028513 | 0.7 | 0.054237 | 0.040206
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-07-31 | ng/L | 0.58974 | 2014-07-24 08:00 | 20142060046 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 3.9 | TRIFLOXYSTROBIN | . | 2 | 2.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58974 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63846 | 0.068898 | 0.63846 | 0.097436 | 0.072228
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-04-09 | ng/L | 0.68718 | 2015-03-26 06:30 | 20150850163 | ERA, Abs | 0321-14-07, 042814Pest3 | ERA 0321-14-07: 15 µl & Abs 042814Pest3: 15 µl | 3.9 | TRIFLOXYSTROBIN | . | 2 | 2.68 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68718 | ER0324-07, Ab042est3 | ER | Ab | Ab | 0324-07 | 042est3 | 042est3 | 0324-07 | 042est3 | 042est3 | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.63846 | 0.068898 | 0.63846 | 0.097436 | 0.072228
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-08-17 | ng/L | 0.68889 | 2014-08-07 09:00 | 20142200170 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 15 µl & ChemService 2598800: 15 µl | 4.05 | TRIFLOXYSTROBIN | . | 2 | 2.79 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.68889 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73642 | 0.067219 | 0.73642 | 0.095062 | 0.070468
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2014-10-07 | ng/L | 0.78395 | 2014-10-02 07:30 | 20142760029 | ERA, ChemService | 0321-14-07, 2598800 | ERA 0321-14-07: 30 µl & ChemService 2598800: 30 µl | 8.1 | TRIFLOXYSTROBIN | . | 2 | 6.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78395 | ER0324-07, Ch2598800 | ER | Ch | Ch | 0324-07 | 2598800 | 2598800 | 0324-07 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73642 | 0.067219 | 0.73642 | 0.095062 | 0.070468
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-08-04 | ng/L | 1.0567 | 2015-07-23 06:30 | 20152040178 | ERA, ChemService, ChemServic | 0406-15-05, 4047100, 3880200 | ERA 0406-15-05: 10 µl & ChemService 4047100: 10 µl & ChemService 3880200: 10 µl | 3 | TRIFLOXYSTROBIN | . | 2 | 3.17 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0567 | ER0405-05, Ch4047100, Ch388020 | ER | Ch | Ch | 0405-05 | 4047100 | 3880200 | 0405-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0567 |  | 1.0567 | 0 | 0
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-08-11 | ng/L | 0.79661 | 2015-07-30 08:00 | 20152110201 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 2.95 | TRIFLOXYSTROBIN | . | 2 | 2.35 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79661 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85989 | 0.054904 | 0.88814 | 0.098305 | 0.072873
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-08-11 | ng/L | 0.89492 | 2015-07-30 07:30 | 20152110200 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 2.95 | TRIFLOXYSTROBIN | . | 2 | 2.64 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89492 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85989 | 0.054904 | 0.88814 | 0.098305 | 0.072873
TRIFLOXYSTROBIN | 2437 | 66660LCM60 | 2015-08-11 | ng/L | 0.88814 | 2015-07-30 07:00 | 20152110202 | ERA, ERA | 0406-15-06, 0406-15-04 | ERA 0406-15-06: 10 µl & ERA 0406-15-04: 10 µl | 2.95 | TRIFLOXYSTROBIN | . | 2 | 2.62 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88814 | ER0405-06, ER0405-04 | ER | ER | ER | 0405-06 | 0405-04 | 0405-04 | 0405-06 | 0405-04 | 0405-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85989 | 0.054904 | 0.88814 | 0.098305 | 0.072873