## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-05-17 | ng/L | 0.72202 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 16.62 | 10-HYDROXY-AMITRIPTYLINE | . | 8.3 | 12 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72202 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.61472 | 0.10397 | 0.6077 | 0.20758 | 0.15388
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-06-11 | ng/L | 0.51444 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 33.24 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 17.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51444 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.61472 | 0.10397 | 0.6077 | 0.20758 | 0.15388
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-06-28 | ng/L | 0.6077 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 16.62 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 10.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6077 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.61472 | 0.10397 | 0.6077 | 0.20758 | 0.15388
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-05-21 | ng/L | 0.60168 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 33.24 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 20 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.60168 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.49739 | 0.16778 | 0.58664 | 0.29783 | 0.22078
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-07-12 | ng/L | 0.58664 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 33.24 | 10-HYDROXY-AMITRIPTYLINE | . | 8.3 | 19.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58664 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.49739 | 0.16778 | 0.58664 | 0.29783 | 0.22078
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-10-10 | ng/L | 0.30385 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 16.62 | 10-HYDROXY-AMITRIPTYLINE | . | 8.3 | 5.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30385 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.49739 | 0.16778 | 0.58664 | 0.29783 | 0.22078
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-11-04 | ng/L | 0.33563 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 17.728 | 10-HYDROXY-AMITRIPTYLINE | . | 8.3 | 5.95 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.33563 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.40656 | 0.10356 | 0.38442 | 0.16161 | 0.1198
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-12-06 | ng/L | 0.31588 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 33.24 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31588 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.40656 | 0.10356 | 0.38442 | 0.16161 | 0.1198
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-01-16 | ng/L | 0.43321 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 33.24 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43321 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.40656 | 0.10356 | 0.38442 | 0.16161 | 0.1198
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-05-07 | ng/L | 0.54152 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 33.24 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54152 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.40656 | 0.10356 | 0.38442 | 0.16161 | 0.1198
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-07-09 | ng/L | 0.47196 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 12.48 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 5.89 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47196 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.47196 |  | 0.47196 | 0 | 0
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-06-26 | ng/L | 0.50801 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 12.48 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 6.34 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50801 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.5625 | 0.077057 | 0.5625 | 0.10897 | 0.080782
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-07-31 | ng/L | 0.61699 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 24.96 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61699 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.5625 | 0.077057 | 0.5625 | 0.10897 | 0.080782
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-10-01 | ng/L | 1.5024 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 49.92 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 75 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5024 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.5024 |  | 1.5024 | 0 | 0
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-09-10 | ng/L | 0.62099 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 24.96 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 15.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62099 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.62099 |  | 0.62099 | 0 | 0
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-07-20 | ng/L | 0.36462 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 16.62 | 10-HYDROXY-AMITRIPTYLINE | . | 8.3 | 6.06 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.36462 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.4284 | 0.061513 | 0.43321 | 0.12274 | 0.090989
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2014-08-21 | ng/L | 0.43321 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 33.24 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43321 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.4284 | 0.061513 | 0.43321 | 0.12274 | 0.090989
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-03-11 | ng/L | 0.48736 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 33.24 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 16.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.48736 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.4284 | 0.061513 | 0.43321 | 0.12274 | 0.090989
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-10-01 | ng/L | 1.1378 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 12.48 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1378 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.1378 |  | 1.1378 | 0 | 0
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-09-09 | ng/L | 0.65545 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 12.48 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 8.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65545 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.65545 |  | 0.65545 | 0 | 0
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-10-01 | ng/L | 0.82131 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 24.96 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 20.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82131 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.82131 |  | 0.82131 | 0 | 0
10-HYDROXY-AMITRIPTYLINE | 2440 | 67995LCM56 | 2015-07-31 | ng/L | 0.84135 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 24.96 | 10-HYDROXY-AMITRIPTYLINE | E | 8.3 | 21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84135 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.84135 |  | 0.84135 | 0 | 0