## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-05-21 | ng/L | 0.71078 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 28.56 | ACETAMINOPHEN | . | 7.13 | 20.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71078 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63329 | 0.090174 | 0.65476 | 0.17647 | 0.13082
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-07-12 | ng/L | 0.65476 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 28.56 | ACETAMINOPHEN | . | 7.13 | 18.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65476 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63329 | 0.090174 | 0.65476 | 0.17647 | 0.13082
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-10-10 | ng/L | 0.53431 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 14.28 | ACETAMINOPHEN | . | 7.13 | 7.63 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53431 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63329 | 0.090174 | 0.65476 | 0.17647 | 0.13082
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-11-04 | ng/L | 1.0026 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 15.36 | ACETAMINOPHEN | E | 7.13 | 15.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0026 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.87652 | 0.13253 | 0.90625 | 0.17318 | 0.12837
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-12-06 | ng/L | 0.69097 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 28.8 | ACETAMINOPHEN | . | 7.13 | 19.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69097 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87652 | 0.13253 | 0.90625 | 0.17318 | 0.12837
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-01-16 | ng/L | 0.88889 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 28.8 | ACETAMINOPHEN | . | 7.13 | 25.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88889 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87652 | 0.13253 | 0.90625 | 0.17318 | 0.12837
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-05-07 | ng/L | 0.92361 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 28.8 | ACETAMINOPHEN | . | 7.13 | 26.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92361 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.87652 | 0.13253 | 0.90625 | 0.17318 | 0.12837
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-05-30 | ng/L | 0.84734 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 14.28 | ACETAMINOPHEN | . | 7.13 | 12.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84734 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.73074 | 0.16489 | 0.73074 | 0.23319 | 0.17286
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-07-13 | ng/L | 0.61415 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 14.28 | ACETAMINOPHEN | E | 7.13 | 8.77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61415 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.73074 | 0.16489 | 0.73074 | 0.23319 | 0.17286
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-10-10 | ng/L | 0.52101 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 14.28 | ACETAMINOPHEN | . | 7.13 | 7.44 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52101 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71755 | 0.17197 | 0.79132 | 0.31933 | 0.23671
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-11-04 | ng/L | 0.84034 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 15.232 | ACETAMINOPHEN | E | 7.13 | 12.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84034 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71755 | 0.17197 | 0.79132 | 0.31933 | 0.23671
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-02-06 | ng/L | 0.79132 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 28.56 | ACETAMINOPHEN | . | 7.13 | 22.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79132 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71755 | 0.17197 | 0.79132 | 0.31933 | 0.23671
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-06-26 | ng/L | 0.80414 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 10.62 | ACETAMINOPHEN | . | 7.13 | 8.54 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80414 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93173 | 0.18044 | 0.93173 | 0.25518 | 0.18916
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-07-31 | ng/L | 1.0593 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 21.24 | ACETAMINOPHEN | . | 7.13 | 22.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0593 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.93173 | 0.18044 | 0.93173 | 0.25518 | 0.18916
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-09-10 | ng/L | 0.91808 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 21.24 | ACETAMINOPHEN | . | 7.13 | 19.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91808 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.91808 |  | 0.91808 | 0 | 0
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-08-30 | ng/L | 0.96528 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 14.4 | ACETAMINOPHEN | . | 7.13 | 13.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.96528 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.96528 |  | 0.96528 | 0 | 0
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-10-11 | ng/L | 0.50486 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 15.232 | ACETAMINOPHEN | . | 7.13 | 7.69 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50486 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0906 | 0.79842 | 0.76681 | 1.4951 | 1.1083
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-03-10 | ng/L | 0.76681 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 28.56 | ACETAMINOPHEN | . | 7.13 | 21.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76681 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0906 | 0.79842 | 0.76681 | 1.4951 | 1.1083
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-04-10 | ng/L | 7.2873 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 15.232 | ACETAMINOPHEN | . | 7.13 | 111 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.0906 | 0.79842 | 0.76681 | 1.4951 | 1.1083 | 2
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-07-13 | ng/L | 0.58403 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 14.4 | ACETAMINOPHEN | . | 7.13 | 8.41 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58403 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55093 | 0.050862 | 0.57639 | 0.091667 | 0.067952
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-08-16 | ng/L | 0.49236 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 14.4 | ACETAMINOPHEN | E | 7.13 | 7.09 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.49236 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.55093 | 0.050862 | 0.57639 | 0.091667 | 0.067952
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-08-28 | ng/L | 0.57639 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 28.8 | ACETAMINOPHEN | . | 7.13 | 16.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.57639 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.55093 | 0.050862 | 0.57639 | 0.091667 | 0.067952
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-10-24 | ng/L | 0.76823 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 15.36 | ACETAMINOPHEN | . | 7.13 | 11.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76823 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76186 | 0.013345 | 0.76823 | 0.024306 | 0.018017
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-12-07 | ng/L | 0.74653 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 28.8 | ACETAMINOPHEN | . | 7.13 | 21.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74653 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76186 | 0.013345 | 0.76823 | 0.024306 | 0.018017
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-03-10 | ng/L | 0.77083 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 28.8 | ACETAMINOPHEN | . | 7.13 | 22.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77083 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76186 | 0.013345 | 0.76823 | 0.024306 | 0.018017
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-04-29 | ng/L | 1.1042 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 28.8 | ACETAMINOPHEN | . | 7.13 | 31.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1042 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.1042 |  | 1.1042 | 0 | 0
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-09-09 | ng/L | 0.88136 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 10.62 | ACETAMINOPHEN | . | 7.13 | 9.36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88136 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88136 |  | 0.88136 | 0 | 0
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-10-01 | ng/L | 0.74488 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 21.48 | ACETAMINOPHEN | . | 7.13 | 16 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74488 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.74488 |  | 0.74488 | 0 | 0
ACETAMINOPHEN | 2440 | 67436LCM56 | 2015-07-31 | ng/L | 1.3268 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 21.48 | ACETAMINOPHEN | . | 7.13 | 28.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3268 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.3268 |  | 1.3268 | 0 | 0
ACETAMINOPHEN | 2440 | 67436LCM56 | 2014-04-23 | ng/L | 0.548 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 15 | ACETAMINOPHEN | . | 7.13 | 8.22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.548 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.548 |  | 0.548 | 0 | 0