## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACYCLOVIR | 2440 | 67484LCM56 | 2014-05-17 | ng/L | 0.2822 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 44.295 | ACYCLOVIR | E | 22.2 | 12.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.2822 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.23374 | 0.042793 | 0.21786 | 0.081048 | 0.06008
ACYCLOVIR | 2440 | 67484LCM56 | 2014-06-11 | ng/L | 0.21786 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 88.59 | ACYCLOVIR | . | 22.2 | 19.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.21786 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.23374 | 0.042793 | 0.21786 | 0.081048 | 0.06008
ACYCLOVIR | 2440 | 67484LCM56 | 2014-06-28 | ng/L | 0.20115 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 44.295 | ACYCLOVIR | . | 22.2 | 8.91 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.20115 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.23374 | 0.042793 | 0.21786 | 0.081048 | 0.06008
ACYCLOVIR | 2440 | 67484LCM56 | 2014-09-12 | ng/L | 0.47184 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 44.295 | ACYCLOVIR | . | 22.2 | 20.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.47184 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.62288 | 0.11326 | 0.6384 | 0.15535 | 0.11516
ACYCLOVIR | 2440 | 67484LCM56 | 2014-10-25 | ng/L | 0.61858 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 88.59 | ACYCLOVIR | . | 22.2 | 54.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61858 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.62288 | 0.11326 | 0.6384 | 0.15535 | 0.11516
ACYCLOVIR | 2440 | 67484LCM56 | 2015-02-10 | ng/L | 0.65823 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 47.248 | ACYCLOVIR | . | 22.2 | 31.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65823 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.62288 | 0.11326 | 0.6384 | 0.15535 | 0.11516
ACYCLOVIR | 2440 | 67484LCM56 | 2015-04-30 | ng/L | 0.74289 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 47.248 | ACYCLOVIR | . | 22.2 | 35.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74289 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.62288 | 0.11326 | 0.6384 | 0.15535 | 0.11516
ACYCLOVIR | 2440 | 67484LCM56 | 2014-05-30 | ng/L | 1.1446 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 44.295 | ACYCLOVIR | . | 22.2 | 50.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1446 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3019 | 0.14247 | 1.3388 | 0.27768 | 0.20584
ACYCLOVIR | 2440 | 67484LCM56 | 2014-06-22 | ng/L | 1.4223 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 88.59 | ACYCLOVIR | E | 22.2 | 126 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.4223 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 1.3019 | 0.14247 | 1.3388 | 0.27768 | 0.20584
ACYCLOVIR | 2440 | 67484LCM56 | 2014-07-13 | ng/L | 1.3388 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 44.295 | ACYCLOVIR | . | 22.2 | 59.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.3388 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 1.3019 | 0.14247 | 1.3388 | 0.27768 | 0.20584
ACYCLOVIR | 2440 | 67484LCM56 | 2014-10-10 | ng/L | 3.6261 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 44.4 | ACYCLOVIR | . | 22.2 | 161 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2014-11-04 | ng/L | 2.9139 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 47.36 | ACYCLOVIR | . | 22.2 | 138 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2015-02-06 | ng/L | 2.8941 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 88.8 | ACYCLOVIR | . | 22.2 | 257 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2015-07-09 | ng/L | 2.2517 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 33.22 | ACYCLOVIR | . | 22.2 | 74.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2015-06-26 | ng/L | 2.1884 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 33.22 | ACYCLOVIR | . | 22.2 | 72.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 2 | 0 | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2015-07-31 | ng/L | 2.1222 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 66.44 | ACYCLOVIR | . | 22.2 | 141 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 2 | 0 | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2015-10-01 | ng/L | 2.3054 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 133.6 | ACYCLOVIR | . | 22.2 | 308 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2014-07-20 | ng/L | 0.34009 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 44.4 | ACYCLOVIR | . | 22.2 | 15.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.34009 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.49174 | 0.34469 | 0.34009 | 0.63739 | 0.47249
ACYCLOVIR | 2440 | 67484LCM56 | 2014-08-21 | ng/L | 0.24887 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 88.8 | ACYCLOVIR | . | 22.2 | 22.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24887 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.49174 | 0.34469 | 0.34009 | 0.63739 | 0.47249
ACYCLOVIR | 2440 | 67484LCM56 | 2015-03-11 | ng/L | 0.88626 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 88.8 | ACYCLOVIR | . | 22.2 | 78.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88626 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.49174 | 0.34469 | 0.34009 | 0.63739 | 0.47249
ACYCLOVIR | 2440 | 67484LCM56 | 2014-10-11 | ng/L | 0.59685 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 88.8 | ACYCLOVIR | . | 22.2 | 53 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59685 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63514 | 0.039463 | 0.63288 | 0.078829 | 0.058435
ACYCLOVIR | 2440 | 67484LCM56 | 2014-12-06 | ng/L | 0.63288 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 88.8 | ACYCLOVIR | . | 22.2 | 56.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63288 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63514 | 0.039463 | 0.63288 | 0.078829 | 0.058435
ACYCLOVIR | 2440 | 67484LCM56 | 2014-12-07 | ng/L | 0.67568 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 47.36 | ACYCLOVIR | . | 22.2 | 32 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67568 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63514 | 0.039463 | 0.63288 | 0.078829 | 0.058435
ACYCLOVIR | 2440 | 67484LCM56 | 2014-08-30 | ng/L | 3.7613 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 44.4 | ACYCLOVIR | . | 22.2 | 167 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2014-10-24 | ng/L | 3.4287 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 47.248 | ACYCLOVIR | . | 22.2 | 162 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2014-12-07 | ng/L | 3.0929 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 88.59 | ACYCLOVIR | . | 22.2 | 274 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2015-03-10 | ng/L | 3.9508 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 88.59 | ACYCLOVIR | . | 22.2 | 350 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 2 | 0 | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2015-04-29 | ng/L | 4.3243 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 88.8 | ACYCLOVIR | . | 22.2 | 384 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 2 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 2 |  | 2 | 0 | 0 | 2
ACYCLOVIR | 2440 | 67484LCM56 | 2015-10-01 | ng/L | 1.503 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 33.4 | ACYCLOVIR | . | 22.2 | 50.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.503 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.503 |  | 1.503 | 0 | 0
ACYCLOVIR | 2440 | 67484LCM56 | 2015-10-01 | ng/L | 1.8713 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 66.8 | ACYCLOVIR | . | 22.2 | 125 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.8713 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.8713 |  | 1.8713 | 0 | 0
ACYCLOVIR | 2440 | 67484LCM56 | 2015-07-31 | ng/L | 1.5269 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 66.8 | ACYCLOVIR | . | 22.2 | 102 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.5269 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.5269 |  | 1.5269 | 0 | 0