## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-05-17 | ng/L | 0.87336 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 12.0225 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87336 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82484 | 0.04248 | 0.80682 | 0.079019 | 0.058576
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-06-11 | ng/L | 0.79434 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 24.045 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 19.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79434 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82484 | 0.04248 | 0.80682 | 0.079019 | 0.058576
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-06-28 | ng/L | 0.80682 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 12.0225 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 9.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80682 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82484 | 0.04248 | 0.80682 | 0.079019 | 0.058576
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-09-12 | ng/L | 0.24121 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 12.0225 | ALBUTEROL_(SALBUTAMOL) | E | 6.7 | 2.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.24121 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.70311 | 0.33588 | 0.76705 | 0.44968 | 0.33334
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-10-25 | ng/L | 0.71533 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 24.045 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71533 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.70311 | 0.33588 | 0.76705 | 0.44968 | 0.33334
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-02-10 | ng/L | 0.81878 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 12.824 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81878 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.70311 | 0.33588 | 0.76705 | 0.44968 | 0.33334
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-04-30 | ng/L | 1.0371 | 2015-04-09 07:00 | 20150990082 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 12.824 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 13.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0371 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.70311 | 0.33588 | 0.76705 | 0.44968 | 0.33334
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-05-30 | ng/L | 0.79185 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 12.0225 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 9.52 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79185 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76995 | 0.12826 | 0.79185 | 0.25369 | 0.18806
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-06-22 | ng/L | 0.88584 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 24.045 | ALBUTEROL_(SALBUTAMOL) | E | 6.7 | 21.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88584 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.76995 | 0.12826 | 0.79185 | 0.25369 | 0.18806
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-07-13 | ng/L | 0.63215 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 12.0225 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 7.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.63215 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.76995 | 0.12826 | 0.79185 | 0.25369 | 0.18806
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-10-10 | ng/L | 0.43292 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 12.15 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 5.26 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.43292 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70226 | 0.23403 | 0.8179 | 0.42305 | 0.3136
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-11-04 | ng/L | 0.8179 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 12.96 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 10.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8179 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70226 | 0.23403 | 0.8179 | 0.42305 | 0.3136
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-02-06 | ng/L | 0.85597 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 24.3 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85597 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.70226 | 0.23403 | 0.8179 | 0.42305 | 0.3136
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-07-09 | ng/L | 1.0479 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 10.02 | ALBUTEROL_(SALBUTAMOL) | E | 6.7 | 10.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0479 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 1.0479 |  | 1.0479 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-06-26 | ng/L | 0.71657 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 10.02 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 7.18 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71657 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.79491 | 0.11079 | 0.79491 | 0.15669 | 0.11615
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-07-31 | ng/L | 0.87325 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 20.04 | ALBUTEROL_(SALBUTAMOL) | E | 6.7 | 17.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87325 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.79491 | 0.11079 | 0.79491 | 0.15669 | 0.11615
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-10-01 | ng/L | 0.52042 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 40.16 | ALBUTEROL_(SALBUTAMOL) | E | 6.7 | 20.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52042 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52042 |  | 0.52042 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-09-10 | ng/L | 0.88323 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 20.04 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 17.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88323 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88323 |  | 0.88323 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-07-20 | ng/L | 0.58683 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 12.15 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 7.13 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58683 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68669 | 0.17154 | 0.58848 | 0.29794 | 0.22086
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-08-21 | ng/L | 0.58848 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 24.3 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 14.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58848 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68669 | 0.17154 | 0.58848 | 0.29794 | 0.22086
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-03-11 | ng/L | 0.88477 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 24.3 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 21.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88477 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68669 | 0.17154 | 0.58848 | 0.29794 | 0.22086
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-10-11 | ng/L | 0.59259 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 24.3 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 14.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59259 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63014 | 0.037811 | 0.62963 | 0.075617 | 0.056054
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-12-06 | ng/L | 0.62963 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 24.3 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 15.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62963 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63014 | 0.037811 | 0.62963 | 0.075617 | 0.056054
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-12-07 | ng/L | 0.66821 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 12.96 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 8.66 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66821 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.63014 | 0.037811 | 0.62963 | 0.075617 | 0.056054
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-08-30 | ng/L | 0.83951 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 12.15 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 10.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83951 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83951 |  | 0.83951 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-10-24 | ng/L | 0.84217 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 12.824 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 10.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84217 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82415 | 0.10103 | 0.84217 | 0.19963 | 0.14798
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-12-07 | ng/L | 0.71533 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 24.045 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71533 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82415 | 0.10103 | 0.84217 | 0.19963 | 0.14798
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-03-10 | ng/L | 0.91495 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 24.045 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 22 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.91495 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.82415 | 0.10103 | 0.84217 | 0.19963 | 0.14798
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-04-29 | ng/L | 1.0576 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 24.3 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 25.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0576 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0576 |  | 1.0576 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-10-01 | ng/L | 0.40339 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 10.04 | ALBUTEROL_(SALBUTAMOL) | E | 6.7 | 4.05 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40339 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.40339 |  | 0.40339 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-09-09 | ng/L | 0.79641 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 10.02 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 7.98 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79641 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.79641 |  | 0.79641 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-10-01 | ng/L | 0.75199 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 20.08 | ALBUTEROL_(SALBUTAMOL) | E | 6.7 | 15.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75199 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.75199 |  | 0.75199 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2015-07-31 | ng/L | 0.98606 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 20.08 | ALBUTEROL_(SALBUTAMOL) | E | 6.7 | 19.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.98606 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.98606 |  | 0.98606 | 0 | 0
ALBUTEROL (SALBUTAMOL) | 2440 | 67437LCM56 | 2014-04-23 | ng/L | 0.597 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 10 | ALBUTEROL_(SALBUTAMOL) | . | 6.7 | 5.97 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.597 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.597 |  | 0.597 | 0 | 0