## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-05-21 | ng/L | 0.84701 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 84.06 | ALPRAZOLAM | E | 21.3 | 71.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84701 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.81608 | 0.053573 | 0.84701 | 0.092791 | 0.068785
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-07-12 | ng/L | 0.84701 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 84.06 | ALPRAZOLAM | . | 21.3 | 71.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84701 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81608 | 0.053573 | 0.84701 | 0.092791 | 0.068785
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-10-10 | ng/L | 0.75422 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 42.03 | ALPRAZOLAM | . | 21.3 | 31.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75422 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.81608 | 0.053573 | 0.84701 | 0.092791 | 0.068785
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-05-30 | ng/L | 0.77326 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 42.03 | ALPRAZOLAM | . | 21.3 | 32.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77326 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95765 | 0.16154 | 1.0255 | 0.30098 | 0.22311
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-06-22 | ng/L | 1.0742 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 84.06 | ALPRAZOLAM | . | 21.3 | 90.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0742 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95765 | 0.16154 | 1.0255 | 0.30098 | 0.22311
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-07-13 | ng/L | 1.0255 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 42.03 | ALPRAZOLAM | . | 21.3 | 43.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0255 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.95765 | 0.16154 | 1.0255 | 0.30098 | 0.22311
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-10-10 | ng/L | 0.78039 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 42.03 | ALPRAZOLAM | . | 21.3 | 32.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78039 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86649 | 0.07629 | 0.89341 | 0.14528 | 0.1077
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-11-04 | ng/L | 0.92568 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 44.832 | ALPRAZOLAM | E | 21.3 | 41.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92568 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.86649 | 0.07629 | 0.89341 | 0.14528 | 0.1077
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-02-06 | ng/L | 0.89341 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 84.06 | ALPRAZOLAM | . | 21.3 | 75.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89341 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86649 | 0.07629 | 0.89341 | 0.14528 | 0.1077
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-07-30 | ng/L | 0.76524 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 63.64 | ALPRAZOLAM | E | 21.3 | 48.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76524 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64818 | 0.16555 | 0.64818 | 0.23413 | 0.17356
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-08-11 | ng/L | 0.53111 | 2015-07-30 08:30 | 20152110203 | Abs, Abs | 050115, 051315 | Abs 050115: 20 µl & Abs 051315: 20 µl | 31.82 | ALPRAZOLAM | E | 21.3 | 16.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53111 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64818 | 0.16555 | 0.64818 | 0.23413 | 0.17356
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-06-09 | ng/L | 0.99623 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 31.82 | ALPRAZOLAM | . | 21.3 | 31.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99623 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.99623 |  | 0.99623 | 0 | 0
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-06-26 | ng/L | 0.75739 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 31.82 | ALPRAZOLAM | . | 21.3 | 24.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75739 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.67175 | 0.12111 | 0.67175 | 0.17128 | 0.12697
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-07-31 | ng/L | 0.58611 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 63.64 | ALPRAZOLAM | E | 21.3 | 37.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58611 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.67175 | 0.12111 | 0.67175 | 0.17128 | 0.12697
ALPRAZOLAM | 2440 | 68250LCM56 | 2014-10-11 | ng/L | 0.72716 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 44.832 | ALPRAZOLAM | . | 21.3 | 32.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72716 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85207 | 0.109 | 0.90114 | 0.20075 | 0.14881
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-03-10 | ng/L | 0.92791 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 84.06 | ALPRAZOLAM | . | 21.3 | 78 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92791 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85207 | 0.109 | 0.90114 | 0.20075 | 0.14881
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-04-10 | ng/L | 0.90114 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 44.832 | ALPRAZOLAM | . | 21.3 | 40.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90114 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.85207 | 0.109 | 0.90114 | 0.20075 | 0.14881
ALPRAZOLAM | 2440 | 68250LCM56 | 2015-10-01 | ng/L | 0.50597 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 127.28 | ALPRAZOLAM | E | 21.3 | 64.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50597 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.50597 |  | 0.50597 | 0 | 0