## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-05-21 | ng/L | 0.58829 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 148.905 | AMITRIPTYLINE | E | 37.2 | 87.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58829 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.57442 | 0.063602 | 0.58829 | 0.12491 | 0.092596
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-07-12 | ng/L | 0.62993 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 148.905 | AMITRIPTYLINE | E | 37.2 | 93.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.62993 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.57442 | 0.063602 | 0.58829 | 0.12491 | 0.092596
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-10-10 | ng/L | 0.50502 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 74.4525 | AMITRIPTYLINE | E | 37.2 | 37.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50502 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.57442 | 0.063602 | 0.58829 | 0.12491 | 0.092596
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-11-04 | ng/L | 0.35025 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 78.8 | AMITRIPTYLINE | E | 37.2 | 27.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.35025 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.47555 | 0.095419 | 0.50017 | 0.14873 | 0.11025
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-12-06 | ng/L | 0.45212 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 147.75 | AMITRIPTYLINE | E | 37.2 | 66.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.45212 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.47555 | 0.095419 | 0.50017 | 0.14873 | 0.11025
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-01-16 | ng/L | 0.54822 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 147.75 | AMITRIPTYLINE | E | 37.2 | 81 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.54822 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.47555 | 0.095419 | 0.50017 | 0.14873 | 0.11025
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-05-07 | ng/L | 0.55161 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 147.75 | AMITRIPTYLINE | E | 37.2 | 81.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.55161 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 4 | 0.47555 | 0.095419 | 0.50017 | 0.14873 | 0.11025
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-05-30 | ng/L | 0.53726 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 74.4525 | AMITRIPTYLINE | E | 37.2 | 40 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53726 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.62143 | 0.10003 | 0.59501 | 0.19476 | 0.14437
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-06-22 | ng/L | 0.73201 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 148.905 | AMITRIPTYLINE | E | 37.2 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73201 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.62143 | 0.10003 | 0.59501 | 0.19476 | 0.14437
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-07-13 | ng/L | 0.59501 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 74.4525 | AMITRIPTYLINE | E | 37.2 | 44.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59501 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.62143 | 0.10003 | 0.59501 | 0.19476 | 0.14437
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-10-10 | ng/L | 0.51711 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 74.4525 | AMITRIPTYLINE | E | 37.2 | 38.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51711 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.44934 | 0.11219 | 0.51106 | 0.19727 | 0.14624
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-11-04 | ng/L | 0.31983 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 79.416 | AMITRIPTYLINE | E | 37.2 | 25.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.31983 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.44934 | 0.11219 | 0.51106 | 0.19727 | 0.14624
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-02-06 | ng/L | 0.51106 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 148.905 | AMITRIPTYLINE | E | 37.2 | 76.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51106 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.44934 | 0.11219 | 0.51106 | 0.19727 | 0.14624
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-07-09 | ng/L | 0.50425 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 54.14 | AMITRIPTYLINE | E | 37.2 | 27.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.50425 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.50425 |  | 0.50425 | 0 | 0
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-06-26 | ng/L | 0.65017 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 54.14 | AMITRIPTYLINE | E | 37.2 | 35.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65017 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64093 | 0.013061 | 0.64093 | 0.018471 | 0.013692
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-07-31 | ng/L | 0.6317 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 108.28 | AMITRIPTYLINE | E | 37.2 | 68.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6317 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 2 | 0.64093 | 0.013061 | 0.64093 | 0.018471 | 0.013692
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-10-01 | ng/L | 0.39486 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 221.6 | AMITRIPTYLINE | E | 37.2 | 87.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39486 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.39486 |  | 0.39486 | 0 | 0
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-09-10 | ng/L | 0.65017 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 108.28 | AMITRIPTYLINE | E | 37.2 | 70.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65017 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.65017 |  | 0.65017 | 0 | 0
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-08-30 | ng/L | 0.5577 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 73.875 | AMITRIPTYLINE | E | 37.2 | 41.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.5577 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.5577 |  | 0.5577 | 0 | 0
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-10-11 | ng/L | 0.42687 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 79.416 | AMITRIPTYLINE | E | 37.2 | 33.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.42687 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.46842 | 0.043565 | 0.46464 | 0.086884 | 0.064406
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-03-10 | ng/L | 0.51375 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 148.905 | AMITRIPTYLINE | E | 37.2 | 76.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51375 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.46842 | 0.043565 | 0.46464 | 0.086884 | 0.064406
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-04-10 | ng/L | 0.46464 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 79.416 | AMITRIPTYLINE | E | 37.2 | 36.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.46464 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.46842 | 0.043565 | 0.46464 | 0.086884 | 0.064406
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-07-13 | ng/L | 0.30998 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 73.875 | AMITRIPTYLINE | E | 37.2 | 22.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.30998 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.36526 | 0.12869 | 0.30998 | 0.23892 | 0.17711
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-08-16 | ng/L | 0.27343 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 73.875 | AMITRIPTYLINE | E | 37.2 | 20.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.27343 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.36526 | 0.12869 | 0.30998 | 0.23892 | 0.17711
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-08-28 | ng/L | 0.51235 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 147.75 | AMITRIPTYLINE | E | 37.2 | 75.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51235 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.36526 | 0.12869 | 0.30998 | 0.23892 | 0.17711
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-10-24 | ng/L | 0.44036 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 78.8 | AMITRIPTYLINE | E | 37.2 | 34.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44036 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53077 | 0.079348 | 0.56311 | 0.14848 | 0.11006
AMITRIPTYLINE | 2440 | 67522LCM56 | 2014-12-07 | ng/L | 0.58883 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 147.75 | AMITRIPTYLINE | E | 37.2 | 87 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58883 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53077 | 0.079348 | 0.56311 | 0.14848 | 0.11006
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-03-10 | ng/L | 0.56311 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 147.75 | AMITRIPTYLINE | E | 37.2 | 83.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56311 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.53077 | 0.079348 | 0.56311 | 0.14848 | 0.11006
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-04-29 | ng/L | 0.61997 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 147.75 | AMITRIPTYLINE | E | 37.2 | 91.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61997 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61997 |  | 0.61997 | 0 | 0
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-10-01 | ng/L | 0.12148 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 55.4 | AMITRIPTYLINE | E | 37.2 | 6.73 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.12148 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.12148 |  | 0.12148 | 0 | 0
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-09-09 | ng/L | 0.52826 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 54.14 | AMITRIPTYLINE | E | 37.2 | 28.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.52826 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.52826 |  | 0.52826 | 0 | 0
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-10-01 | ng/L | 0.44404 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 110.8 | AMITRIPTYLINE | E | 37.2 | 49.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.44404 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.44404 |  | 0.44404 | 0 | 0
AMITRIPTYLINE | 2440 | 67522LCM56 | 2015-07-31 | ng/L | 0.61823 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 110.8 | AMITRIPTYLINE | E | 37.2 | 68.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61823 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.61823 |  | 0.61823 | 0 | 0