## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ANTIPYRENE | 2440 | 67477LCM56 | 2014-05-21 | ng/L | 0.89921 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 462.63 | ANTIPYRENE | . | 116 | 416 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89921 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8394 | 0.065432 | 0.84949 | 0.12969 | 0.09614
ANTIPYRENE | 2440 | 67477LCM56 | 2014-07-12 | ng/L | 0.84949 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 462.63 | ANTIPYRENE | . | 116 | 393 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84949 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8394 | 0.065432 | 0.84949 | 0.12969 | 0.09614
ANTIPYRENE | 2440 | 67477LCM56 | 2014-10-10 | ng/L | 0.76951 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 231.315 | ANTIPYRENE | . | 116 | 178 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76951 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.8394 | 0.065432 | 0.84949 | 0.12969 | 0.09614
ANTIPYRENE | 2440 | 67477LCM56 | 2014-11-04 | ng/L | 0.69311 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 249.6 | ANTIPYRENE | . | 116 | 173 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69311 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.7924 | 0.12656 | 0.75107 | 0.16947 | 0.12563
ANTIPYRENE | 2440 | 67477LCM56 | 2014-12-06 | ng/L | 0.72222 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 468 | ANTIPYRENE | . | 116 | 338 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72222 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.7924 | 0.12656 | 0.75107 | 0.16947 | 0.12563
ANTIPYRENE | 2440 | 67477LCM56 | 2015-01-16 | ng/L | 0.77991 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 468 | ANTIPYRENE | . | 116 | 365 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77991 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.7924 | 0.12656 | 0.75107 | 0.16947 | 0.12563
ANTIPYRENE | 2440 | 67477LCM56 | 2015-05-07 | ng/L | 0.97436 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 468 | ANTIPYRENE | . | 116 | 456 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97436 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.7924 | 0.12656 | 0.75107 | 0.16947 | 0.12563
ANTIPYRENE | 2440 | 67477LCM56 | 2014-05-30 | ng/L | 0.86462 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 231.315 | ANTIPYRENE | . | 116 | 200 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86462 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90425 | 0.042376 | 0.89921 | 0.084301 | 0.062491
ANTIPYRENE | 2440 | 67477LCM56 | 2014-06-22 | ng/L | 0.94892 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 462.63 | ANTIPYRENE | . | 116 | 439 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94892 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90425 | 0.042376 | 0.89921 | 0.084301 | 0.062491
ANTIPYRENE | 2440 | 67477LCM56 | 2014-07-13 | ng/L | 0.89921 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 231.315 | ANTIPYRENE | . | 116 | 208 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.89921 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.90425 | 0.042376 | 0.89921 | 0.084301 | 0.062491
ANTIPYRENE | 2440 | 67477LCM56 | 2014-10-10 | ng/L | 0.6917 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 231.315 | ANTIPYRENE | . | 116 | 160 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6917 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78176 | 0.079665 | 0.81058 | 0.15131 | 0.11216
ANTIPYRENE | 2440 | 67477LCM56 | 2014-11-04 | ng/L | 0.81058 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 246.736 | ANTIPYRENE | . | 116 | 200 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.81058 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78176 | 0.079665 | 0.81058 | 0.15131 | 0.11216
ANTIPYRENE | 2440 | 67477LCM56 | 2015-02-06 | ng/L | 0.84301 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 462.63 | ANTIPYRENE | . | 116 | 390 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.84301 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.78176 | 0.079665 | 0.81058 | 0.15131 | 0.11216
ANTIPYRENE | 2440 | 67477LCM56 | 2015-07-09 | ng/L | 0.76905 | 2015-06-18 07:00 | 20151690193 | Abs, Abs | 050115, 052215 | Abs 050115: 20 µl & Abs 052215: 20 µl | 174.24 | ANTIPYRENE | . | 116 | 134 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76905 | Ab050115, Ab052215 | Ab | Ab | Ab | 050115 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.76905 |  | 0.76905 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2015-06-26 | ng/L | 0.78053 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 174.24 | ANTIPYRENE | . | 116 | 136 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78053 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75184 | 0.040582 | 0.75184 | 0.057392 | 0.042544
ANTIPYRENE | 2440 | 67477LCM56 | 2015-07-31 | ng/L | 0.72314 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 348.48 | ANTIPYRENE | . | 116 | 252 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72314 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.75184 | 0.040582 | 0.75184 | 0.057392 | 0.042544
ANTIPYRENE | 2440 | 67477LCM56 | 2015-10-01 | ng/L | 0.75086 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 695.2 | ANTIPYRENE | . | 116 | 522 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75086 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75086 |  | 0.75086 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2015-09-10 | ng/L | 0.9728 | 2015-08-20 07:00 | 20152330041 | Abs, ERA | 052215, 0406-15-07A | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl | 348.48 | ANTIPYRENE | E | 116 | 339 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.9728 | Ab052215, ER040-07A | Ab | ER | ER | 052215 | 040-07A | 040-07A |  | 040-07A | 040-07A | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.9728 |  | 0.9728 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2014-08-30 | ng/L | 0.82051 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 234 | ANTIPYRENE | . | 116 | 192 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82051 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82051 |  | 0.82051 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2014-10-11 | ng/L | 0.64847 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 246.736 | ANTIPYRENE | . | 116 | 160 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64847 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77357 | 0.11995 | 0.78464 | 0.23912 | 0.17726
ANTIPYRENE | 2440 | 67477LCM56 | 2015-03-10 | ng/L | 0.78464 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 462.63 | ANTIPYRENE | . | 116 | 363 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78464 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77357 | 0.11995 | 0.78464 | 0.23912 | 0.17726
ANTIPYRENE | 2440 | 67477LCM56 | 2015-04-10 | ng/L | 0.88759 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 246.736 | ANTIPYRENE | . | 116 | 219 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88759 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.77357 | 0.11995 | 0.78464 | 0.23912 | 0.17726
ANTIPYRENE | 2440 | 67477LCM56 | 2014-07-13 | ng/L | 0.90171 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 234 | ANTIPYRENE | . | 116 | 211 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90171 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6406 | 0.24769 | 0.61111 | 0.49274 | 0.36526
ANTIPYRENE | 2440 | 67477LCM56 | 2014-08-16 | ng/L | 0.40897 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 234 | ANTIPYRENE | . | 116 | 95.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.40897 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6406 | 0.24769 | 0.61111 | 0.49274 | 0.36526
ANTIPYRENE | 2440 | 67477LCM56 | 2014-08-28 | ng/L | 0.61111 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 468 | ANTIPYRENE | . | 116 | 286 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.61111 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.6406 | 0.24769 | 0.61111 | 0.49274 | 0.36526
ANTIPYRENE | 2440 | 67477LCM56 | 2014-10-24 | ng/L | 0.74519 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 249.6 | ANTIPYRENE | . | 116 | 186 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74519 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80324 | 0.072579 | 0.77991 | 0.13942 | 0.10335
ANTIPYRENE | 2440 | 67477LCM56 | 2014-12-07 | ng/L | 0.77991 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 468 | ANTIPYRENE | . | 116 | 365 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.77991 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80324 | 0.072579 | 0.77991 | 0.13942 | 0.10335
ANTIPYRENE | 2440 | 67477LCM56 | 2015-03-10 | ng/L | 0.88462 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 468 | ANTIPYRENE | . | 116 | 414 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88462 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80324 | 0.072579 | 0.77991 | 0.13942 | 0.10335
ANTIPYRENE | 2440 | 67477LCM56 | 2015-04-29 | ng/L | 1.0021 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 468 | ANTIPYRENE | . | 116 | 469 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0021 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0021 |  | 1.0021 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2015-10-01 | ng/L | 0.58113 | 2015-09-10 08:30 | 20152530083 | ERA, ERA | 0406-15-07A, 0406-15-09 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl | 173.8 | ANTIPYRENE | . | 116 | 101 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.58113 | ER040-07A, ER0405-09 | ER | ER | ER | 040-07A | 0405-09 | 0405-09 | 040-07A | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.58113 |  | 0.58113 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2015-09-09 | ng/L | 0.83792 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 174.24 | ANTIPYRENE | . | 116 | 146 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83792 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.83792 |  | 0.83792 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2015-10-01 | ng/L | 0.75949 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 347.6 | ANTIPYRENE | . | 116 | 264 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75949 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75949 |  | 0.75949 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2015-07-31 | ng/L | 0.95512 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 347.6 | ANTIPYRENE | . | 116 | 332 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.95512 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.95512 |  | 0.95512 | 0 | 0
ANTIPYRENE | 2440 | 67477LCM56 | 2014-04-23 | ng/L | 0.82174 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 230 | ANTIPYRENE | . | 116 | 189 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82174 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.82174 |  | 0.82174 | 0 | 0