## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ATENOLOL | 2440 | 67502LCM56 | 2014-05-17 | ng/L | 0.82623 | 2014-05-01 08:00 | 20141220012 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 26.385 | ATENOLOL | . | 13.3 | 21.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.82623 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72326 | 0.16062 | 0.80538 | 0.28804 | 0.21352
ATENOLOL | 2440 | 67502LCM56 | 2014-06-11 | ng/L | 0.80538 | 2014-05-22 08:30 | 20141420139 | Abs, Abs | 041614, 041714 | Abs 041614: 60 µl & Abs 041714: 60 µl | 52.77 | ATENOLOL | . | 13.3 | 42.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80538 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72326 | 0.16062 | 0.80538 | 0.28804 | 0.21352
ATENOLOL | 2440 | 67502LCM56 | 2014-06-28 | ng/L | 0.53818 | 2014-06-12 09:00 | 20141640080 | Abs, Abs | 041614, 041714 | Abs 041614: 30 µl & Abs 041714: 30 µl | 26.385 | ATENOLOL | . | 13.3 | 14.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.53818 | Ab041614, Ab041714 | Ab | Ab | Ab | 041614 | 041714 | 041714 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.72326 | 0.16062 | 0.80538 | 0.28804 | 0.21352
ATENOLOL | 2440 | 67502LCM56 | 2014-09-12 | ng/L | 0.51544 | 2014-09-03 07:30 | 20142470036 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 30 µl & ERA 0319-14-04: 30 µl | 26.385 | ATENOLOL | . | 13.3 | 13.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.51544 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68639 | 0.16094 | 0.70874 | 0.31955 | 0.23688
ATENOLOL | 2440 | 67502LCM56 | 2014-10-25 | ng/L | 0.70874 | 2014-10-16 08:30 | 20142890076 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 15 µl & ERA 0319-14-04: 15 µl | 52.77 | ATENOLOL | . | 13.3 | 37.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70874 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68639 | 0.16094 | 0.70874 | 0.31955 | 0.23688
ATENOLOL | 2440 | 67502LCM56 | 2015-02-10 | ng/L | 0.83499 | 2015-01-29 06:30 | 20150290075 | Abs, ERA | 041614, 0319-14-04 | Abs 041614: 8 µl & ERA 0319-14-04: 8 µl | 28.144 | ATENOLOL | . | 13.3 | 23.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83499 | Ab041614, ER0314-04 | Ab | ER | ER | 041614 | 0314-04 | 0314-04 |  | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68639 | 0.16094 | 0.70874 | 0.31955 | 0.23688
ATENOLOL | 2440 | 67502LCM56 | 2014-05-30 | ng/L | 0.78833 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 26.385 | ATENOLOL | . | 13.3 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78833 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87739 | 0.20197 | 0.78833 | 0.37332 | 0.27674
ATENOLOL | 2440 | 67502LCM56 | 2014-06-22 | ng/L | 1.1086 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 52.77 | ATENOLOL | . | 13.3 | 58.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.1086 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87739 | 0.20197 | 0.78833 | 0.37332 | 0.27674
ATENOLOL | 2440 | 67502LCM56 | 2014-07-13 | ng/L | 0.73527 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 26.385 | ATENOLOL | . | 13.3 | 19.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73527 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.87739 | 0.20197 | 0.78833 | 0.37332 | 0.27674
ATENOLOL | 2440 | 67502LCM56 | 2014-10-10 | ng/L | 0.59134 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 26.55 | ATENOLOL | . | 13.3 | 15.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59134 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71414 | 0.10949 | 0.74953 | 0.21022 | 0.15583
ATENOLOL | 2440 | 67502LCM56 | 2014-11-04 | ng/L | 0.80155 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 28.32 | ATENOLOL | E | 13.3 | 22.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80155 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Estimated Values | Y | 2 | [5 empty] | 3 | 0.71414 | 0.10949 | 0.74953 | 0.21022 | 0.15583
ATENOLOL | 2440 | 67502LCM56 | 2015-02-06 | ng/L | 0.74953 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 53.1 | ATENOLOL | . | 13.3 | 39.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74953 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71414 | 0.10949 | 0.74953 | 0.21022 | 0.15583
ATENOLOL | 2440 | 67502LCM56 | 2015-07-30 | ng/L | 0.74516 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 39.723 | ATENOLOL | E | 13.3 | 29.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74516 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.74516 |  | 0.74516 | 0 | 0
ATENOLOL | 2440 | 67502LCM56 | 2014-07-20 | ng/L | 0.64783 | 2014-07-10 08:00 | 20141910244 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 30 µl & Abs 041714: 30 µl | 26.55 | ATENOLOL | . | 13.3 | 17.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.64783 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71249 | 0.13891 | 0.64783 | 0.25424 | 0.18846
ATENOLOL | 2440 | 67502LCM56 | 2014-08-21 | ng/L | 0.6177 | 2014-08-07 09:30 | 20142200171 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 60 µl & Abs 041714: 60 µl | 53.1 | ATENOLOL | . | 13.3 | 32.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6177 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71249 | 0.13891 | 0.64783 | 0.25424 | 0.18846
ATENOLOL | 2440 | 67502LCM56 | 2015-03-11 | ng/L | 0.87194 | 2015-03-05 07:30 | 20150650042 | ERA, Abs | 0318-14-02, 041714 | ERA 0318-14-02: 15 µl & Abs 041714: 15 µl | 53.1 | ATENOLOL | . | 13.3 | 46.3 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.87194 | ER0314-02, Ab041714 | ER | Ab | Ab | 0314-02 | 041714 | 041714 | 0314-02 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71249 | 0.13891 | 0.64783 | 0.25424 | 0.18846
ATENOLOL | 2440 | 67502LCM56 | 2014-10-11 | ng/L | 0.69868 | 2014-09-25 08:00 | 20142720025 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 60 µl & ERA 0319-14-04: 60 µl | 53.1 | ATENOLOL | . | 13.3 | 37.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69868 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68966 | 0.11667 | 0.69868 | 0.23282 | 0.17258
ATENOLOL | 2440 | 67502LCM56 | 2014-12-06 | ng/L | 0.56874 | 2014-11-06 08:00 | 20143110110 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 15 µl & ERA 0319-14-04: 15 µl | 53.1 | ATENOLOL | . | 13.3 | 30.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.56874 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68966 | 0.11667 | 0.69868 | 0.23282 | 0.17258
ATENOLOL | 2440 | 67502LCM56 | 2014-12-07 | ng/L | 0.80155 | 2014-12-03 07:00 | 20143370092 | ERA, ERA | 0318-14-02, 0319-14-04 | ERA 0318-14-02: 8 µl & ERA 0319-14-04: 8 µl | 28.32 | ATENOLOL | . | 13.3 | 22.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.80155 | ER0314-02, ER0314-04 | ER | ER | ER | 0314-02 | 0314-04 | 0314-04 | 0314-02 | 0314-04 | 0314-04 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.68966 | 0.11667 | 0.69868 | 0.23282 | 0.17258
ATENOLOL | 2440 | 67502LCM56 | 2014-08-30 | ng/L | 0.78343 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 26.55 | ATENOLOL | . | 13.3 | 20.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78343 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.78343 |  | 0.78343 | 0 | 0
ATENOLOL | 2440 | 67502LCM56 | 2014-10-24 | ng/L | 0.67155 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 28.144 | ATENOLOL | . | 13.3 | 18.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.67155 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66266 | 0.012562 | 0.66266 | 0.017766 | 0.01317
ATENOLOL | 2440 | 67502LCM56 | 2014-12-07 | ng/L | 0.65378 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 52.77 | ATENOLOL | . | 13.3 | 34.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65378 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.66266 | 0.012562 | 0.66266 | 0.017766 | 0.01317
ATENOLOL | 2440 | 67502LCM56 | 2015-04-29 | ng/L | 0.88324 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 53.1 | ATENOLOL | . | 13.3 | 46.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.88324 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.88324 |  | 0.88324 | 0 | 0
ATENOLOL | 2440 | 67502LCM56 | 2015-07-31 | ng/L | 0.97676 | 2015-07-16 07:30 | 20151970156 | ERA, Abs | 0406-15-09, 050115 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl | 39.723 | ATENOLOL | E | 13.3 | 38.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.97676 | ER0405-09, Ab050115 | ER | Ab | Ab | 0405-09 | 050115 | 050115 | 0405-09 |  |  | Y | Estimated Values | Y | 2 | [5 empty] | 1 | 0.97676 |  | 0.97676 | 0 | 0