## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | G | H | I | J | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ATRAZINE | 2440 | 65065LCM56 | 2014-05-21 | ng/L | 0.71028 | 2014-05-08 08:30 | 20141290006 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 76.59 | ATRAZINE | . | 19.4 | 54.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71028 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75597 | 0.042328 | 0.76381 | 0.083562 | 0.061944
ATRAZINE | 2440 | 65065LCM56 | 2014-07-12 | ng/L | 0.76381 | 2014-06-19 08:30 | 20141710105 | Abs, Abs | 041714, 041814 | Abs 041714: 60 µl & Abs 041814: 60 µl | 76.59 | ATRAZINE | . | 19.4 | 58.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76381 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75597 | 0.042328 | 0.76381 | 0.083562 | 0.061944
ATRAZINE | 2440 | 65065LCM56 | 2014-10-10 | ng/L | 0.79384 | 2014-09-10 08:00 | 20142530091 | Abs, Abs | 041714, 041814 | Abs 041714: 30 µl & Abs 041814: 30 µl | 38.295 | ATRAZINE | . | 19.4 | 30.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79384 | Ab041714, Ab041814 | Ab | Ab | Ab | 041714 | 041814 | 041814 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.75597 | 0.042328 | 0.76381 | 0.083562 | 0.061944
ATRAZINE | 2440 | 65065LCM56 | 2014-11-04 | ng/L | 0.70252 | 2014-10-23 07:30 | 20142960084 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 8 µl & ERA 0319-14-05: 8 µl | 41.28 | ATRAZINE | . | 19.4 | 29 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.70252 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81452 | 0.14217 | 0.78214 | 0.22755 | 0.16868
ATRAZINE | 2440 | 65065LCM56 | 2014-12-06 | ng/L | 0.69897 | 2014-11-13 08:00 | 20143180049 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 77.4 | ATRAZINE | . | 19.4 | 54.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69897 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81452 | 0.14217 | 0.78214 | 0.22755 | 0.16868
ATRAZINE | 2440 | 65065LCM56 | 2015-01-16 | ng/L | 0.86176 | 2014-12-31 07:00 | 20143650002 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 77.4 | ATRAZINE | . | 19.4 | 66.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86176 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81452 | 0.14217 | 0.78214 | 0.22755 | 0.16868
ATRAZINE | 2440 | 65065LCM56 | 2015-05-07 | ng/L | 0.99483 | 2015-04-23 06:30 | 20151140150 | Abs, ERA | 041714, 0319-14-05 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl | 77.4 | ATRAZINE | . | 19.4 | 77 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.99483 | Ab041714, ER0314-05 | Ab | ER | ER | 041714 | 0314-05 | 0314-05 |  | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 4 | 0.81452 | 0.14217 | 0.78214 | 0.22755 | 0.16868
ATRAZINE | 2440 | 65065LCM56 | 2014-05-30 | ng/L | 0.94007 | 2014-05-16 08:30 | 20141360091 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 38.295 | ATRAZINE | . | 19.4 | 36 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.94007 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86739 | 0.10937 | 0.92049 | 0.19846 | 0.14712
ATRAZINE | 2440 | 65065LCM56 | 2014-06-22 | ng/L | 0.92049 | 2014-06-05 09:00 | 20141570089 | Abs, Abs | 041814, 041614 | Abs 041814: 60 µl & Abs 041614: 60 µl | 76.59 | ATRAZINE | . | 19.4 | 70.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.92049 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86739 | 0.10937 | 0.92049 | 0.19846 | 0.14712
ATRAZINE | 2440 | 65065LCM56 | 2014-07-13 | ng/L | 0.74161 | 2014-06-26 08:30 | 20141770145 | Abs, Abs | 041814, 041614 | Abs 041814: 30 µl & Abs 041614: 30 µl | 38.295 | ATRAZINE | . | 19.4 | 28.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.74161 | Ab041814, Ab041614 | Ab | Ab | Ab | 041814 | 041614 | 041614 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.86739 | 0.10937 | 0.92049 | 0.19846 | 0.14712
ATRAZINE | 2440 | 65065LCM56 | 2014-10-10 | ng/L | 0.65283 | 2014-09-18 08:00 | 20142620042 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 30 µl & ERA 0318-14-02: 30 µl | 38.295 | ATRAZINE | . | 19.4 | 25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.65283 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80363 | 0.13338 | 0.85194 | 0.2533 | 0.18777
ATRAZINE | 2440 | 65065LCM56 | 2014-11-04 | ng/L | 0.85194 | 2014-10-30 08:30 | 20143030095 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 8 µl & ERA 0318-14-02: 8 µl | 40.848 | ATRAZINE | . | 19.4 | 34.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.85194 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80363 | 0.13338 | 0.85194 | 0.2533 | 0.18777
ATRAZINE | 2440 | 65065LCM56 | 2015-02-06 | ng/L | 0.90612 | 2015-01-22 07:30 | 20150230027 | Abs, ERA | 041814, 0318-14-02 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl | 76.59 | ATRAZINE | . | 19.4 | 69.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.90612 | Ab041814, ER0314-02 | Ab | ER | ER | 041814 | 0314-02 | 0314-02 |  | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80363 | 0.13338 | 0.85194 | 0.2533 | 0.18777
ATRAZINE | 2440 | 65065LCM56 | 2015-07-30 | ng/L | 0.75172 | 2015-07-01 07:30 | 20151820109 | Abs, Abs | 050115, 051315 | Abs 050115: 40 µl & Abs 051315: 40 µl | 58 | ATRAZINE | . | 19.4 | 43.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.75172 | Ab050115, Ab051315 | Ab | Ab | Ab | 050115 | 051315 | 051315 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.75172 |  | 0.75172 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2015-06-09 | ng/L | 0.72414 | 2015-05-21 07:30 | 20151410214 | Abs, Abs | 051315, 050115 | Abs 051315: 20 µl & Abs 050115: 20 µl | 29 | ATRAZINE | . | 19.4 | 21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72414 | Ab051315, Ab050115 | Ab | Ab | Ab | 051315 | 050115 | 050115 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72414 |  | 0.72414 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2015-06-26 | ng/L | 0.73793 | 2015-06-04 06:00 | 20151550290 | Abs, Abs | 051315, 052215 | Abs 051315: 20 µl & Abs 052215: 20 µl | 29 | ATRAZINE | . | 19.4 | 21.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.73793 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72414 | 0.019506 | 0.72414 | 0.027586 | 0.020449
ATRAZINE | 2440 | 65065LCM56 | 2015-07-31 | ng/L | 0.71034 | 2015-07-23 07:00 | 20152040179 | Abs, Abs | 051315, 052215 | Abs 051315: 40 µl & Abs 052215: 40 µl | 58 | ATRAZINE | . | 19.4 | 41.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.71034 | Ab051315, Ab052215 | Ab | Ab | Ab | 051315 | 052215 | 052215 |  |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 2 | 0.72414 | 0.019506 | 0.72414 | 0.027586 | 0.020449
ATRAZINE | 2440 | 65065LCM56 | 2015-10-01 | ng/L | 1.0948 | 2015-09-24 07:30 | 20152670140 | Abs, ERA | 051315, 0406-15-09 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl | 116 | ATRAZINE | . | 19.4 | 127 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 1.0948 | Ab051315, ER0405-09 | Ab | ER | ER | 051315 | 0405-09 | 0405-09 |  | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 1.0948 |  | 1.0948 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2014-08-30 | ng/L | 0.69251 | 2014-08-18 07:30 | 20142340169 | ERA, ERA | 0318-14-02, 0319-14-05 | ERA 0318-14-02: 30 µl & ERA 0319-14-05: 30 µl | 38.7 | ATRAZINE | . | 19.4 | 26.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.69251 | ER0314-02, ER0314-05 | ER | ER | ER | 0314-02 | 0314-05 | 0314-05 | 0314-02 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.69251 |  | 0.69251 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2014-10-11 | ng/L | 0.59734 | 2014-10-02 08:00 | 20142760028 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 40.848 | ATRAZINE | . | 19.4 | 24.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.59734 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71697 | 0.104 | 0.76772 | 0.1885 | 0.13974
ATRAZINE | 2440 | 65065LCM56 | 2015-03-10 | ng/L | 0.76772 | 2015-02-12 07:00 | 20150430093 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl | 76.59 | ATRAZINE | . | 19.4 | 58.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76772 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71697 | 0.104 | 0.76772 | 0.1885 | 0.13974
ATRAZINE | 2440 | 65065LCM56 | 2015-04-10 | ng/L | 0.78584 | 2015-03-19 07:30 | 20150790013 | ERA, Abs | 0319-14-04, 041814 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl | 40.848 | ATRAZINE | . | 19.4 | 32.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.78584 | ER0314-04, Ab041814 | ER | Ab | Ab | 0314-04 | 041814 | 041814 | 0314-04 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.71697 | 0.104 | 0.76772 | 0.1885 | 0.13974
ATRAZINE | 2440 | 65065LCM56 | 2014-07-13 | ng/L | 0.66925 | 2014-07-02 08:30 | 20141840099 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 38.7 | ATRAZINE | . | 19.4 | 25.9 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.66925 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56374 | 0.14942 | 0.6292 | 0.27649 | 0.20496
ATRAZINE | 2440 | 65065LCM56 | 2014-08-16 | ng/L | 0.39276 | 2014-07-31 07:30 | 20142130133 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 30 µl & ERA 0319-14-05: 30 µl | 38.7 | ATRAZINE | . | 19.4 | 15.2 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.39276 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56374 | 0.14942 | 0.6292 | 0.27649 | 0.20496
ATRAZINE | 2440 | 65065LCM56 | 2014-08-28 | ng/L | 0.6292 | 2014-08-14 08:30 | 20142270003 | ERA, ERA | 0319-14-04, 0319-14-05 | ERA 0319-14-04: 60 µl & ERA 0319-14-05: 60 µl | 77.4 | ATRAZINE | . | 19.4 | 48.7 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.6292 | ER0314-04, ER0314-05 | ER | ER | ER | 0314-04 | 0314-05 | 0314-05 | 0314-04 | 0314-05 | 0314-05 | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.56374 | 0.14942 | 0.6292 | 0.27649 | 0.20496
ATRAZINE | 2440 | 65065LCM56 | 2014-10-24 | ng/L | 0.83818 | 2014-10-09 07:30 | 20142820152 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 8 µl & Abs 041614: 8 µl | 41.28 | ATRAZINE | . | 19.4 | 34.6 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.83818 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80136 | 0.035458 | 0.79845 | 0.070736 | 0.052436
ATRAZINE | 2440 | 65065LCM56 | 2014-12-07 | ng/L | 0.76744 | 2014-11-26 08:00 | 20143300051 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 77.4 | ATRAZINE | . | 19.4 | 59.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.76744 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80136 | 0.035458 | 0.79845 | 0.070736 | 0.052436
ATRAZINE | 2440 | 65065LCM56 | 2015-03-10 | ng/L | 0.79845 | 2015-02-26 07:00 | 20150570011 | ERA, Abs | 0319-14-05, 041614 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl | 77.4 | ATRAZINE | . | 19.4 | 61.8 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.79845 | ER0314-05, Ab041614 | ER | Ab | Ab | 0314-05 | 041614 | 041614 | 0314-05 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 3 | 0.80136 | 0.035458 | 0.79845 | 0.070736 | 0.052436
ATRAZINE | 2440 | 65065LCM56 | 2015-04-29 | ng/L | 0.8708 | 2015-03-26 07:00 | 20150850164 | ERA, ERA | 0319-14-05, 0318-14-02 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl | 77.4 | ATRAZINE | . | 19.4 | 67.4 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8708 | ER0314-05, ER0314-02 | ER | ER | ER | 0314-05 | 0314-02 | 0314-02 | 0314-05 | 0314-02 | 0314-02 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8708 |  | 0.8708 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2015-10-01 | ng/L | 0.93966 | 2015-09-17 07:00 | 20152610009 | ERA, Abs | 0406-15-07A, 051315 | ERA 0406-15-07A: 80 µl & Abs 051315: 80 µl | 116 | ATRAZINE | . | 19.4 | 109 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.93966 | ER040-07A, Ab051315 | ER | Ab | Ab | 040-07A | 051315 | 051315 | 040-07A |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.93966 |  | 0.93966 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2015-09-15 | ng/L | 0.72917 | 2015-08-27 08:30 | 20152390226 | ERA, ERA | 0406-15-07A, 0406-15-08 | ERA 0406-15-07A: 20 µl & ERA 0406-15-08: 20 µl | 28.8 | ATRAZINE | . | 19.4 | 21 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.72917 | ER040-07A, ER0405-08 | ER | ER | ER | 040-07A | 0405-08 | 0405-08 | 040-07A | 0405-08 | 0405-08 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.72917 |  | 0.72917 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2015-09-09 | ng/L | 0.86806 | 2015-08-13 08:30 | 20152250278 | ERA, Abs | 0406-15-08, 052215 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl | 28.8 | ATRAZINE | . | 19.4 | 25 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.86806 | ER0405-08, Ab052215 | ER | Ab | Ab | 0405-08 | 052215 | 052215 | 0405-08 |  |  | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.86806 |  | 0.86806 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2015-10-01 | ng/L | 0.7309 | 2015-09-03 08:00 | 20152460209 | ERA, ERA | 0406-15-08, 0406-15-09 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl | 57.6 | ATRAZINE | . | 19.4 | 42.1 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.7309 | ER0405-08, ER0405-09 | ER | ER | ER | 0405-08 | 0405-09 | 0405-09 | 0405-08 | 0405-09 | 0405-09 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.7309 |  | 0.7309 | 0 | 0
ATRAZINE | 2440 | 65065LCM56 | 2014-04-23 | ng/L | 0.8125 | 2014-04-03 08:30 | 20140930049 | Spex Organics, ERA | T1120802015, 0507-12-06.2 | Spex Organics T1120802015: 20 µl & ERA 0507-12-06.2: 20 µl | 40 | ATRAZINE | . | 19.4 | 32.5 | NANOGRAMS PER LITER |  |  | >= Reporting Level | 0.8125 | SpT112015, ER05006.2 | Sp | ER | ER | T112015 | 05006.2 | 05006.2 | T112015 | 05006.2 | 05006.2 | Y | Recoverable Result | Y | 2 | [5 empty] | 1 | 0.8125 |  | 0.8125 | 0 | 0